| Permit Number: | PAN-004347 |
| --- | --- |
| Applicant name: | Aldis-Hobbs Ltd |
| Site Address: | Mill View, Abercastle, Haverfordwest, Pembrokeshire SA62 5HJ |
| Discharge Point NGR: | SM 85333 33561 |
| Respond by date: | 20th February 2019 (10 working days) |
| Permitting Officer: | Katrin Raynor-Evans |

Brief Description of proposal:

An application to discharge 1 m3/day of secondary treated sewage effluent via package treatment plant to an unnamed stream entering Abercastle marine environment (Abercastel Sands?). The effluent is domestic in nature from a property with a maximum of 3 bedrooms.

Habitats Screening Report – Designations or protected species/habitats:

West Wales Marine SAC is approximately 355m away from the discharge point.  An HRA will be undertaken.

Risk Assessment Results (modelling or L1 Risk Assessment):

No modelling or risk assessments needed.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

This proposal is to discharge treated sewage effluent to the Abercastle Stream, approximately 100m above the beach at Abercastle.

Abercastle is not a designated bathing water, but is used by locals for swimming, and consideration should be given to whether or not UV disinfection might be required. The stream is not large but should offer sufficient dilution, and as an aside is prone to agricultural pollution from nearby dairy farms.

It should also be noted that it is thought the existing sewage arrangement is either a septic tank to the watercourse, or possibly just a pipe. So this will be an improvement.

Officers name: Rod Thomas
Date: 11 February 2019

Biodiversity comments:

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks |  |
| Water Company regarding Drinking Water Protected Zone / SPZ1 |  |
| Environmental Heath |  |

Any Permitting Responses:

Date: