POLLUTION INCIDENT RESPONSE PLAN

FOR:

POLLUTION INCIDENT RESPONSE PLAN

FOR:

Ffrwdrech Depot

Ffrwdrech Industrial Estate

Brecon

Powys

LD3 8LA

Ffrwdrech Depot

Ffrwdrech Industrial Estate

Brecon

Powys

LD3 8LA

Highways, Grounds & Street Scene (HGSS)

Highways, Grounds & Street Scene (HGSS)

Site Activities:

Site Activities:

Date of Plan:			  Review Date:		       Version No:

Date of Plan:			  Review Date:		       Version No:

16/04/24

16/04/24

17/04/23

17/04/23

2

2

Approved by: 				Date:

Approved by: 				Date:

17/04/23

17/04/23

Trevor Tame

Trevor Tame

Natural Resources Wales

Quality Team

Emergency Planning

Natural Resources Wales

Quality Team

Emergency Planning

Date sent:

Date sent:

Copy sent:

Copy sent:

# CONTENTS

Page

- CONTACT DETAILS

- SITE PLAN AND DRAINAGE PLAN

- CHEMICAL & WASTE INVENTORY

- POLLUTION PREVENTION EQUIPMENT INVENTORY

## INCIDENT RESPONSE PROCEDURE

# CONTENTS

Page

- CONTACT DETAILS

- SITE PLAN AND DRAINAGE PLAN

- CHEMICAL & WASTE INVENTORY

- POLLUTION PREVENTION EQUIPMENT INVENTORY

## INCIDENT RESPONSE PROCEDURE

PCC: 01597 825275 or 0345 0544 847

PCC: 01597 825275 or 0345 0544 847

Lyn Parry

Lyn Parry

01874 620572

01874 620572

- EMERGENCY CONTACT DETAILS

Emergency Services:

Local Police:

Local hospital/NHS Trust:

Environment Incident:

Environment regulator (Local Office):

Office Hours	Out of Hours

Water/Sewer provider:		0800 0520 130             0800 0520 130

Gas supplier:			No Gas Supply

Electricity supplier:		0800 096 3080 (National Grid)

PCC emergency planning:	01597 825275

Out of Hours 0345 0544 847

Waste Management Contractor:

Potters (Brynposteg Landfill)		01686 412043

Lovatt Bros (scrap metal contractor)	01686 630600

Metro Rod				01495 305578

OSS Group				0870 2401055

SafetyKleen				020 84909084

Specialist advice:

Specialist clean-up

Border Environmental			01244 530380

Adler and Allen				0800 592827

Briggs Environmental Services		0800 374348

Braemar Howells			08700 73776673 (24 hrs)

KEY CONTACTS: (out of hours)

Duty officer:

Manager:

Area Office Contact:

- EMERGENCY CONTACT DETAILS

Emergency Services:

Local Police:

Local hospital/NHS Trust:

Environment Incident:

Environment regulator (Local Office):

Office Hours	Out of Hours

Water/Sewer provider:		0800 0520 130             0800 0520 130

Gas supplier:			No Gas Supply

Electricity supplier:		0800 096 3080 (National Grid)

PCC emergency planning:	01597 825275

Out of Hours 0345 0544 847

Waste Management Contractor:

Potters (Brynposteg Landfill)		01686 412043

Lovatt Bros (scrap metal contractor)	01686 630600

Metro Rod				01495 305578

OSS Group				0870 2401055

SafetyKleen				020 84909084

Specialist advice:

Specialist clean-up

Border Environmental			01244 530380

Adler and Allen				0800 592827

Briggs Environmental Services		0800 374348

Braemar Howells			08700 73776673 (24 hrs)

KEY CONTACTS: (out of hours)

Duty officer:

Manager:

Area Office Contact:

101

101

Brecon     01874 622443

Brecon     01874 622443

03000 65 3000

03000 65 3000

Natural Resources Wales

Natural Resources Wales

999 or 112

999 or 112

3.	SITE PLAN & DRAINAGE PLAN

3.	SITE PLAN & DRAINAGE PLAN

- CHEMICAL, PRODUCT AND WASTE INVENTORY

Maximum Quantities at Peak times

| COSHH Ref No. | Trade Name / Substance | Solid, Liquid, Gas or Powder | Maximum Quantity | Location Marked on Site Plan | Type of Containment & Size | Health & Environmental Properties |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Adblue | Liquid | 2,555ltr | Fuel pump | 2,500 |  |
| 02 | Bitukleen No. 3 | Liquid | 15 | Grounds | 25 gallon |  |
| 03 | Instarmac Cold Joint Sealer | Liquid | 24 | PPE storeroom | 750mm |  |
| 04 | Zorb Soak Up Granules | Solid | 150 bags | Ground Shed |  |  |
| 05 | Instarmac Permanent Pothole Repair | Solid | 52 25kg buckets | Ground Shed |  |  |
| 06 | Ultracrete QC 10 | Powder | 168 bags | Ground Shed |  |  |
| 07 | Unleaded Petrol | Liquid | 4 | Ground Shed | 5 gallon container |  |
| 08 | Ready Mix Concrete / General Cement | Powder | 240 | Grounds | 25KG |  |
| 09 | Compass Rock Salt | Solid | 5,000 | Salt dome |  |  |
| 10 | Pro Solve Line Marker | Liquid | 60x tins | Grounds | 750mm |  |
| 11 | Stihl Two Stroke Oil | Liquid |  | Workshop |  |  |
| 12 | Ultracrete M60 | Powder | 56 bags 20kg | Grounds Shed |  |  |
| 13 | Geveko Thermoplastic White & Yellow | Powder | N/A |  |  |  |
| 14 | Polygard Screen Wash | Liquid | 1 | Workshop | 50ltr |  |
| 15 | Hanson Asphalt | Solid | 10mm | Hotbox | 20ton |  |
| 16 | Defered Set Tarmac | Solid | 20 ton | Yard | 20 ton |  |
| 17 | Titan Truck Plus 15w-40 Oil | Liquid | 1 | Workshop | 220 ltr |  |
| 18 | Renolin B46 Plus Hydraulic Oil | Liquid | 1 | Workshop | 220 ltr |  |
| 19 | Stihl Chain Oil | Liquid | 1 | Workshop | 5 gallon |  |
| 20 | Bitumen Bitutack | Liquid | 10 | Workshop | 25kg |  |
| 21 | Economy 205 TFR | Liquid | 12 | Workshop | 750mm |  |
| 22 | K4000 EP Semi Fluid Grease | Solid | Workshop | Workshop | Cartridge |  |
| 23 | Banding Tape OBT05 | Solid | N/A |  |  |  |
| 24 | Bituchem Air Patch 65 | Liquid | 4 | Gritting Shed | 1000 ltr |  |
| 25 | Delph SPF50 Sun Lotion | Liquid | 40 | PPE storeroom | 200ml |  |
| 26 | Jangro Professional De-Icer | Liquid | 48 | Workshop | 500ml |  |
| 27 | FIXT Penetrating Graphite Fluid (WD40) | Liquid |  | Workshop | 750mm |  |
| 28 | FIXT Electrical Cleaner | Liquid |  | Workshop | 750mm |  |

| COSHH Ref No. | Trade Name / Substance | Solid, Liquid, Gas or Powder | Maximum Quantity | Location marked on site plan | Type of Containment & Size | Health & Environmental Properties |
| --- | --- | --- | --- | --- | --- | --- |
| 29 | Andarta Pine Disinfectant | Liquid | 4 | PPE storeroom | 5 ltr |  |
| 30 | Andarta Eliminator Cleaner | Liquid | 4 | PPE storeroom | 5ltr |  |
| 31 | Portwest Hand Wipes | Solid | 6x6 | PPE storeroom | Tubs |  |
| 32 | Alcohol Hand Sanitiser | Gel | 4 | PPE storeroom | 5ltr |  |
| 33 | Everbuild 201 Mortar Admix | Liquid | N/A |  |  |  |
| 34 | Sikaflex Pro 3 | Paste | N/A |  |  |  |
| 35 | Tarmac Asphalt | Solid |  |  |  |  |
| 36 | Diesel | Liquid |  |  |  |  |
| LEG 01 | Garlon Ultra | Liquid | N/A |  |  |  |
| LEG 05 | Roundup Pro Bi-Active | Liquid | 4 | Locked Store | 5 ltr |  |
| LEG 06 | Roundup Pro Vantage | Liquid | N/A |  |  |  |
| LEG 07 | Nomix Conqueror | Powder | 25 | Locked Store | 5 ltr |  |
| LEG 08 | Nomix Dual | Liquid | 25 | Locked Store | 5ltr |  |
| LEG 09 | Kerb Flo Liquid | Liquid | N/A |  |  |  |
| LEG 11 | Supa Stadia | Liquid | N/A |  |  |  |
| LEG 13 | Pistol | Liquid | N/A |  |  |  |
| LEG 15 | Primo Maxx 11 | Liquid | N/A |  |  |  |
| LEG 19 | Qualgex | Liquid | N/A |  |  |  |
| LEG 20 | Pitch Marker Super | Liquid | 12 | Grounds Shed | 750mm |  |
| LEG 22 | Mascot Crossbar | Liquid | N/A |  |  |  |
| LEG 25 | Roundup Pro Bio | Liquid | N/A |  |  |  |
| LEG 26 | Nomix Amacite | Liquid | 4 | Locked store |  |  |
| LEG 27 | Eco Plug Mats | Solid | N/A |  |  |  |
|  | Calor Propane Gas | Gas | 4 | Workshop |  |  |
|  | C02 Fire Extinguisher | Gas | 15 | Various |  |  |
|  | Powder Fire Extinguisher | Powder | 7 | Various |  |  |
|  | Water Fire Extinguisher | Liquid | 5 | Various |  |  |
|  | Foam Fire Extinguisher | Foam | 33 | Various |  |  |

- POLLUTION PREVENTION EQUIPMENT INVENTORY

| Type | Location | Amount | Staff contact |
| --- | --- | --- | --- |
| Spill kit | Fuel Tanks | Variable amount but no greater than 110 litres | Trevor Tame |
| Spill kit | Workshops | Variable amount but no greater than 110 litres | Trevor Tame |

6.	INCIDENT RESPONSE PROCEDURES

Instructions for Dealing with a Fuel Spill

- If the fuel spill is large, evacuate the buildings by triggering the fire alarm. Contact the emergency services by dialling 999, and retreat to a safe distance. DO NOT PUT YOURSELF AT RISK. When safe to do so, contact the Helpdesk on 0845 607 6060 who will inform the relevant operations manager or duty manager (if out of office hours).

- Do NOT attempt to hose down the spill or disperse it with detergent.

- If the fuel spill is small – less than 90 litres (20 gallons) – locate the fuel spill kit. This is kept close to the fuel tank in a container marked “OIL SPILL RESPONSE KIT”.

- Open the kit and put on the protective gloves. Use the pillows/granules to mop up the spill, always following the manufacturers’ instructions.

- Place the used pillows/granules in the polythene bags provided and put the bags in a safe place.

- Contact the Depot Manager who will arrange for a specialist waste contractor to dispose of them.

- Contact the Building Co-ordinator who will inform the relevant operations manager or duty manager (if out of office hours) of the incident.

- If they are unavailable contact the Helpdesk on 0845 607 6060, who will inform the relevant operations manager or duty manager (if out of office hours) of the incident.

FIRE

Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519

INTRUDER

Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519