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PCC: 01597 825275 or 0345 0544 847

Lyn Parry
01874 620572

2. EMERGENCY CONTACT DETAILS

Emergency Services:

Local Police:

Local hospital/NHS Trust:

Environment Incident:

Environment regulator (Local Office):


					Office Hours	Out of Hours

Water/Sewer provider:		0800 0520 130             0800 0520 130


Gas supplier:			No Gas Supply		


Electricity supplier:		0800 096 3080 (National Grid)		


PCC emergency planning:	01597 825275	
Out of Hours 0345 0544 847

Waste Management Contractor:				
Potters (Brynposteg Landfill)		01686 412043
Lovatt Bros (scrap metal contractor)	01686 630600
Metro Rod				01495 305578
OSS Group				0870 2401055
SafetyKleen				020 84909084

Specialist advice:							

Specialist clean-up					
Border Environmental			01244 530380
Adler and Allen				0800 592827		
Briggs Environmental Services		0800 374348
Braemar Howells			08700 73776673 (24 hrs)


KEY CONTACTS: (out of hours)

Duty officer:


Manager:

Area Office Contact:
101
Brecon     01874 622443
03000 65 3000
Natural Resources Wales 
999 or 112


3.	SITE PLAN & DRAINAGE PLAN

 







4. CHEMICAL, PRODUCT AND WASTE INVENTORY

Maximum Quantities at Peak times

COSHH Ref No. 
Trade Name / Substance
Solid, Liquid, Gas or Powder
Maximum Quantity
Location Marked on Site Plan
Type of Containment & Size
Health & Environmental Properties
01

Adblue
Liquid
2,555ltr
Fuel pump
2,500

02

Bitukleen No. 3
Liquid
15
Grounds
25 gallon

03

Instarmac Cold Joint Sealer
Liquid
24 
PPE storeroom
750mm

04

Zorb Soak Up Granules
Solid
150 bags
Ground Shed


05

Instarmac Permanent Pothole Repair
Solid
52 25kg buckets
Ground Shed


06

Ultracrete QC 10
Powder
168 bags
Ground Shed


07

Unleaded Petrol
Liquid
4
Ground Shed
5 gallon container

08

Ready Mix Concrete / General Cement
Powder
240
Grounds
25KG

09

Compass Rock Salt
Solid
5,000
Salt dome


10

Pro Solve Line Marker
Liquid
60x tins
Grounds
750mm

11

Stihl Two Stroke Oil
Liquid

Workshop


12
Ultracrete M60
Powder
56 bags 20kg
Grounds Shed


13

Geveko Thermoplastic White & Yellow
Powder
N/A



14

Polygard Screen Wash
Liquid
1
Workshop
50ltr

15

Hanson Asphalt
Solid
10mm
Hotbox
20ton

16

Defered Set Tarmac
Solid
20 ton
Yard
20 ton

17

Titan Truck Plus 15w-40 Oil
Liquid
1
Workshop
220 ltr

18

Renolin B46 Plus Hydraulic Oil
Liquid
1
Workshop
220 ltr

19

Stihl Chain Oil
Liquid
1
Workshop
5 gallon

20

Bitumen Bitutack
Liquid
10
Workshop
25kg

21

Economy 205 TFR
Liquid
12
Workshop
750mm

22
K4000 EP Semi Fluid Grease
Solid
Workshop
Workshop
Cartridge

23

Banding Tape OBT05
Solid
N/A



24

Bituchem Air Patch 65
Liquid
4
Gritting Shed
1000 ltr

25

Delph SPF50 Sun Lotion
Liquid
40
PPE storeroom
200ml

26
Jangro Professional De-Icer
Liquid
48
Workshop
500ml

27
FIXT Penetrating Graphite Fluid (WD40)
Liquid

Workshop
750mm

28

FIXT Electrical Cleaner
Liquid

Workshop
750mm




	COSHH
Ref No.
	Trade Name / Substance
	Solid, Liquid, Gas or Powder
	Maximum Quantity
	Location marked on site plan
	Type of Containment & Size
	Health & Environmental Properties

	29

	Andarta Pine Disinfectant
	Liquid
	4
	PPE storeroom
	5 ltr
	

	30
	Andarta Eliminator Cleaner
	Liquid
	4
	PPE storeroom
	5ltr
	

	31

	Portwest Hand Wipes
	Solid
	6x6
	PPE storeroom
	Tubs
	

	32

	Alcohol Hand Sanitiser
	Gel
	4
	PPE storeroom
	5ltr
	

	33
	Everbuild 201 Mortar Admix
	Liquid
	N/A
	
	
	

	34

	Sikaflex Pro 3
	Paste
	N/A
	
	
	

	35

	Tarmac Asphalt
	Solid
	
	
	
	

	36

	Diesel
	Liquid
	
	
	
	

	LEG 01

	Garlon Ultra 
	Liquid
	N/A
	
	
	

	LEG 05

	Roundup Pro Bi-Active
	Liquid
	4
	Locked Store
	5 ltr
	

	LEG 06

	Roundup Pro Vantage
	Liquid
	N/A
	
	
	

	LEG 07

	Nomix Conqueror
	Powder
	25
	Locked Store
	5 ltr
	

	LEG 08

	Nomix Dual
	Liquid
	25
	Locked Store
	5ltr
	

	LEG 09

	Kerb Flo Liquid
	Liquid
	N/A
	
	
	

	LEG 11

	Supa Stadia 
	Liquid
	N/A
	
	
	

	LEG 13

	Pistol 
	Liquid
	N/A
	
	
	

	LEG 15

	Primo Maxx 11
	Liquid
	N/A
	
	
	

	LEG 19

	Qualgex
	Liquid
	N/A
	
	
	

	LEG 20

	Pitch Marker Super
	Liquid
	12
	Grounds Shed
	750mm
	

	LEG 22

	Mascot Crossbar 
	Liquid
	N/A
	
	
	

	LEG 25

	Roundup Pro Bio
	Liquid
	N/A
	
	
	

	LEG 26

	Nomix Amacite
	Liquid
	4
	Locked store
	
	

	LEG 27

	Eco Plug Mats
	Solid
	N/A
	
	
	

	
	Calor Propane Gas

	Gas 
	4
	Workshop
	
	

	
	C02 Fire Extinguisher

	Gas
	15
	Various
	
	

	
	Powder Fire Extinguisher
	Powder
	7
	Various
	
	

	
	Water Fire Extinguisher

	Liquid 
	5
	Various
	
	

	
	Foam Fire Extinguisher

	Foam 
	33
	Various
	
	











5. POLLUTION PREVENTION EQUIPMENT INVENTORY

Type
Location
Amount
Staff contact

Spill kit
Fuel Tanks
Variable amount but no greater than 110 litres
Trevor Tame

Spill kit
Workshops
Variable amount but no greater than 110 litres
Trevor Tame
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6.	INCIDENT RESPONSE PROCEDURES

Instructions for Dealing with a Fuel Spill 

1. If the fuel spill is large, evacuate the buildings by triggering the fire alarm. Contact the emergency services by dialling 999, and retreat to a safe distance. DO NOT PUT YOURSELF AT RISK. When safe to do so, contact the Helpdesk on 0845 607 6060 who will inform the relevant operations manager or duty manager (if out of office hours).

2. Do NOT attempt to hose down the spill or disperse it with detergent. 

3. If the fuel spill is small – less than 90 litres (20 gallons) – locate the fuel spill kit. This is kept close to the fuel tank in a container marked “OIL SPILL RESPONSE KIT”.

4. Open the kit and put on the protective gloves. Use the pillows/granules to mop up the spill, always following the manufacturers’ instructions. 

5. Place the used pillows/granules in the polythene bags provided and put the bags in a safe place. 

6. Contact the Depot Manager who will arrange for a specialist waste contractor to dispose of them.

7. Contact the Building Co-ordinator who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

8. If they are unavailable contact the Helpdesk on 0845 607 6060, who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

FIRE 

Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519

INTRUDER

Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519
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