












Maximum Quantities at Peak times

	COSHH

Ref No.
	Trade Name / Substance
	Solid, Liquid, Gas or Powder
	Maximum Quantity
	Location marked on site plan
	Type of Containment & Size
	Health & Environmental Properties

	29


	Andarta Pine Disinfectant
	Liquid
	
	
	
	

	30
	Andarta Eliminator Cleaner
	Liquid
	
	
	
	

	31


	Portwest Hand Wipes
	Solid
	
	
	
	

	32


	Alcohol Hand Sanitiser
	Gel
	
	Green shed
	
	

	33
	Everbuild 201 Mortar Admix
	Liquid
	
	
	
	

	34


	Sikaflex Pro 3
	Paste
	
	
	
	

	35


	Tarmac Asphalt
	Solid
	
	
	
	

	36


	Diesel
	Liquid
	
	
	
	

	LEG 01


	Garlon Ultra 
	Liquid
	
	
	
	

	LEG 05


	Roundup Pro Bi-Active
	Liquid
	
	Grounds shed
	
	

	LEG 06


	Roundup Pro Vantage
	Liquid
	
	Grounds shed
	
	

	LEG 07


	Nomix Conqueror
	Powder
	
	Grounds shed
	
	

	LEG 08


	Nomix Dual
	Liquid
	
	Grounds shed
	
	

	LEG 09


	Kerb Flo Liquid
	Liquid
	
	
	
	

	LEG 11


	Supa Stadia 
	Liquid
	
	
	
	

	LEG 13


	Pistol 
	Liquid
	
	
	
	

	LEG 15


	Primo Maxx 11
	Liquid
	
	
	
	

	LEG 19


	Qualgex
	Liquid
	
	
	
	

	LEG 20


	Pitch Marker Super
	Liquid
	
	
	
	

	LEG 22


	Mascot Crossbar 
	Liquid
	
	
	
	

	LEG 25


	Roundup Pro Bio
	Liquid
	
	
	
	

	LEG 26


	Nomix Amacite
	Liquid
	
	
	
	

	LEG 27

	Eco Plug Mats
	Solid
	
	
	
	

	
	Calor Propane Gas

	Gas 
	
	
	
	

	
	C02 Fire Extinguisher

	Gas
	
	
	
	

	
	Powder Fire Extinguisher
	Powder
	
	
	
	

	
	Water Fire Extinguisher

	Liquid 
	
	
	
	

	
	Foam Fire Extinguisher

	Foam 
	
	
	
	




6.
INCIDENT RESPONSE PROCEDURES

Instructions for Dealing with a Fuel Spill 
1. If the fuel spill is large, evacuate the buildings by triggering the fire alarm. Contact the emergency services by dialling 999, and retreat to a safe distance. DO NOT PUT YOURSELF AT RISK. When safe to do so, contact the Helpdesk on 0845 607 6060 who will inform the relevant operations manager or duty manager (if out of office hours).

2. Do NOT attempt to hose down the spill or disperse it with detergent. 

3. If the fuel spill is small – less than 90 litres (20 gallons) – locate the fuel spill kit. This is kept close to the fuel tank in a container marked “OIL SPILL RESPONSE KIT”.

4. Open the kit and put on the protective gloves. Use the pillows/granules to mop up the spill, always following the manufacturers’ instructions. 

5. Place the used pillows/granules in the polythene bags provided and put the bags in a safe place. 

6. Contact the Depot Manager who will arrange for a specialist waste contractor to dispose of them.

7. Contact the Building Co-ordinator who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

8. If they are unavailable contact the Helpdesk on 0845 607 6060, who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

FIRE 
Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519

INTRUDER
Emergency procedures already in existence and organised via a monitoring centre in Stoke-on-Trent – tel: 01782 746519




POLLUTION INCIDENT RESPONSE PLAN





FOR:





Kirkhamsfeild Depot,


Pool Road,


Newtown,


Powys,


SY16 3AF





Highways, Grounds & Street Scene (HGSS)








Site Activities:








Date of Plan:			  Review Date:		       Version No: 





16/04/24





17/04/23





1








Approved by: 				Date:





16/04/2023





P Barr











Natural Resources Wales 


Quality Team 


Emergency Planning 








Date sent:


April 23





Copy sent:














CONTENTS


Page





CONTACT DETAILS


SITE PLAN AND DRAINAGE PLAN


CHEMICAL & WASTE INVENTORY


POLLUTION PREVENTION EQUIPMENT INVENTORY


INCIDENT RESPONSE PROCEDURE





PCC: 01597 825275 or 0345 0544 847








Clive Jones





Paul Barr








EMERGENCY CONTACT DETAILS





Emergency Services:





Local Police:





Local hospital/NHS Trust:





Environment Incident:





Environment regulator (Local Office):








					Office Hours	Out of Hours





Water/Sewer provider:		0800 0520 130             0800 0520 130








Gas supplier:			No Gas Supply		








Electricity supplier:		0800 096 3080 (National Grid)		








PCC emergency planning:	01597 825275	


Out of Hours 0345 0544 847





Waste Management Contractor:				


Potters (Brynposteg Landfill)		01686 412043


Lovatt Bros (scrap metal contractor)	01686 630600


Metro Rod				01495 305578


OSS Group				0870 2401055


SafetyKleen				020 84909084





Specialist advice:							





Specialist clean-up					


Border Environmental			01244 530380


Adler and Allen				0800 592827		


Briggs Environmental Services		0800 374348


Braemar Howells			08700 73776673 (24 hrs)








KEY CONTACTS: (out of hours)





Duty officer:








Manager:





Area Office Contact:





101





01686 617200





03000 65 3000





Natural Resources Wales 





999 or 112








3.	SITE PLAN & DRAINAGE PLAN





 








CHEMICAL, PRODUCT AND WASTE INVENTORY





Maximum Quantities at Peak times





COSHH Ref No. �
Trade Name / Substance�
Solid, Liquid, Gas or Powder�
Maximum Quantity�
Location Marked on Site Plan�
Type of Containment & Size�
Health & Environmental Properties�
�
01


�
Adblue�
Liquid�
�
Workshop�
�
�
�
02


�
Bitukleen No. 3�
Liquid�
�
Green shed�
�
�
�
03


�
Instarmac Cold Joint Sealer�
Liquid�
�
Stores�
�
�
�
04


�
Zorb Soak Up Granules�
Solid�
�
Stores�
�
�
�
05


�
Instarmac Permanent Pothole Repair�
Solid�
�
Stores�
�
�
�
06


�
Ultracrete QC 10�
Powder�
�
Stores�
�
�
�
07


�
Unleaded Petrol�
Liquid�
�
Fuel store�
�
�
�
08


�
Ready Mix Concrete / General Cement�
Powder�
�
�
�
�
�
09


�
Compass Rock Salt�
Solid�
�
Salt barn�
�
�
�
10


�
Pro Solve Line Marker�
Liquid�
�
Stores�
�
�
�
11


�
Stihl Two Stroke Oil�
Liquid�
�
Grounds shed�
�
�
�
12�
Ultracrete M60�
Powder�
�
Stores�
�
�
�
13


�
Geveko Thermoplastic White & Yellow�
Powder�
�
�
�
�
�
14


�
Polygard Screen Wash�
Liquid�
�
Workshop�
�
�
�
15


�
Hanson Asphalt�
Solid�
�
�
�
�
�
16


�
Defered Set Tarmac�
Solid�
�
�
�
�
�
17


�
Titan Truck Plus 15w-40 Oil�
Liquid�
�
Workshop�
�
�
�
18


�
Renolin B46 Plus Hydraulic Oil�
Liquid�
�
Workshop�
�
�
�
19


�
Stihl Chain Oil�
Liquid�
�
Grounds shed�
�
�
�
20


�
Bitumen Bitutack�
Liquid�
�
Stores�
�
�
�
21


�
Economy 205 TFR�
Liquid�
�
�
�
�
�
22�
K4000 EP Semi Fluid Grease�
Solid�
�
Workshop�
�
�
�
23


�
Banding Tape OBT05�
Solid�
�
�
�
�
�
24


�
Bituchem Air Patch 65�
Liquid�
�
Green shed�
�
�
�
25


�
Delph SPF50 Sun Lotion�
Liquid�
�
�
�
�
�
26�
Jangro Professional De-Icer�
Liquid�
�
Workshop�
�
�
�
27�
FIXT Penetrating Graphite Fluid (WD40)�
Liquid�
�
Workshop�
�
�
�
28


�
FIXT Electrical Cleaner�
Liquid�
�
Workshop�
�
�
�









POLLUTION PREVENTION EQUIPMENT INVENTORY





Type�
Location�
Amount�
Staff contact�
�



Spill kit�
�
Variable amount but no greater than 110 litres�
�
�



Spill kit�
�
Variable amount but no greater than 110 litres�
�
�



�
�
�
�
�



�
�
�
�
�











Ref: EPF01 

Page 2 of 8


March 2023 v2

