Schedule 5 - Notification                            TIR0248 06/11/2023

Part A 
	Permit Number
	VP3935AT

	Name of Operator
	Enovert South Ltd

	Location of Installation
	Tir John Landfill, Wern Terrace, Off Fabian Way, Swansea, SA1 8PA

	Time and date of the detection 
	October 2023

	(b) Notification requirements for the breach of a limit (within 24 hours unless otherwise agreed)

	Emission point reference/ source
	Phase 2 LEW Leachate Wells
Leachate Head above Cell Base
>1m
See Table 1 Below

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	Leachate remains contained within the engineered containment system, so no emission from the site is occurring.


Part B to be supplied as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	Leachate removal to sewer is ongoing.

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Landfill capping works are continuing to progress well, which will further reduce rainfall infiltration.

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	The elevated levels in some wells such as LEW14 and LEW09b are due to the pumps failing due to the well conditions and a solution has been under discussion within Enovert and with NRW. Dosing with bleach failed to break up the blockage, we are now looking into other options into helping to breakdown this unknown substance utilising alternative chemicals. The substance has been sampled for laboratory analysis.

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	See previous notifications.


	Name*
	Elizabeth Forrest

	Post
	Environmental Data Analyst

	Date
	06/11/2023


[bookmark: _Int_iiKeGdxg]* authorised to sign on behalf of Enovert South Ltd










	Sample Point
	Date
	Leachate Head (m)
	Comment

	LEW09a
	20/10/2023
	3.99
	

	LEW09b
	20/10/2023
	16.17
	Blockage in well

	LEW16
	20/10/2023
	2.84
	

	LEW20
	20/10/2023
	1.47
	

	LEW21
	20/10/2023
	2.15
	

	LEW23
	20/10/2023
	2.63
	

	LEW24
	20/10/2023
	3.94
	

	LEW25
	20/10/2023
	4.54
	

	LEW26
	20/10/2023
	1.99
	

	LEW28
	20/10/2023
	5.98
	

	LEW31
	20/10/2023
	1.48
	

	LEW32
	20/10/2023
	3.03
	


Table 1: Breach of Compliance Limit for Leachate Boreholes Phase 2 area October 2023
