	[image: image1.png]Powys




	Environmental management system
Accident Management Plan
	EMS.S6.01

	
	
	Version: 
	1 

	
	
	Effective:      
	December 2020

	Authored by: WRAP Cymru WRAWRWWWWRAPWRAPfsdfdsfsdffsdfasdfdsfSLRSLREunomaiEunomiaEunomia
	Reviewed by: DYP
	Approved by: 

	Date: December 2020 XX2019201920192019FFenssdfdfsdfsdfgdfgdfMarFebruary 20182018
	 
	 
	



1.0 PRINCIPLE

This section sets out the general procedures for accident management on site. The purpose of this procedure is to ensure that any site operative working on site is aware of the procedures for managing an accident. 

2.0 SCOPE

This procedure covers the possible accidents on site and their consequences. 

3.0 RESPONSIBILITY

All site operatives are responsible for carrying out the procedure as detailed. Any changes required are the responsibility of the Site Manager or designated person to update and re-issue the amended procedure. 

4.0 PROCEDURE

PCC recognises the importance of the prevention of accidents that may have environmental consequences and that it is crucial to limit those consequences. PCC have developed a system to identify, assess and minimise the environmental risks and hazards of accidents and their consequences.

This accident management plan will be implemented and maintained at the site to ensure the site and site operatives are fully prepared for such incidents.  This accident management plan will be reviewed at least every four years or as soon as practicable after an incident with changes made accordingly to minimise the risk of occurrence.

This following accident management plan describes the techniques implemented to minimise the risks posed to the environment.  Activities affecting the health and safety (H&S) of operatives, contractors and visitors are separately managed in compliance with H&S regulation and company H&S Policy.  

4.1.1 Hazard Identification 

The following hazards have been identified:

· storage of waste;
· unauthorised waste receipt and processing;

· fire;

· loss of containment – spillage and leakage;

· security and vandalism; and

· flooding. 

Risk Estimation

This Accident Management Plan (see table below) has adopted a risk assessment approach to each potential hazard by combining the probability and magnitude of the potential risk to give an estimation of the risk prior to any mitigation measures. The risk management measures, which are designed to reduce the likelihood of occurrence, are then detailed followed by an estimation of the actual risk post-mitigation (Residual Risk Rating). 

4.1.2 Control Techniques 

PCC will ensure that;

· all incidents, near misses, abnormal events, changes to procedures and significant findings of maintenance inspections will be logged and recorded in the site diary; and 

· site operatives training requirements will be identified and the relevant training provided. 

This accident management plan will be reviewed at least every four years or as soon as practicable after an incident with changes made accordingly to minimise the risk of occurrence.

Accident Management Plan

	Accident scenario and consequence
	Probability of accident occurring
	Magnitude of potential Impact
	Risk rating before mitigation
	Risk Management
	Residual risk rating (following mitigation)

	Unauthorised Waste Receipt and Processing

Acceptance of unauthorised materials could result in unacceptable wastes being stored and treated at the site; odour or dust emissions; contaminated runoff  from these wastes. 
	Low
	Moderate
	Medium
	Non-hazardous household and co-collected business wastes are source-segregated and checked at the kerbside during collection. These waste streams are collected by purpose-built vehicles operated and used only by PCC- further minimising the mixing of wastes and potential contamination of non-conforming waste loads.

All wastes will be subject to strict waste acceptance procedures.  All non-municipal wastes will be subject to inspection and checking against the declaration on the waste transfer note. Only material authorised by the permit will be accepted at the site.

In the event that unauthorised waste is delivered to the site, the waste will be segregated and stored in a designated quarantine area within the permit boundary prior to export from site to a suitably permitted facility for recovery or disposal.

	Low

	Fire

Risk of fire from electrical fires, incoming wastes, and onsite plant or vehicles. 

· Fire in the bays
· Vehicle fires

· Fire in stock piles
· Fires in buildings
Air transport of smoke and fumes, contaminated firewater runoff by direct run off or via surface water drains.

 
	Low
	Severe
	Medium
	A Fire Prevention & Mitigation Plan (FP&MP) has been prepared and forms part of the EMS for the site. The FP&MP provides details of the measures that are taken on site to prevent and mitigate against site fires and the actions that will be taken should a fire occur. 

To prevent and minimise the potential impact of fire the following action will be taken:

· All deliveries of wastes will undergo a visual fire check on arrival at the site;

· The plant inspection schedule will include checks of electrical equipment to ensure that any faults are identified and repaired;
· The waste storage building will be equipped with fire detection system. 
· Fire extinguishers will be provided at designated locations; 
· Incompatible materials will be stored apart;

· The size of stockpiles of combustible materials will be limited;

· Smoking will not be permitted on the site;

· PCC working practices will ensure assessment of fire hazards and training of employees in fire prevention, e.g. the use of fire extinguishers and emergency procedures;

· NRW will be advised of all incidents of fire as soon as practicable; 

· No wastes shall be burned on the site and any fire at the site will be treated as an emergency. 

· Foam, carbon dioxide and powder extinguishers are provided across the site. The extinguishers are inspected annually;

· All stored items e.g. boxes, bins, textiles etc. to be kept in their designated areas;

· All material will be stored in designated bays or containers, bins and skips as appropriate and no material to be left uncontained overnight;

· Good housekeeping will be in place; 

· Access to vehicles for fire-fighting not to be obstructed

In the event of fire, the following action will be taken:

· The fire brigade will be notified immediately and NRW as soon as practicable;
· Drains will be isolated from contaminated water. Runoff will be prevented from entering any un-surfaced ground

· The burning area will be isolated and attempts will be made to extinguish the fire utilising the onsite fire extinguishers if safe to do so; 

· The site will be evacuated if the fire is not containable.
	Low

	Spills and Leaks / Loss of containment  

Loss of containment could lead to spillage and leakage of potentially contaminating liquids impacting on local land quality, surface water and groundwater

This may be a consequence of overfilling of bunds or drainage sumps, failure to contain firewater, wrong connections made in drains or other systems or operator error. 


	Low


	Mild to Moderate 


	Medium 
	To prevent loss of containment and minimise the risk and impact of releases the following measures will be implemented:

· Containment system: Vehicle refuelling will occur on site. Storage will be in mobile purpose built double skinned tanks that comply fully with the requirements of the Oil Storage Regulations and which will be constructed and maintained so that they do not leak any liquids contained in them. 
· The tank will be integrally bunded providing a leakage containment bund capable of containing at least 110% of the volume of the tank or 25% of the total tank volume, whichever is the greater.
· The refuelling area has impermeable surfacing and sealed drainage;

· Storage vessels: storage tanks will be constructed to the appropriate British Standard;
· Inspection: tanks will be inspected visually on a daily basis by the site staff to ensure the continued integrity of the tanks, and identify the requirement for any remedial action;  staff will ensure that the bund capacity is maintained (i.e. by removing any rainwater captured in the bund). Alongside regular visual inspections, tanks will be fitted with level indicators to prevent overfilling.
· Spill kits: materials suitable for absorbing and containing minor spillages will be maintained on site; 

· Monitoring: the site staff will undertake daily monitoring for evidence of spillage and leakage. Alongside regular visual inspections, the tanks will be fitted with level indicators to prevent overfilling.  

In the event of any potentially polluting leak or spillage occurring on site, the following action will be taken:

· Minor spillages will be cleaned up immediately, using sand or proprietary absorbent. The resultant materials will be placed into containers and will then be removed from site and disposed of at a suitably permitted facility. The incident will be logged in the site diary.  

· Any dry wastes spilled will be collected and transported to the appropriate area of the site; and

· In the event of a major spillage, which is causing or is likely to cause polluting emissions to the environment, immediate action will be taken to contain the spillage and prevent liquid from entering surface water drains. The spillage shall be cleared immediately and placed in containers for offsite disposal, and NRW will be informed.
	Low

	Security and Vandalism

Unauthorised access resulting in loss of containment or fire.
	Low
	Moderate to Mild


	Medium/ Low
	The site will have the following security measures in place;

· Security lighting as required;
· The site will be entirely enclosed by a 2.4m high metal palisade fence.

· The security gates to the site will be closed out of operational hours;
· Inspection: gates and fencing extending around the operational areas of the site will be inspected daily by the operations staff to identify deterioration and damage, and the need for any repairs. All inspections will be recorded in the site diary; 
· The site will have a CCTV system that provides full coverage of the external yard areas and the inside of the bulking shed;
· Fencing and gates will be maintained and repaired to ensure their continued integrity.  In the event that damage is sustained repairs will be made by the end of the working day. If this is not possible, suitable measures will be taken to prevent any unauthorised access to the site and permanent repairs will be affected as soon as practicable; 

· Authorised access system: all formal visitors to the site, will be required to register in a visitor’s book (held in reception office) and sign out again (in the same book) on exit to minimise the risk of unauthorised visitors being present on site; and

· Monitoring techniques: operational procedures, including regular inspections will ensure continual monitoring of security provision at the site.

In the event of a breach of security at the site, the cause will be investigated and appropriate mitigation measures implemented. This will be recorded in the site diary. Records maintained will include inspections and maintenance of security fencing and gates, breaches of security, investigations and actions taken. 

	Low

	Flooding

Could lead to potentially contaminating liquids impacting on local land quality, surface water and groundwater. 

	Low
	Moderate / Severe
	Medium
	Sections in the south west and north east of the site are identified as having a low to high risk of surface water and small watercourse flooding.
Containment measures and appropriate drainage measures will be in place at the site. The site will benefit from two flood alleviation storage areas located in the south western and north eastern sections of the site. 
The site drainage will be inspected, cleared and maintained regularly in line with the EMS. 

	Low


5.0 Health and safety

All site operatives will work with due regard to all relevant Health and Safety Regulations currently in existence relevant to operations on site. All site operatives have a duty of care to report anyone who does not comply with the relevant Health and Safety Regulations to the Site Manager.

END OF DOCUMENT


4                                                                                      



[image: image1.png]