| Permit Number: | PAN-005073 |
| --- | --- |
| Applicant name: | Mr Ian Archer |
| Site Address: | Eastmoor Farm, Manorbrier, Tenby, SA70 8QP |
| Discharge Point NGR: | SS 04806 98254 |
| Respond by date: | 03/05/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

The application is for a new discharge of domestic sewage effluent originating from a single domestic property (4 bedrooms) and seasonal tent pitches (15 campers maximum), the maximum daily volume of the discharge will be 2m3/day. The treatment system comprises of a septic tank, horizontal flow reed bed and a final vertical flow reed bed. The discharge is to a small un-named watercourse/drain, the applicant has confirmed that the watercourse has constant flow and does not dry up at any time during the year. The applicant is also aware of the importance of proper maintenance of reed bed systems and will have a stringent management system in place should a permit be issued. The system is not yet built.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

There are two SAC’s within the relevant screening distance of 500m Bristol Channel Approaches and Pembrokeshire Marine.

There is also a SSSI within 500m of the proposed discharge point (Freshwater East Cliffs to Skrinkle Haven), an Appendix 4 assessment will be completed and consulted on as appropriate.

Risk Assessment Results (modelling or L1 Risk Assessment):

As the discharge is <5m3/day to surface water no water quality modelling is required.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

Date: