Notice of variation with introductory note

Environmental Permitting (England & Wales) Regulations 2016

JLA Recycling Limited

Bulky Waste Recycling Centre

Tir Canol Landfill

Palleg Road

Ystradgynlais

Swansea

SA9 2QQ

Variation application number

EPR/NP3498FK/V004

Permit number

EPR/NP3498FK

Bulky Waste Recycling Centre

Permit number EPR/NP3498FK

Introductory note

This introductory note does not form a part of the notice

The following notice gives notice of the variation of an environmental permit.

This is a variation of a tier 3 bespoke environmental permit consisting of:

-	an operator indicated variation to add shredding and screening to permitted treatments

-	a regulator-initiated variation to add conditions relating to fire and updated legal limits.

The schedules specify the changes made to the original permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |  |  |
| --- | --- | --- |
| Description | Date | Comments |
| Waste Management Licence issued EAWML 34190 | 06/06/02 | Original permit issued to JLA Recycling Limited station and composting facility. |
| Modification determined | 09/12/03 | Modification to delete condition requiring financial provision. |
| Modification determined | 16/06/08 | Modification to increase quantity of waste accepted at the site per year to 75,000 tonnes. |
| Application EPR/NP3498FK/V004 (variation and consolidation) | Duly made 12/09/18 | Variation consisting of: - Operator initiated variation to add shredding to permitted treatments - Regulator-initiated variation to add conditions relating to fire and some modern conditions. |
| Additional information received in response to Schedule 5 notice sent 14/09/18 | 04/10/18 | Consisting of: - Amended working plan - Information on what waste will be shredded - Amended risk assessment |
| Additional information received in response to informal information request sent 09/10/18 | 24/10/18 | Consisting of: - amended working plan - amended application form (Part C2) |
| Variation determined EPR/NP3498FK | 09/01/19 | Varied permit issued. |

End of introductory note

Notice of variation

Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies

permit number

EPR/NP3498FK

issued to

JLA Recycling Limited (“the operator”)

whose registered office is

Glyncynwal Uchaf Farm

Lower Cwmtwrch

Swansea

West Glamorgan

SA9 2QQ

company registration number 03998195

to operate a regulated facility at

Bulky Waste Recycling Centre

Tir Canol Landfill

Palleg Road

Ystradgynlais

Swansea

SA9 2QQ

to the extent set out in the schedules.

The notice shall take effect from 09/01/2019

| Name | Date |
| --- | --- |
| Huw Davies | 09/01/2019 |

Authorised on behalf of Natural Resources Wales

Schedule 1 – conditions to be deleted

None

Schedule 2 – conditions to be amended

The following conditions are amended as a result of the application made by the operator

| ### Table 1.1 Specified waste management operations |  |  |
| --- | --- | --- |
| ### Specified Waste Management Operation | ### Permitted Waste Types which may be subject to the Specified Operation | ### Limits on Specified Waste Management Operations |
| - Storage (D15 and R13) pending disposal or recovery | ### All categories of waste specified within Table 1.2 A of this waste management licence (excluding waste refrigeration equipment) | - The maximum total quantity of waste stored on the site at any one time shall not exceed 164 tonnes. - The maximum storage time for degradable waste shall not exceed 72 hours - The maximum storage time for inert waste shall not exceed 28 days - Wastes shall only be stored within designated skips, drums or tanks upon an impermeable pavement in accordance with figure 4 of the working plan. - All skips, drums and tanks shall remain covered when the site is closed or unmanned to prevent the escape of their contents and the ingress of water. - All skips, drums or tanks being used to store waste shall be clearly labelled to identify the wastes stored within them. - The maximum quantity of bonded asbestos shall not exceed 5 tonnes - Nominally empty LPG cylinders shall be transferred on receipt to a secure and lockable caged area and stored upright with their valves uppermost - Batteries shall be stored in accordance with section 2.1.2 of the working plan. - The maximum quantity of hazardous waste that can be stored at the site in total for recovery or disposal, (excluding end of life vechicles and/or waste electrical and electronic equipment stored pending manual dismantling, repair or refurbishment), shall not exceed 50 tonnes at any one time. |

| - Physico-chemical treatment of waste (D9) | ### All categories of waste specified within Table 1.2 A of this waste management licence (excluding waste refrigeration equipment) | - Treatment consisting only of physical sorting or separation of waste into different components, physical mixing or bulking up of solid wastes of the same or different types where there are no resulting changes in the chemical composition of the wastes or its different components, shredding (of 19 12 12 only), screening. - Only on impermeable pavement within Area B of figure 4 of the working plan. |
| --- | --- | --- |
| - R4 Recycling/reclamation of metals and metal compounds | - waste refrigeration equipment | - All treatment of waste refrigeration equipment shall be undertaken on impermeable pavement provided in accordance with condition 2.1 - Treatment only applies to the removal of foodstuffs and loose material, cleaning, draining of fluids and removal of doors, compressors etc. |
| - R13 Storage of wastes pending any if the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where it is produced) | - waste refrigeration equipment | - Stored prior to treatment for a period of up to 12 months on areas of impermeable pavement provided in accordance with condition 2.1 - Storage after treatment on hardstanding or impermeable pavement provided in accordance with condition - Maximum storage capacity 9.9 tonnes - refrigeration equipment shall be stored on site for no longer than 3 years - The free storage of refrigeration equipment shall be stored at a maximum storage height of 3.5 meters or 2 fridge units high. - The maximum quantity of hazardous waste that can be stored at the site in total for recovery or disposal, (excluding end of life vechicles and/or waste electrical and electronic equipment stored pending manual dismantling, repair or refurbishment), shall not exceed 50 tonnes at any one time. |
|  | - Loose materials and food wastes removed during treatment operations of refrigeration equipment | - Loose materials and food waste shall be stored in containers provided in accordance with Condition 2.1 |

Schedule 3 – conditions to be added

The following conditions are added following a Natural Resources Wales initiated variation

## 1.12	Operating techniques

#### 1.12.1	(a)	The activities shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in table 1.12, unless otherwise agreed in writing by Natural Resources Wales.

#### (b)	If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in table 1.12 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

## 4.9	Improvement programme

### 4.9.1	The operator shall complete the improvements specified in table 4.9 by the date specified in that table unless otherwise agreed in writing by Natural Resources Wales.

### 4.9.2	Except in the case of an improvement which consists only of a submission to Natural Resources Wales, the operator shall notify Natural Resources Wales within 14 days of completion of each improvement.

## 4.10	Fire

4.10.1	The operator shall manage and operate the activities in accordance with a written fire prevention plan using the current, relevant fire prevention plan guidance.

4.10.2	The operator shall:

(a)	if notified by Natural Resources Wales that the activities could cause a fire risk, submit to Natural Resources Wales a fire prevention plan which identifies and minimises the risks of fire;

(b)	Operate the activity in accordance with the fire prevention plan, from the date of submission, unless otherwise agreed in writing by Natural Resources Wales.

| ### Table 1.12 Operating techniques |  |  |
| --- | --- | --- |
| ### Description | ### Parts | ### Date Received |
| ### Technical Guidance Document: ‘How to comply with your environmental permit’ | ### All relevant sections | ### N/A |
| ### Sector Guidance Note IPPC S5.06: Guidance for the Recovery and Disposal of Hazardous and Non-Hazardous Waste | ### All relevant sections | ### N/A |
| ### Fire prevention and mitigation plan guidance - Waste | ### All relevant sections | ### N/A |
| ### Fire prevention and mitigation plan | ### All relevant sections | ### In line with IPC 1 |
| ### Additional information | ### 181009 RFI JLA_RESPONSEv2 - Response to question 11 regarding dust management | ### 24/10/18 |

| ### Table 4.9 Improvement programme requirements |  |  |
| --- | --- | --- |
| ### Reference | ### Requirement | ### Date |
| ### IPC1 | ### The operator shall submit a written Fire Prevention and Mitigation Plan to Natural Resources Wales for approval. ### The Fire Prevention and Mitigation Plan must be produced in line with the standards set out in Fire Prevention and Mitigation Plan guidance – Waste. | ### 3 months after permit issue or otherwise agreed in writing with Natural Resources Wales |