| Permit Number: | PAN-005285 |
| --- | --- |
| Applicant name: | Jones, Jones & James Ltd |
| Site Address: | Plot 3, Capel Dewi, Carmarthen, SA32 8AD |
| Discharge Point NGR: | SN 47578 20196 |
| Respond by date: | 13/05/2019 (10 working days) |
| Permitting Officer: | Elliot Burge |

Brief Description of proposal:

This application is for a new discharge of secondary treated sewage effluent originating from a single domestic property which is not yet developed. The maximum daily discharge volume will be 1 cubic metre per day and the treatment system comprises of a British Standard Package Treatment Plant capable of treating to 20:30:20 mg/l of BOD: Suspended Solids: Ammonia. The discharge is to a small unnamed watercourse although the applicant has confirmed there is constant flow throughout the year.

Habitats Screening Report – Designations or protected species/habitats:

The risk screening report can be found on the DMS here.

The only designation picked up in the report is a Drinking Water Protected Area Catchment – Tywi – confluence with Cothi to spring tidal limit.

An external consultation with DCWW will be undertaken.

Risk Assessment Results (modelling or L1 Risk Assessment):

N/A – as the discharge is <5m3/day there has been no water quality modelling undertaken.

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | Y |
| Environmental Heath | N |

Any Permitting Responses:

No responses received internally and no concerns raised from the external consultations, minded to issue the permit.

Date: 24/05/2019