## Consent Application information
| If FE permit is to be. or has already been. consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities | [6 empty] | If applicable | If applicable | If applicable |  | If applicable | If applicable | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
Llanuwchllyn WwTW | CM0000801 | Unpermitted-1058 | Not Required | Frongain | Llanuwchllyn | Gwynedd | LL23 7TW | SH8809830300 | Not Required | SH8742030360 | Not Required | Not Required | SH8782630550 | Not Required | Not Required | Not Required | Not Required | SH8740930342 | Not Required | SH 87835 30519 | SH 87835 30519 | Not Required | Afon Twrch | TBC |  | TBC | TBC | None | None
Morfa Bychan WwTW | CG0122001 | CG0448201 | CG0448101 | Fford Morfa Bychan | Morfa Bychan | Gwynedd | LL49 9YH | SH5336535907 | Not Required | SH5336535907 | Not Required | Not Required | SH5383237411 | Not Required | Not Required | SH 53851 37393 | Not Required | SH5384937386 | Not Required | SH 53857 37393 | SH 53851 37393 | Not Required | coastal waters | 24 |  | 6mm 2D | None required | None | None
Mynytho WwTW | CG0030801 | CG0030802 | Not Required | Lôn Wilis | Mynytho | Gwynedd | LL53 7SA | SH3065430096 | Not Required | SH3065430096 | Not Required | Not Required | SH 30619 30101 | Not Required | Not Required | SH 30643 30097 | Not Required | SH3061030120 | Not Required | SH 30613 30122 | SH 30614 30114 | SH 30603 30122 | unnamed stream | TBC |  | TBC | TBC | None | None
Narberth WwTW | BP0215901 | BP0219601 | Not Required | Valley Road | Narberth | Pembrokeshire | SA67 8BS | SN0644014710 | SN 10267 14209 | Not Required | SN 10273 14288 | SN 10198 14246 | SN 10198 14246 | Not Required | Not Required | SN 10197 14247 | SN 10289 14246 | Not Required | SN 10289 14246 | Not Required | SN 10260 14290 | SN 10277 14286 | Narberth Brook | 28 |  | 6mm 2D | 316 | None | None
Nash WwTW | AB0067101 | AB0067102 | Not Required | West Nash Road | Nash | Newport | NP18 2BZ | ST 33454 84112 | ST 33454 84112 | Not Required | ST 33725 84001 | ST 33604 83985 | ST 33604 83985 | Not Required | Not Required | ST 33708 83869 | ST 33604 83985 | Not Required | ST 33605 83987 | Not Required | ST 33708 83869 | ST 33712 84023 | Julian's Pill | 1415 |  | 6mm 2D | 13500 | None | None
Nefyn WwTW Inlet PS | Not Required | CG0427101 | Not Required | Lôn Terfyn (B4417) | Morfa Nefyn | Gwynedd | LL53 6AP | not required | Not Required | SH2807139812 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH2808439900 | Not Required | SH 28016 39848 | SH 28017 39859 | Not Required | unnamed tributary of Afon Geirch | 16 |  | 6mm 2D | None required | None | None
Newborough WwTW | CG0094101 | CG0326101 | Not Required | Chapel Street (A4080) | Pen-Lôn | Anglesey | LL61 6RT | SH4370064140 | SH4370064140 | Not Required | Not Required | Not Required | SH4288065300 | Not Required | Not Required | SH 42839 65400 | SH4285065370 | Not Required | SH 42843 65381 | Not Required | SH 42839 65400 | SH 42835 65397 | Afon Braint | 19.8 |  | 0 | 129 | None | None
Northop WwTW | CM0038001 | CG0429901 | Not Required | Church Road | Northop | Flintshire | CH7 6BS | SJ2505268867 | SJ2505268867 | Not Required | Not Required | Not Required | SJ2496568598 | Not Required | Not Required | SJ 24957 68612 | SJ 24957 68621 | Not Required | SJ 24952 68640 | Not Required | SJ 24948 68607 | SJ 24944 68607 | Northop Brook | 9.2 |  | 6mm 2D | 66.2 | None | None
Pencader WwTW | BG0007801 | BG0007805 | Not Required | Castle Road | Pencader | Carmarthenshire | SA39 9BS | SN4455636582 | SN4455636582 | Not Required | Not Required | Not Required | SN 44506 36544 | Not Required | Not Required | SN 44502 36501 | SN4451536523 | Not Required | SN 44509 36523 | Not Required | SN 44502 36501 | SN 44462 36487 | Afon Tyweli | 17.7 |  | 6mm 2D | 88.56 | None | None
Pendine WwTW | BJ0084201 | BJ0084202 | Not Required | Qinetiq | Llanmiloe | Carmarthernshire | SA33 4UA | SN2487907893 | Not Required | SN2500007900 | SN 24895 07943 | SN 24873 07917 | SN2487307917 | Not Required | Not Required | SN 24894 07933 | Not Required | SN2486507910 | Not Required | SN 24882 07918 | SN 24894 07933 | Not Required | Soakaway in W. Marsh | Not stated |  | Not Stated | Not Stated | None | None
Pontsticill WwTW | AG0007801 | AN0356601 | Not Required | Ynys-Y-Gerwyn Farm | Pontsticill | Merthyr Tydfil | CF48 2UP | SO0602611069 | SO0603111181 | Not Required | Not Required | Not Required | SO0586711231 | Not Required | Not Required | SO 05867 11238 | SO 05838 11237 | Not Required | SO 05836 11233 | Not Required | SO 05842 11240 | SO 05838 11236 | Taf Fechan | 3.9 |  | 6mm 2D | 27.8 | None | None
Fairbourne WwTW | CG0138301 | CG0413701 | Not Required | Off A483 | Fairbourne | Gwynedd | LL38 2HJ | SH6073613574 | SH6073613574 | Not Required | SH6207013329 | SH 62077 13341 | SH 62077 13341 | SH 62077 13337 | SH 62077 13341 | SH 62070 13348 | SH6206613322 | Not Required | SH6207613336 | Not Required | SH 62075 13337 | SH6207613336 | coastal waters | 10.87 |  | 6mm 2D | 400 | None | None
Little Mill WwTW | AD0002501 | AD0003001 | Not Required | Glascoed Lane | Monkswood | Monmouthshire | NP15 1QB | SO 33771 02390 | SO 33738 02411 | Not Required | Not Required | Not Required | SO 33771 02390 | Not Required | Not Required | SO 33734 02394 | SO 33731 02404 | Not Required | SO 33731 02404 | Not Required | SO 33734 02394 | SO 33729 02402 | Berthin Brook | TBC |  | TBC | TBC | None | None
Machynlleth WwTW | CG0083001 | CG0083002 | Not Required | Gas Works Lane | Machynlleth | Powys | SY20 8BU | SH7388501230 | SH7388501230 | Not Required | SH 74231 00873 | SH7422600898 | SH7422600898 | Not Required | Not Required | SH 74233 00900 | SH 74206 00887 & SH 74220 00894 | Not Required | SH 74230 00893 | Not Required | SH 74231 00858 | SH 74233 00855 | River Dyfi | 27 |  | 6mm 2D | 400 | None | None
Overton (Gower) WwTW | BP0054801 | BP0274701 | Not Required | Overton Lane | Port Eynon | Swansea | SA3 1NR | SS4639084480 | SS4639084480 | Not Required | Not Required | Not Required | SS4635084480 | Not Required | Not Required | SS 46335 85023 | SS 46346 85044 | Not Required | SS 46341 85043 | Not Required | SS 46294 85077 | SS 46303 85076 | Coastal Waters of Overton Mere | 23 |  | 6mm 2D | 100 | None | None
Overton on Dee WwTW | CM0188601 | CM0188602 | CG0430701 | Maelor Way | Overton on Dee | Wrexham | LL13 0ED | SJ3662541598 | SJ3662541598 | SJ3662541598 | Not Required | Not Required | SJ3716341493 | Not Required | Not Required | SJ 37190 41471 | SJ3719141485 | SJ 37208 41498 | SJ 37190 41488 | SJ 37214 41500 | SJ 37190 41471 | SJ 37201 41475 | River Dee | Settled Storm: 7.97 Screened Storm: 19 |  | 6mm 2D | Settled Storm: 57.4 Screened Storm: None Required | None | None
Queensferry WwTW | CM0082201 | CM0082301 | Not Required | Factory Road | Queensferry | Flintshire | CH5 2QJ | SJ3237968522 | SJ3238068530 | Not Required | SJ 32281 68125 | SJ 32265 68366 | SJ3226568366 | SJ 32283 68345 | SJ 32278 68348 | SJ 32271 68353 | SJ3226868223 | Not Required | SJ 32271 68225 | Not Required | SJ 32202 68195 | SJ 32209 68170 | River Dee Estuary | 277.6 |  | 6mm 2D | 2880 | None | None
Roewen WwTW | CG0089401 | EPRAB3495HF | Not Required | Opposite Roewen Primary School | Rowen | Conwy | LL32 8TS | SH 76075 71747 | Not Required | SH7605971798 | Not Required | Not Required | SH 76029 71771 | Not Required | Not Required | SH 76023 71792 | Not Required | SH7602471797 | Not Required | SH 76024 71799 | SH 76023 71792 | Not Required | Afon Roe | 3.3 |  | TBC | None stated | None | None
Buckley Ty Gwyn WwTW | CM0081001 | CG0382901 | Not Required | Chester Road (A5118) | Padeswod | Flintshire | CH7 4JF | SJ2789062220 | Not Required | SJ2789062220 | SJ2829062300 | SJ2819362237 | SJ2819362237 | Not Required | Not Required | SJ 28295 62306 | Not Required | SJ2831062330 | Not Required | SJ 28305 62304 | SJ 28295 62306 | Not Required | Black Brook | 124 |  | 6mm 2D | None required | None | None
Blaenau Ffestiniog WwTW | CG0083401 | CG0083402 | CG0432201 | Pencefn Road (A496) | Blaenau Ffestiniog | Gwynedd | LL41 4BW | SH6942043720 | SH6942043720 & SH 69685 44434 | Not Required | SH 69676 44409 | SH 69634 44480 | SH 69676 44409 | Not Required | Not Required | SH 69661 44411 | SH6963044480 | Not Required | SH 69668 44440 | Not Required | SH 69633 44476 | SH 69635 44488 | Afon Goedol | Discharge point 1: 55.6 Discharge point 2: 138 |  | Discharge point 1: 6mm 2D Discharge point 2: 6mm 2D | Discharge point 1: 402.3 Discharge point 2: 402.3 | If pipe to outfall point 1 is at hydraulically capacity, spill flow will be discharged to point 2 | If pipe to outfall point 1 is at hydraulically capacity, spill flow will be discharged to point 2
Caernarfon WwTW | CG0078501 | CG0078502 | Not Required | St Helen's Road | Caernarfon | Gwynedd | LL55 2YB | SH4802061830 | SH4803461826 | Not Required | SH 48088 61878 | SH4806361838 | SH4806361838 | Not Required | Not Required | SH 48091 61878 | SH4804761833 | Not Required | SH 48078 61866 & SH 48072 61879 | Not Required | SH 48091 61878 | SH 48098 61883 | Afon Seiont | 98.6 |  | 6mm 2D | 770 | None | None
Cog Moors WwTW | AN0280001 | AN0280002 | Not Required | Green Lane | Dinas Powys | Vale of Glamorgan | CF64 4TR | ST19306 67576 & ST 19472 67386 | ST1930667576 | Not Required | ST 15956 69584 | ST 15956 69584 | ST 15956 69584 | ST 16193 69575 | ST 16191 69592 | ST1606269656 | ST1618769600 & ST1617369578 | Not Required | ST1621869508 | Not Required | ST1606269656 | ST1608269651 | Coastal Waters off Lavernock Point | 2145 |  | 6mm 2D | 16450 | None | None
Llan Penmachno WwTW | CG0114601 | CG0114602 | Not Required | Llewelyn Street (B4406) | Penmachno | Conwy | LL24 0PS | SH7950051320 | Not Required | SH7956051364 | Not Required | Not Required | SH7950051320 | Not Required | Not Required | SH 79546 51321 | Not Required | SH7954551312 | Not Required | SH 79548 51316 | SH 79546 51321 | Not Required | Afon Machno | 3.82 |  | 6mm 2D | None required | None | None
Penmaenmawr WwTW Inlet PS | Not Required | CG0393801 | CG0099501 | A55 North Wales Expressway | Penmaenmawr | Conwy | LL34 6UN | not required | SH7322078110 | SH 73527 77807 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | SH 73719 77987 | SH 73545 77816 | SH 73720 77987 | SH 73550 77829 | SH 73555 77833 | SH 73555 77830 | Coastal Waters of Conwy Bay | Settled Storm: 47.3 Storm Discharge: 500 |  | Settled Storm: 6mm 2D Storm: 10mm 1D | Settled Storm: 4115 Storm: None required | None | None
Pentraeth WwTW | CG0058001 | CG0325501 | Not Required | Glan Nodwydd | Pentraeth | Anglesey | LL75 8DA | SH 52401 78827 | SH 52401 78827 | Not Required | Not Required | Not Required | SH 52412 78794 | Not Required | Not Required | SH 52381 78783 | SH 52377 78797 | Not Required | SH 52374 78795 | Not Required | SH 52381 78783 | SH 52380 78785 | Afon Nodwydd | 53 |  | 6mm 2D | 2hrs | None | None
Pentre-cwrt WwTW | BG0036101 | EPRAB3498ZF | Not Required | Llandysul Road (A486) | Pentre Cwrt | Carmarthernshire | SA44 5AT | SN3888039105 | Not Required | SN3888039105 | Not Required | Not Required | SN 38906 39101 | Not Required | Not Required | SN 38906 39101 | Not Required | SN3888039105 | Not Required | SN 38924 39092 | SN 38922 39093 | Not Required | Afon Teifi | TBC |  | 6mm 2D | TBC | None | None
Porthmadog Main SPS | Not Required | CG0051901 | Not Required | Chapel Street | Porrthmadog | Gwynedd | LL49 9DU | not required | Not Required | SH 56955 39081 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH 56944 39085 | Not Required | SH 56940 39083 | SH 56946 39070 | SH 56938 39081 | The Cyt Bach" surface watercourse adjacent to Snowdon Street" | 28.9 |  | 10mm 2D | 840 | Storm flow initially pumped to Storm tanks on WwTW site which have a volume of 840m³ | Storm flow initially pumped to Storm tanks on WwTW site which have a volume of 840m³
Solva SPS | Not Required | BP0111701 | Not Required | Solva Harbour Car Park | Solva | Pembrokeshire | SA62 6UT | not required | Not Required | SM 80554 24286 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SM 80554 24286 | Not Required | SM 80534 24312 | SM 80535 24314 | Not Required | Tidal River Solva | TBC |  | TBC | TBC | None | None
Bodedern SPS | Not Required | CG0187501 | Not Required | Llys Y Meddyg | Bodedern | Anglesey | LL65 3UJ | not required | Not Required | SH 33223 80557 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH 33228 80553 | Not Required | SH 33229 80551 | SH 33381 80821 | Not Required | Afon Alaw | 15.4 |  | 6mm 2D | TBC | None | None
Milford Haven WwTW | BG0033101 | BG0033102 | BG0033103 | Havens Head Business Park | Milford Haven | Pembrokeshire | SA73 3LS | SM8976004980 | SM8976004980 | SM8976004980 | SM 90049 06495 | SM 89970 06451 | SM 89965 06458 | Not Required | Not Required | SM 89965 06458 | SM 90059 06505 | SM 90059 06505 | SM 90054 06497 | SM 90059 06505 | SM 90059 06497 | SM 90060 06499 | Milford Haven Waterway | Settled Storm: 127 Storm: 349 |  | 6mm 2D | Settled Storm: 1600 Storm: None required Storm: | Flow pumped up to Inlet works where overflow into storm tank is located. If incoming flow exceeds capacity of inlet pumps, level in pump sump rises and flow spills through storm screen into storm pump sump to be pumped into outfall to combine with final effluent & settled storm overflow | Flow pumped up to Inlet works where overflow into storm tank is located. If incoming flow exceeds capacity of inlet pumps, level in pump sump rises and flow spills through storm screen into storm pump sump to be pumped into outfall to combine with final effluent & settled storm overflow
Pontllynfi WwTW | CG0074601 | CG0074602 | Not Required | Clynnog Road | Pontllynfi | Gwynedd | LL54 5EG | SH4330052800 | Not Required | SH4335352777 | Not Required | Not Required | SH4332052790 | Not Required | Not Required | SH 43337 52779 | Not Required | SH 43350 52756 | Not Required | SH 43350 52756 | SH 43341 52757 | SH 43341 52756 | Afon Llyfni | 2.5 |  | 6mm 2D | 6hrs DWF | None | None
Pontrhydfendigaid SPS | Not Required | BP0115101 | Not Required | Maes-y-Dderwen | Pontrhydfendigaid | Ceredigion | SY25 6EU | not required | Not Required | SN 73052 66488 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SN 73049 66479 | Not Required | SN 73048 66475 | SN 72782 66751 | Not Required | Teifi | TBC |  | TBC | TBC | None | None
Pwllglas WwTW | CM0063901 | CM0063902 | Not Required | A494 | Pwllglas | Denbighshire | LL15 2PB | SJ 11934 54638 | SJ 11934 54638 | Not Required | Not Required | Not Required | SJ 11911 54648 | Not Required | Not Required | SJ 11915 54645 | SJ 11919 54641 | Not Required | SJ 11902 54639 | Not Required | SJ 11894 54659 | SJ 11893 54660 | River Clwyd | 2.53 |  | 6mm 2D | 5 | None | None
Tiers Cross WwTW | BG0013101 | BP0315301 | Not Required | Broad Haven Road | Tiers Cross | Pembrokeshire | SA62 3BZ | SM8999910909 | Not Required | SM8999910909 | Not Required | Not Required | SM9032710782 | Not Required | Not Required | SM 90325 10779 | Not Required | SM 90328 10807 | Not Required | SM 90328 10807 | SM 90328 10807 | Not Required | tributary of Sandy Haven Pill | 5 |  | 6mm 2D | None required | None | None
Treborth WwTW | CG0366001 | CG0366101 | Not Required | Ffordd y Llyn | Parc Menai | Gwynedd | LL57 4EZ | SH5379070850 | SH5379870860 | Not Required | SH 54401 70315 | SH 54313 70345 | SH 54318 70346 | SH 54324 70343 | SH 54318 70346 | SH 54404 70306 | SH 54344 70309 & SH 54379 70292 | Not Required | SH 54344 70309 & SH 54379 70292 | Not Required | SH 54404 70306 | SH 54404 70320 | Menai Strait | 285.5 |  | 6mm 2D | 2304 | None | None
Trefriw WwTW | CG0084201 | CG0084101 | Not Required | Gower Road | Trefriw | Conwy | LL27 0NQ | SH7805863593 | Not Required | SH7805863593 | Not Required | Not Required | SH 78489 62880 | Not Required | Not Required | SH 78487 62876 | Not Required | SH 78488 62878 | Not Required | SH 78482 62878 | SH 78487 62876 | Not Required | River Crafnant | 10.95 |  | TBC | None required | None | None
Tregarth WwtW | CG0133701 | CG0083802 | Not Required | Lôn Ddinas Road | Tregarth | Gwynedd | LL57 4NB | SH6081168712 | SH6080668714 | Not Required | SH 60799 68553 | SH6079568615 | SH6079568615 | Not Required | Not Required | SH 60806 68556 | SH6079168570 | Not Required | SH 60793 68563 | Not Required | SH 60806 68556 | SH 60793 68551 | Afon Ogwen | 22.9 |  | 6mm 2D | 80 | None | None
Wolf's Castle WwTW | BH0068601 | BG0011602 | Not Required | Castle access track | Wolf's Castle | Pembrokeshire | SA62 5LX | SM 95851 26626 | Not Required | SM 95851 26626 | Not Required | Not Required | SM 95825 26635 | Not Required | Not Required | SM 95827 26636 | Not Required | SM 95816 26654 | Not Required | SM 95800 26644 | SM 95800 26644 | SM 95800 26644 | River Anghof | TBC |  | TBC | TBC | None | None