Permit Number: 	EPR/BV4177IS			Operator: 		Volac International Ltd

Facility:		Volac Felinfach		                          Form Number: 	 Air1 / 04/12/2023

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | 0BSubstance / Parameter | Emission Limit Value | Reference Period | Monitoring frequency | Result0F | Test Method1F | Sample Date and Times2F | Uncertainty3F |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A15 | Sulphur Dioxide (SO2) | 30 mg/Nm3 | Periodic | Annual |  | BS EN 14791 |  |  |
|  | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 250 mg/Nm3 | Periodic | Annual |  | BS EN 14792 |  |  |
|  | Total Particulate Matter (PM) | 10 mg/Nm3 | Periodic | Annual |  | BS EN 13284-1 |  |  |
|  | Carbon Monoxide (CO) | 150 mg/Nm3 | Periodic | Annual |  | BS EN 15058 |  |  |
|  | Carbon Monoxide (CO) | 150 mg/Nm3 | Hourly average | Continuous Measurement |  | BS EN 14181 |  |  |
| A1 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |
| A4 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |
| A8 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |
| A9 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |
| A10 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |
| A11 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |
| A20 | Dust | 10 mg/Nm3* | Periodic | Annual |  | EN 13284-1 |  |  |

Signed …………………………………………………………….  		Date………………………...

(Authorised to sign as representative of Operator)

The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases, the principal technique is stated, for example gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

CEMs which meet the MCERTS requirements should also follow the principles of EN 14181 (i.e. QAL2/AST and QAL3) but a reduced number of parallel measurements may be acceptable (subject to NRW approval).

* Emission limit value expressed as mass of emitted substances per volume of waste gas under the following conditions: dry gas at a temperature of 273.15 K and a pressure of 101.3 kPa without correction for oxygen content.