Phone Log:

Date 14/06/2023

Time  09.50

Permitting officer: James Wakeford

Applicant: Sam Griffiths

SG confirmed the following information as requested in the Request for further information email.

The well noted as serving Ty Newydd is located approx. 700 metres north of the discharge site. The property Talybont house and Chapel located next to Ty Newydd are also served by private well/borehole located within the immediate vicinity of each property.

The property Gribin is located up a steep gradient from the proposed discharge location, and SG was not aware of the well shown on the mapping system. But it would be plausible to assume the well is used for drinking water, given all other properties in the area are also on well/borehole supply.

SG confirmed he could not see a spring in the area shown on the map and didn’t think it would be used to water livestock.

SG informed JW they have planted a large number of trees downgradient of the proposed discharge location, between the proposed location and the water course.

SG Confirmed they did not want to pursue confidentiality claim.

SG stated most of the other fields as part of the farm have been under drained in the 80’s, hence the choice for location to discharge.

SG is going to supply the flow rate of the tanker used to discharge the waste dip.

SG confirmed if neat discharge is not possible, then it might be an option to dilute the dip first, using a vacuum tanker with a ratio of 3:1.