| Mr Brian Sheppard Glynclydach Hotel Longford Road Dyffryn Neath SA10 7AJ | Ein cyf/Our ref: BM0044301 Dyddiad/Date: 20 August 2019 |
| --- | --- |

WARNING LETTER

Dear Sir,

Environmental Permit: BM0044301 Discharge of effluent from sewage treatment works at Glynclydach Hotel

We believe that you have committed the following offence:

Offence:	Contravention of Regulation 38 (1)(a) of the Environmental Permitting (England and Wales) Regulations 2016, by causing or knowingly permitting a water discharge activity, except under and to the extent authorised by an environmental permit.

Discharging effluent with a BOD of 144mg/l. and a suspended solids of 89 mg/l.  which does not comply with condition 4 of environmental permit BM0044301.

Date:		On or before 29 July 2019

We have issued this warning letter as a response to the above offence on this occasion. However, our decision could change if any further relevant information comes to light, including, but not restricted to, information that:

- you/the company has committed earlier offences.

- the environmental impacts of this offence are greater than we presently understand them.

- the offences are continuing or have been repeated.

- You/ the company has committed other offences of which we are presently unaware.

We will take this offence into account if we consider that you/the company are involved in any future offending.

This warning does not:

- prevent any other prosecuting authority taking action against you/the company; or

- affect our right to issue enforcement, clear-up or remediation notices, or seek recovery of costs or damages according to law.

Yours faithfully

Selby Le Roux

Arweinydd Tîm/Team Leader

Tîm Amgylchedd / Environment team

Ffôn/Tel 03000 654041
Ebost/Email selby.leroux@cyfoethnaturiolcymru.gov.uk