## July 2023
Permit Number: |  |  |  | TP3835LV |  |  | Operator: |  | SI Green UK Limited |  |  |  | Test method & uncertainty
Installation: |  |  |  | Cwmrhydyceirw Quarry | [8 empty] | Portable infra-red analyser. Uncertainty is the accuracy of the meter.
Schedule 4 - Emissions and monitoring | [6 empty] | Tables S4.1 & S4.6 and Tables 2a, 3a & 4a from the Updated Management Report updated on 25 May 2023
Reporting of leachate levels, groundwater levels and landfill gases for the period from | [6 empty] | Quarter 3 | 01 July - 30 September |  |  |  | 2023
Cwmrhydyceirw Quarry: Site Monitoring July 2023
Borehole | Date Taken | Water Level (m) | CH4 | CO2 | O2 | Balance | CO (ppm) | Gas Pressure | Internal flow (l/h) | Barom Press | Bottom Bor Lev | Ground Lev (mAOD) | Wat Lev (mAOD) | Boreh on surf. (m) | Boreh Bottom (m) | Water Column (m)
Emission Limit Value |  |  | no limit set | no limit set | no limit set |  | no limit set | [9 empty] | GAS IN WASTE
L1C/09R | 2023-07-05 | 7.98 | 34.9 | 17.9 | 1.4 | 43.5 | 5 |  |  | 1007 | 35.45 | 46.5 | 39.01 | 0.49 | 11.54 | 3.56
L3/09R | 2023-07-05 | 10.71 | 0 | 1 | 21.2 | 78.6 | 0 |  |  | 1007 | 36.62 | 46.34 | 37.03 | 1.4 | 11.12 | 0.41
L6/09R | 2023-07-05 | 11.47 | 1.1 | 0.9 | 20 | 78.1 | 0 |  |  | 1007 | 34.02 | 46.83 | 36.28 | 0.92 | 13.73 | 2.26
L9B/09 | 2023-07-05 | 10.51 | 0.9 | 0.5 | 20.9 | 77.6 | 0 |  |  | 1007 | 36.32 | 46.51 | 37.15 | 1.15 | 11.34 | 0.83
L11/09R | 2023-07-05 | 11.71 | 20.5 | 1 | 11.7 | 66.6 | 54 |  |  | 1007 | 33.46 | 47.12 | 36.17 | 0.76 | 14.42 | 2.71
L13/09R | 2023-07-05 | 7.82 | 0 | 0.1 | 20.5 | 79.4 | 0 |  |  | 1007 | 40.95 | 46.98 | 39.93 | 0.77 | 6.8 | -1.02
L16/09R | 2023-07-05 | 8.78 | 28.9 | 10.5 | 6.2 | 53.4 | 7 |  |  | 1007 | 35.31 | 46.9 | 38.85 | 0.73 | 12.32 | 3.54
L19/09R | 2023-07-05 | 7.86 | 8.8 | 0 | 8.4 | 83.9 | 0 |  |  | 1007 | 41.93 | 47.18 | 40.01 | 0.69 | 5.94 | -1.92
L21/09R | 2023-07-05 | 8.9 | 0 | 0 | 21.6 | 78.4 | 0 |  |  | 1007 | 33.98 | 43.84 | 36.22 | 1.28 | 11.14 | 2.24
L23/09R | 2023-07-05 | 11.87 | 14.7 | 7.3 | 5.6 | 72.2 | 0 |  |  | 1007 | 34.74 | 45.85 | 34.27 | 0.29 | 11.4 | -0.47
L26/09R |  |  | No Access | [7 empty] | 36.64 | 43.33 | 44.15 | 0.82 | 7.51 | 7.51
L1/20 | 2023-07-05 | 7.83 | 0.8 | 0.4 | 21.3 | 77.6 | 0 |  |  | 1007 | 34.29 | 43.21 | 36.77 | 1.39 | 10.31 | 2.48
L2/20R | 2023-07-05 | 7.32 | 0 | 0 | 21.7 | 78.3 | 0 |  |  | 1007 | 36.81 | 41.51 | 35.49 | 1.3 | 6 | -1.32
L3/20 | 2023-07-05 | 12.48 | 0 | 0 | 21.3 | 78.6 | 0 |  |  | 1007 | 34.54 | 47.4 | 36.33 | 1.41 | 14.27 | 1.79
L4/20 | 2023-07-05 | 7.81 | 0 | 0 | 21.6 | 78.4 | 0 |  |  | 1007 | 33.63 | 43.32 | 36.91 | 1.4 | 11.09 | 3.28
L5/20 | 2023-07-05 | 9.49 | 6.2 | 0.1 | 16.4 | 77.7 | 1 |  |  | 1007 | 40.05 | 47.73 | 39.59 | 1.35 | 9.03 | -0.46
L6/20 | 2023-07-05 | 10.46 | 27.3 | 0.2 | 9.8 | 46.1 | 3 |  |  | 1007 | 33.07 | 44.73 | 35.63 | 1.36 | 13.02 | 2.56
L7/20 | 2023-07-05 | 5.63 | 0.3 | 0.1 | 18.9 | 80.7 | 0 |  |  | 1007 | 42.75 | 47.34 | 43.16 | 1.45 | 6.04 | 0.41
L8/20 | 2023-07-05 | 10.53 | 0 | 0 | 21.6 | 78.4 | 0 |  |  | 1007 | 34.04 | 44.94 | 35.69 | 1.28 | 12.18 | 1.65
L9/20R | 2023-07-05 | 9.72 | 2.4 | 0.4 | 21.4 | 78.6 | 1 |  |  | 1007 | 35.86 | 45.57 | 37.25 | 1.4 | 11.11 | 1.39
L27/23 | 2023-07-05 | 6.85 | 0.1 | 0.1 | 20.4 | 79.5 | 0 |  |  | 1007
L28/23 | 2023-07-05 | 12.61 | 0 | 0 | 21.3 | 78.6 | 0 |  |  | 1007
L29/23 | 2023-07-05 | 10.77 | 0 | 0.1 | 21.2 | 78.6 | 0 |  |  | 1007
L30/23 | 2023-07-05 | 6.87 | 0 | 0.1 | 21.2 | 78.7 | 0 |  |  | 1007
L31/23 | 2023-07-05 | 8.97 | 0 | 0.1 | 21.2 | 78.7 | 0 |  |  | 1007
CWMLS02 |  |  | Not monitored
Emission Limit Value |  |  | 1.5% vol. | no limit set | no limit set |  | no limit set | [9 empty] | GAS EXTERNAL WASTE
LFG2R | 2023-06-06 | 11.27 | 0 | 1 | 20 | 79.1 | 1 | 0.16 | 0.1 | 1006 | 32.06 | 56.4 | 45.58 | 0.45 | 24.79 | 13.52
LFG3 | 2023-06-06 | 8.38 | 0 | 0.4 | 21.1 | 78.4 | 0 | 0.14 | 0.2 | 1006 | 33.265 | 56.595 | 48.665 | 0.45 | 23.78 | 15.4
LFG4 | 2023-06-06 | 5.77 | 0 | 4.7 | 17.6 | 77.6 | 0 | 0.07 | 0.2 | 1006 | -6.01 |  | -5.22 | 0.55 | 6.56 | 0.79
LFG5 | 2023-06-06 | 26.55 | 0 | 2.7 | 16.7 | 80.6 | 0 | 0.12 | 0.2 | 1006 | 31.66 | 61.93 | 35.78 | 0.4 | 30.67 | 4.12
LFG6 | 2023-06-06 | 10.27 | 0 | 0.1 | 21.4 | 78.6 | 0 | 0.08 | 0.1 | 1006 | 34.37 | 62.41 | 52.24 | 0.1 | 28.14 | 17.87
LFG7BG | 2023-06-06 | 7.66 | 0 | 0.1 | 21.3 | 78.6 | 0 | 0.09 | 0.2 | 1006 | 51.76 | 62.07 | 54.88 | 0.47 | 10.78 | 3.12
LFG8 | 2023-06-06 | 27.04 | 0 | 0.9 | 17.3 | 81.8 | 0 | 0.12 | 0.2 | 1006 | 31.69 | 62.32 | 35.78 | 0.5 | 31.13 | 4.09
LFG9 | 2023-06-06 | 28.17 | 0 | 0.4 | 20.8 | 78.8 | 0 | 0.02 | 0.3 | 1006 | 32.66 | 62.21 | 34.51 | 0.47 | 30.02 | 1.85
LFG10 | 2023-06-06 | 24.83 | 0 | 2 | 18.5 | 79.6 | 0 | 0.04 | 0.3 | 1006 | 32.55 | 62.39 | 38.01 | 0.45 | 30.29 | 5.46
LFG11 | 2023-06-06 | 17.43 | 0 | 0.3 | 20.9 | 78.9 | 0 | 0.05 | 0.1 | 1006 | 35.14 | 64.07 | 47.04 | 0.4 | 29.33 | 11.9
LFG11A | 2023-06-06 | 24.54 | 0 | 0.9 | 18.5 | 80.6 | 0 | 0 | 0.1 | 1006 | 33.72 | 63.14 | 39.1 | 0.5 | 29.92 | 5.38
LFG12BG | 2023-06-06 | 14.73 | 0 | 0.1 | 21.3 | 78.6 | 0 |  |  | 1006 | 33.94 | 64.61 | 50.33 | 0.45 | 31.12 | 16.39
LFG13 | 2023-06-06 | 19.95 | 0 | 5.5 | 11.1 | 83.6 | 0 | -0.74 | 0.1 | 1006 | 33.55 | 65.21 | 45.76 | 0.5 | 32.16 | 12.21
LFG17 | 2023-06-06 | 28.1 | 0 | 0.3 | 20 | 79.7 | 0 | -0.05 | 0.2 | 1006 | 28.07 | 67.44 | 39.75 | 0.41 | 39.78 | 11.68
LFG18R |  |  | Buried | [7 empty] | 33.84 | 69.66 | 69.66 | 0 | 35.82 | 35.82
LFG19 | 2023-06-06 | 28.22 | 0 | 0.1 | 21.2 | 78.7 | 0 | -0.07 | 0.2 | 1006 | 29.62 | 69.7 | 41.8 | 0.32 | 40.4 | 12.18
LFG20 |  |  | Buried | [7 empty] | 30.25 | 69.95 | 70.28 | 0.33 | 40.03 | 40.03
LFG21BG | 2023-07-05 | 9.22 | 0 | 2.8 | 15 | 82.1 | 0 |  |  | 1007 | 31.89 | 75.46 | 66.84 | 0.6 | 44.17 | 34.95
LFG22 | 2023-06-06 | 27.99 | 0 | 0.1 | 21.5 | 78.4 | 0 | -0.09 | 0.1 | 1006 | 29.22 | 69.2 | 41.66 | 0.45 | 40.43 | 12.44
LFG23R |  |  | Not monitored
LFG24 | 2023-07-05 | 8.16 | 0 | 2.5 | 17.1 | 80.4 | 0 |  |  | 1007 | 30.67 | 73.28 | 65.45 | 0.33 | 42.94 | 34.78
LFG24R-A | 2023-07-05 | 1.86 | 0 | 1.4 | 19.7 | 79.4 | 0 | 1.23 | 0.2 | 1007 |  | 2.14
LFG24R-B | 2023-07-05 | 5.27 | 0 | 6.4 | 10.8 | 50.8 | 1 | -0.18 | 0.2 | 1007
LFG25 | 2023-07-05 | 15.26 | 0 | 0.4 | 20.8 | 78.7 | 0 |  |  | 1007 | 30.07 | 71.5 | 56.55 | 0.31 | 41.74 | 26.48
LFG25R-A | 2023-07-05 | 1.6 | 0 | 6.8 | 17 | 79.8 | 16 | 0.53 | 0.2 | 1007
LFG25R-B | 2023-07-05 | 4.67 | 0.7 | 12.6 | 0.4 | 86.2 | 0 | 0.05 | 0.1 | 1007
LFG26 | 2023-07-05 | 4.19 | 0 | 20.9 | 78.9 | 0.2 | 0 | 0.11 | 0.1 | 1007 | 40.48 | 69.51 | 65.62 | 0.3 | 29.33 | 25.14
LFG26R-A | 2023-07-05 | Dry | 4.5 | 13.8 | 0.2 | 79.7 | 2 | 0.21 | 0.2 | 1007 |  | 2.15
LFG26R-B | 2023-07-05 | 3.7 | 0 | 12.3 | 4.4 | 83.3 | 1 | 0.09 | 0.1 | 1007
LFG27 |  |  | Not monitored
LFG27R-A | 2023-07-05 | Dry | 0 | 0.3 | 20.4 | 79.2 | 0 |  |  | 1007 | 32.62 | 67.84 |  | 0.25 | 35.47
LFG27R-B | 2023-07-05 | 6.21 | 0 | 6.7 | 12 | 81.4 | 0 |  |  | 1007 | 32.62 | 67.84 | 61.88 | 0.25 | 35.47 | 29.26
LFG35R | 2023-07-05 | 20.88 | 0 | 0 | 21.6 | 78.4 | 0 | -0.11 | 0.1 | 1007 | 29.64 | 61.6 | 41.22 | 0.5 | 32.46 | 11.58
LFG39 | 2023-07-05 | 13.73 | 0 | 1.4 | 18.9 | 79.7 | 1 | -0.14 | 0.1 | 1007 | 28.65 | 44.57 | 31.37 | 0.53 | 16.45 | 2.72
LFG40 | 2023-07-05 | 12.59 | 0 | 0.1 | 21.3 | 78.6 | 0 |  |  | 1007 | 31.87 | 45.07 | 32.94 | 0.46 | 13.66 | 1.07
LFG41 | 2023-07-05 | 12.23 | 0 | 5.1 | 13.5 | 81.5 | 0 | 7 | 0.2 | 1007 | 30.26 | 45.06 | 33.37 | 0.54 | 15.34 | 3.11
LFG42 | 2023-07-05 | 10.54 | 0 | 3.7 | 8.8 | 87.5 | 0 | 0.33 | 0.2 | 1007 | 29.72 | 45.65 | 35.58 | 0.47 | 16.4 | 5.86
LFG43R | 2023-07-05 | 22.79 | 0 | 2.3 | 19 | 79.9 | 0 | 0.23 | 0.1 | 1007 | 30.34 | 66.62 | 44.29 | 0.46 | 36.74 | 13.95
LFG44R | 2023-07-05 | 31.38 | 0 | 9.4 | 0.4 | 90.2 | 1 |  |  | 1007 | 31.4 | 64.76 | 33.75 | 0.37 | 33.73 | 2.35
LFG45R | 2023-07-05 | 8.36 | 0 | 0.7 | 20.8 | 78.5 | 0 | 0.21 | 0.1 | 1007 | 30.2 | 61.52 | 53.47 | 0.31 | 31.63 | 23.27
LFG46R | 2023-07-05 | 27.69 | 0 | 0 | 21.3 | 78.9 | 0 | -0.01 | 0.1 | 1007 | 29.83 | 62.54 | 35.28 | 0.43 | 33.14 | 5.45
LFG47R | 2023-07-05 | 22.43 | 0 | 0.5 | 20.5 | 79 | 1 | -0.14 | 0.1 | 1007 | 31.16 | 63.28 | 41.24 | 0.39 | 32.51 | 10.08
LFG48R | 2023-07-05 | 12.35 | 0 | 1.1 | 19.1 | 79.8 | 0 | 3.07 | 0.1 | 1007 | 30.26 | 52.12 | 39.8 | 0.03 | 21.89 | 9.54
LFG49 | 2023-07-05 | 13.55 | 0 | 0.1 | 21.3 | 78.6 | 0 |  |  | 1007 | 31.26 | 53.12 | 39.6 | 0.03 | 21.89 | 8.34
LFG50 | 2023-07-05 | 13.5 | 46.9 | 6 | 1.2 | 45.9 | 1 | -0.05 | 0.1 | 1007 | 32.26 | 54.12 | 40.65 | 0.03 | 21.89 | 8.39
LFG51 | 2023-07-05 | 13.93 | 10.8 | 11.6 | 1.7 | 76 | 1 | 1.86 | 0.3 | 1007 | 33.26 | 55.12 | 41.22 | 0.03 | 21.89 | 7.96
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
[5] The headworks to the leachate wells have been replaced during quarter 3. The datum levels will be updated following a survery of the new headworks.
Signed …Guy Titman |  |  |  |  | Date…26/10/2023
(Authorised to sign as representative of Operator)

## August 2023
Permit Number: |  |  |  | TP3835LV |  |  | Operator: |  | SI Green UK Limited |  |  |  | Test method & uncertainty
Installation: |  |  |  | Cwmrhydyceirw Quarry | [8 empty] | Portable infra-red analyser. Uncertainty is the accuracy of the meter.
Schedule 4 - Emissions and monitoring | [6 empty] | Tables S4.1 & S4.6 and Tables 2a, 3a & 4a from the Updated Management Report updated on 25 May 2023
Reporting of leachate levels, groundwater levels and landfill gases for the period from | [6 empty] | Quarter 3 | 01 July - 30 September |  |  |  | 2023
Cwmrhydyceirw Quarry: Site Monitoring August 2023
Borehole | Date Taken | Water Level (m) | CH4 | CO2 | O2 | Balance | CO (ppm) | Gas Pressure | Internal flow (l/h) | Barom Press | Bottom Bor Lev | Ground Lev (mAOD) | Wat Lev (mAOD) | Boreh on surf. (m) | Boreh Bottom (m) | Water Column (m)
Emission Limit Value |  |  | no limit set | no limit set | no limit set |  | no limit set | [9 empty] | GAS IN WASTE
L1C/09R | 2023-08-16 | 12.77 | 0 | 0 | 20.6 | 79.4 | 2 |  |  | 1018 | 35.45 | 46.5 | 34.22 | 0.49 | 11.54 | -1.23
L3/09R | 2023-08-16 | 10.5 | 0 | 0.1 | 19.9 | 80 | 0 |  |  | 1018 | 36.62 | 46.34 | 37.24 | 1.4 | 11.12 | 0.62
L6/09R | 2023-08-16 | 11.23 | 0 | 0.2 | 19.3 | 80.6 | 0 |  |  | 1018 | 34.02 | 46.83 | 36.52 | 0.92 | 13.73 | 2.5
L9B/09 | 2023-08-16 | 10.36 | 0.8 | 1.5 | 18.6 | 76.2 | 2 |  |  | 1018 | 36.32 | 46.51 | 37.3 | 1.15 | 11.34 | 0.98
L11/09R | 2023-08-16 | 11.28 | 5.8 | 0.3 | 16.4 | 77.2 | 433 |  |  | 1018 | 33.46 | 47.12 | 36.6 | 0.76 | 14.42 | 3.14
L13/09R | 2023-08-16 | 7.43 | 0 | 0 | 20 | 79.8 | 1 |  |  | 1018 | 40.95 | 46.98 | 40.32 | 0.77 | 6.8 | -0.63
L16/09R | 2023-08-16 | 8.03 | 41.1 | 13.4 | 3.7 | 45.8 | 13 |  |  | 1018 | 35.31 | 46.9 | 39.6 | 0.73 | 12.32 | 4.29
L19/09R | 2023-08-16 | 7.79 | 5.9 | 0 | 10.1 | 84.9 | 9 |  |  | 1018 | 41.93 | 47.18 | 40.08 | 0.69 | 5.94 | -1.85
L21/09R | 2023-08-16 | 8.97 | 0 | 0 | 21 | 79 | 1 |  |  | 1018 | 33.98 | 43.84 | 36.15 | 1.28 | 11.14 | 2.17
L23/09R | 2023-08-16 | 11.3 | 10.5 | 3.6 | 10.1 | 77 | 3 |  |  | 1018 | 34.74 | 45.85 | 34.84 | 0.29 | 11.4 | 0.1
L26/09R | 2023-08-16 | 9.27 | 0 | 0 | 21 | 79 | 1 |  |  | 1018 | 36.64 | 43.33 | 34.88 | 0.82 | 7.51 | -1.76
L1/20 | 2023-08-16 | 9.28 | 0 | 0 | 21 | 79 | 1 |  |  | 1018 | 34.29 | 43.21 | 35.32 | 1.39 | 10.31 | 1.03
L2/20R |  |  | Missing | [7 empty] | 36.81 | 41.51 | 42.81 | 1.3 | 6 | 6
L3/20 | 2023-08-16 | 12.2 | 0 | 0 | 20 | 80 | 1 |  |  | 1018 | 34.54 | 47.4 | 36.61 | 1.41 | 14.27 | 2.07
L4/20 | 2023-08-16 | 8.57 | 0 | 0 | 20.9 | 79.1 | 1 |  |  | 1018 | 33.63 | 43.32 | 36.15 | 1.4 | 11.09 | 2.52
L5/20 | 2023-08-16 | 9.72 | 13.1 | 0.2 | 10.2 | 76.7 | 11 |  |  | 1018 | 40.05 | 47.73 | 39.36 | 1.35 | 9.03 | -0.69
L6/20 | 2023-08-16 | 9.88 | 0 | 0.1 | 20.6 | 79.3 | 1 |  |  | 1018 | 33.07 | 44.73 | 36.21 | 1.36 | 13.02 | 3.14
L7/20 | 2023-08-16 | dry | 0 | 0 | 20.1 | 80 | 1 |  |  | 1018 | 42.75 | 47.34 |  | 1.45 | 6.04
L8/20 | 2023-08-16 | 10.21 | 0 | 0 | 20.7 | 79.3 | 1 |  |  | 1018 | 34.04 | 44.94 | 36.01 | 1.28 | 12.18 | 1.97
L9/20R | 2023-08-16 | 9.24 | 0 | 0.1 | 19.9 | 80 | 0 |  |  | 1018 | 35.86 | 45.57 | 37.73 | 1.4 | 11.11 | 1.87
L27/23 | 2023-08-16 | 6.77 | 0 | 0 | 20 | 80.2 | 1 |  |  | 1018
L28/23 | 2023-08-16 | 12.38 | 0 | 0 | 20 | 79.9 | 0 |  |  | 1018
L29/23 | 2023-08-16 | 10.43 | 1 | 0.7 | 19.3 | 79.8 | 10 |  |  | 1018
L30/23 | 2023-08-16 | 6.84 | 0.1 | 0.1 | 19.7 | 80.1 | 0 |  |  | 1018
L31/23 | 2023-08-16 | 8.42 | 0 | 0 | 20.1 | 80.2 | 0 |  |  | 1018
CWMLS02 |  |  | Not monitored
Emission Limit Value |  |  | 1.5% vol. | no limit set | no limit set |  | no limit set | [9 empty] | GAS EXTERNAL WASTE
LFG2R | 2023-08-16 | 5.35 | 0 | 0.7 | 17.3 | 82.2 | 3 | 0.05 | 0.2 | 1018 | 32.06 | 56.4 | 51.5 | 0.45 | 24.79 | 19.44
LFG3 | 2023-08-16 | 8.42 | 0 | 0.1 | 20.2 | 79.7 | 0 | -0.02 | 0.1 | 1018 | 33.265 | 56.595 | 48.625 | 0.45 | 23.78 | 15.36
LFG4 | 2023-08-16 | 5.02 | 0.1 | 1.7 | 18.4 | 79.8 | 2 | -0.09 | 0.1 | 1018 | -6.01 |  | -4.47 | 0.55 | 6.56 | 1.54
LFG5 | 2023-08-16 | 25.23 | 0 | 3.3 | 11.4 | 85.4 | 3 | 0.05 | 0.2 | 1018 | 31.66 | 61.93 | 37.1 | 0.4 | 30.67 | 5.44
LFG6 | 2023-08-16 | 4.82 | 0 | 0.1 | 20.8 | 79.1 | 1 | -0.12 | 0.2 | 1018 | 34.37 | 62.41 | 57.69 | 0.1 | 28.14 | 23.32
LFG7BG | 2023-08-16 | 6.32 | 0.3 | 3.9 | 5.8 | 90 | 4 | 0.12 | 0.2 | 1018 | 51.76 | 62.07 | 56.22 | 0.47 | 10.78 | 4.46
LFG8 | 2023-08-16 | 25.77 | 0 | 0.2 | 20.5 | 79.3 | 1 | 0.16 | 0.3 | 1018 | 31.69 | 62.32 | 37.05 | 0.5 | 31.13 | 5.36
LFG9 | 2023-08-16 | dry | 0 | 0.8 | 18.2 | 81 | 1 | 0.05 | 0.1 | 1018 | 32.66 | 62.21 |  | 0.47 | 30.02
LFG10 | 2023-08-16 | 18.1 | 0 | 0.2 | 21.5 | 78.3 | 1 | -1.4 | 0.2 | 1018 | 32.55 | 62.39 | 44.74 | 0.45 | 30.29 | 12.19
LFG11 | 2023-08-16 | 15.17 | 0 | 0.6 | 19.9 | 79.5 | 1 | 0.12 | 0.2 | 1018 | 35.14 | 64.07 | 49.3 | 0.4 | 29.33 | 14.16
LFG11A | 2023-08-16 | 16.04 | 0 | 0 | 22 | 78 | 1 | -0.79 | 0.2 | 1018 | 33.72 | 63.14 | 47.6 | 0.5 | 29.92 | 13.88
LFG12BG | 2023-08-16 | 14.61 | 0 | 0 | 22.1 | 77.9 | 1 |  |  | 1018 | 33.94 | 64.61 | 50.45 | 0.45 | 31.12 | 16.51
LFG13 | 2023-08-16 | 13.93 | 0 | 0 | 21.9 | 78.3 | 1 |  |  | 1018 | 33.55 | 65.21 | 51.78 | 0.5 | 32.16 | 18.23
LFG17 | 2023-08-16 | 26.6 | 0.4 | 0.4 | 18.9 | 80.4 | 1 | 0.04 | 0.2 | 1018 | 28.07 | 67.44 | 41.25 | 0.41 | 39.78 | 13.18
LFG18R | 2023-08-17 | 28.76 | 0 | 0.2 | 20.7 | 79.1 | 0 | 0.26 |  | 1010 | 33.84 | 69.66 | 40.9 | 0 | 35.82 | 7.06
LFG19 | 2023-08-17 | 28.96 | 0 | 0.45 | 18.425 | 81 | 0.125 | 0.0175 | 0.15 | 1010 | 29.62 | 69.7 | 41.06 | 0.32 | 40.4 | 11.44
LFG20 | 2023-08-16 | 26.75 | 0 | 2 | 10.1 | 88.4 | 3 | -0.07 | 0.2 | 1018 | 30.25 | 69.95 | 43.53 | 0.33 | 40.03 | 13.28
LFG21BG | 2023-08-16 | 6.44 | 0 | 0.1 | 21.2 | 78.7 | 1 |  |  | 1018 | 31.89 | 75.46 | 69.62 | 0.6 | 44.17 | 37.73
LFG22 | 2023-08-16 | 26.41 | 0 | 0.1 | 20.4 | 79.5 | 0 | 0.11 | 0.2 | 1018 | 29.22 | 69.2 | 43.24 | 0.45 | 40.43 | 14.02
LFG23R |  |  | Not monitored
LFG24 | 2023-08-16 | 7.74 | 0 | 2.4 | 15.8 | 81.8 | 2 |  |  | 1018 | 30.67 | 73.28 | 65.87 | 0.33 | 42.94 | 35.2
LFG24R-A | 2023-08-16 | dry | 0 | 2.1 | 16.4 | 81.5 | 1 | 0.09 | 0.1 | 1018 |  | 2.14
LFG24R-B | 2023-08-16 | 4.99 | 0 | 2.1 | 17.4 | 80.5 | 7 | 0.39 | 0.2 | 1018
LFG25 | 2023-08-16 | 9.89 | 0 | 0.1 | 21.2 | 78.8 | 1 |  |  | 1018 | 30.07 | 71.5 | 61.92 | 0.31 | 41.74 | 31.85
LFG25R-A | 2023-08-16 | 1.45 | 0 | 4.4 | 13 | 82.6 | 3 | 0.31 | 0.2 | 1018
LFG25R-B | 2023-08-16 | 4.87 | 0.6 | 13.1 | 0.4 | 86 | 4 | -0.14 | 0.1 | 1018
LFG26 | 2023-08-16 | 17.39 | 0 | 1.9 | 19.5 | 78.6 | 1 | -0.05 | 0.1 | 1018 | 40.48 | 69.51 | 52.42 | 0.3 | 29.33 | 11.94
LFG26R-A | 2023-08-16 | 2.24 | 4.3 | 6.2 | 0.3 | 89.4 | 9 | 0.19 | 0.3 | 1018 |  | 2.15
LFG26R-B | 2023-08-16 | 2.01 | 0.1 | 0.5 | 19.9 | 79.5 | 1 | 0.12 | 0.2 | 1018
LFG27 |  |  | Not monitored
LFG27R-A | 2023-08-17 | 4.3 | 0 | 0.2 | 19.7 | 80 | 2 |  |  | 1010 | 32.62 | 67.84 | 63.79 | 0.25 | 35.47 | 31.17
LFG27R-B | 2023-08-17 | 4.57 | 0 | 0 | 20.9 | 79 | 3 |  |  | 1010 | 32.62 | 67.84 | 63.52 | 0.25 | 35.47 | 30.9
LFG35R | 2023-08-16 | 20.26 | 0 | 0 | 21.5 | 78.5 | 1 | 0.02 | 0.2 | 1018 | 29.64 | 61.6 | 41.84 | 0.5 | 32.46 | 12.2
LFG39 | 2023-08-16 | 12.98 | 0 | 0.1 | 19.6 | 80.3 | 0 | 0.02 | 0.1 | 1018 | 28.65 | 44.57 | 32.12 | 0.53 | 16.45 | 3.47
LFG40 | 2023-08-16 | 11.86 | 0 | 0.1 | 20.5 | 79.4 | 0 |  |  | 1018 | 31.87 | 45.07 | 33.67 | 0.46 | 13.66 | 1.8
LFG41 | 2023-08-16 | 11.16 | 0 | 6.1 | 11.1 | 82.8 | 0 | 26.54 | 0.1 | 1018 | 30.26 | 45.06 | 34.44 | 0.54 | 15.34 | 4.18
LFG42 | 2023-08-16 | 7.41 | 0 | 0.5 | 12.3 | 87.2 | 0 | 0.02 | 0.2 | 1018 | 29.72 | 45.65 | 38.71 | 0.47 | 16.4 | 8.99
LFG43R | 2023-08-17 | 17.33 | 0 | 0.1 | 20.9 | 79 | 1 | -0.9 | 0.3 | 1010 | 30.34 | 66.62 | 49.75 | 0.46 | 36.74 | 19.41
LFG44R | 2023-08-17 | 29.46 | 0 | 0.4 | 20.7 | 78.9 | 0 | 0.67 | 0.1 | 1010 | 31.4 | 64.76 | 35.67 | 0.37 | 33.73 | 4.27
LFG45 | 2023-08-16 | 14.67 | 0 | 0 | 21.5 | 78.5 | 1 | 0.05 | 0.2 | 1018 | 30.2 | 61.52 | 47.16 | 0.31 | 31.63 | 16.96
LFG46R | 2023-08-16 | 28.43 | 0 | 0 | 21.2 | 79.7 | 0 | -0.6 | 0.1 | 1018 | 29.83 | 62.54 | 34.54 | 0.43 | 33.14 | 4.71
LFG47R | 2023-08-16 | 22.31 | 0 | 0.9 | 20.2 | 78.9 | 2 | -2.07 | 0.1 | 1018 | 31.16 | 63.28 | 41.36 | 0.39 | 32.51 | 10.2
LFG48R | 2023-08-16 | 21.06 | 0 | 0.5 | 20.4 | 79.1 | 2 | 0.04 | 0.2 | 1018 | 30.26 | 52.12 | 31.09 | 0.03 | 21.89 | 0.83
LFG49 | 2023-08-16 | 12.68 | 0 | 1.9 | 17.9 | 80.2 | 0 | -0.21 | 0.1 | 1018 | 31.26 | 53.12 | 40.47 | 0.03 | 21.89 | 9.21
LFG50 | 2023-08-16 | 12.43 | 53.9 | 6.3 | 0.8 | 39.1 | 1 | -0.91 | 0.2 | 1018 | 32.26 | 54.12 | 41.72 | 0.03 | 21.89 | 9.46
LFG51 | 2023-08-16 | 12.17 | 38.5 | 6.7 | 0.9 | 54 | 1 | 0.4 | 0.2 | 1018 | 33.26 | 55.12 | 42.98 | 0.03 | 21.89 | 9.72
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
[5] The headworks to the leachate wells have been replaced during quarter 3. The datum levels will be updated following a survery of the new headworks.
Signed …Guy Titman |  |  |  |  | Date…26/10/2023
(Authorised to sign as representative of Operator)

## September 2023
Permit Number: |  |  |  | TP3835LV |  |  | Operator: |  | SI Green UK Limited |  |  |  | Test method & uncertainty
Installation: |  |  |  | Cwmrhydyceirw Quarry | [8 empty] | Portable infra-red analyser. Uncertainty is the accuracy of the meter.
Schedule 4 - Emissions and monitoring | [6 empty] | Tables S4.1 & S4.6 and Tables 2a, 3a & 4a from the Updated Management Report updated on 25 May 2023
Reporting of leachate levels, groundwater levels and landfill gases for the period from | [6 empty] | Quarter 3 | 01 July - 30 September |  |  |  | 2023
Cwmrhydyceirw Quarry: Site Monitoring September
Borehole | Date Taken | Water Level (m) | CH4 | CO2 | O2 | Balance | CO (ppm) | Gas Pressure | Internal flow (l/h) | Barom Press | Bottom Bor Lev | Ground Lev (mAOD) | Wat Lev (mAOD) | Boreh on surf. (m) | Boreh Bottom (m) | Water Column (m)
Emission Limit Value |  |  | no limit set | no limit set | no limit set |  | no limit set | [9 empty] | GAS IN WASTE
L1C/09R | 2023-09-18 | 11.75 | 0.1 | 0.1 | 21.7 | 78.2 | 0 |  |  | 997 | 35.45 | 46.5 | 35.24 | 0.49 | 11.54 | -0.21
L3/09R | 2023-09-25 | 1.5 | 0 | 0 | 21.3 | 78.6 | 0 |  |  | 1010 | 36.62 | 46.34 | 46.24 | 1.4 | 11.12 | 9.62
L6/09R | 2023-09-25 | 12.68 | 0 | 0 | 21.4 | 78.6 | 0 |  |  | 1010 | 34.02 | 46.83 | 35.07 | 0.92 | 13.73 | 1.05
L9B/09 | 2023-09-18 | 5.65 | 0.3 | 0.2 | 21.4 | 78 | 0 |  |  | 997 | 36.32 | 46.51 | 42.01 | 1.15 | 11.34 | 5.69
L11/09R | 2023-09-25 | 12.22 | 16.1 | 0.5 | 16 | 73.4 | 6 |  |  | 1010 | 33.46 | 47.12 | 35.66 | 0.76 | 14.42 | 2.2
L13/09R | 2023-09-25 | 7.51 | 0 | 0.1 | 20.5 | 79.4 | 0 |  |  | 1010 | 40.95 | 46.98 | 40.24 | 0.77 | 6.8 | -0.71
L16/09R | 2023-09-25 | 9.92 | 26.1 | 5.8 | 13.7 | 60.1 | 4 |  |  | 1010 | 35.31 | 46.9 | 37.71 | 0.73 | 12.32 | 2.4
L19/09R | 2023-09-25 | 7.67 | 0.1 | 0 | 21.4 | 78.4 | 0 |  |  | 1010 | 41.93 | 47.18 | 40.2 | 0.69 | 5.94 | -1.73
L21/09R | 2023-09-25 | 1.52 | 0 | 0 | 21.6 | 78.3 | 0 |  |  | 1010 | 33.98 | 43.84 | 43.6 | 1.28 | 11.14 | 9.62
L23/09R | 2023-09-25 | 1.63 | 0 | 0 | 21.7 | 78.3 | 0 |  |  | 1010 | 34.74 | 45.85 | 44.51 | 0.29 | 11.4 | 9.77
L26/09R | 2023-09-25 | 10.46 | 0.2 | 0.1 | 21.5 | 78.2 | 0 |  |  | 1010 | 36.64 | 43.33 | 33.69 | 0.82 | 7.51 | -2.95
L1/20 | 2023-09-25 | 1.53 | 0 | 0 | 21.6 | 78.3 | 0 |  |  | 1010 | 34.29 | 43.21 | 43.07 | 1.39 | 10.31 | 8.78
L2/20R | 2023-09-25 | 7.46 | 0 | 0 | 21.7 | 78.3 | 0 |  |  | 1010 | 36.81 | 41.51 | 35.35 | 1.3 | 6 | -1.46
L3/20 | 2023-09-25 | 12.35 | 0 | 0 | 21.7 | 78.3 | 0 |  |  | 1010 | 34.54 | 47.4 | 36.46 | 1.41 | 14.27 | 1.92
L4/20 | 2023-09-18 | 8.78 | 0 | 0 | 21.5 | 78.4 | 0 |  |  | 997 | 33.63 | 43.32 | 35.94 | 1.4 | 11.09 | 2.31
L5/20 | 2023-09-25 | 9.57 | 10.1 | 0 | 16.4 | 73.4 | 1 |  |  | 1010 | 40.05 | 47.73 | 39.51 | 1.35 | 9.03 | -0.54
L6/20 | 2023-09-18 | 9.93 | 0 | 0 | 21.6 | 78.3 | 0 |  |  | 997 | 33.07 | 44.73 | 36.16 | 1.36 | 13.02 | 3.09
L7/20 | 2023-09-25 | 5.1 | 2.5 | 0.3 | 16.4 | 81.2 | 4 |  |  | 1010 | 42.75 | 47.34 | 43.69 | 1.45 | 6.04 | 0.94
L8/20 | 2023-09-18 | 10.41 | 0 | 0.2 | 19 | 80.1 | 0 |  |  | 997 | 34.04 | 44.94 | 35.81 | 1.28 | 12.18 | 1.77
L9/20R | 2023-09-18 | 10.28 | 0 | 0.1 | 21.5 | 78.4 | 0 |  |  | 997 | 35.86 | 45.57 | 36.69 | 1.4 | 11.11 | 0.83
L27/23 | 2023-09-25 | 1.8 | 0 | 0 | 21.5 | 78.5 | 0 |  |  | 1010
L28/23 | 2023-09-18 | 1.37 | 0 | 0.1 | 21.4 | 78.5 | 0 |  |  | 997
L29/23 | 2023-09-25 | 1.96 | 0 | 0 | 21.4 | 78.6 | 0 |  |  | 1010
L30/23 | 2023-09-25 | 1.82 | 5.4 | 3.2 | 18.8 | 74.3 | 2 |  |  | 1010
L31/23 | 2023-09-18 | 9.37 | 0 | 0.1 | 21.4 | 78.4 | 0 |  |  | 997
CWMLS02 |  |  | Not monitored
Emission Limit Value |  |  | 1.5% vol. | no limit set | no limit set |  | no limit set | [9 empty] | GAS EXTERNAL WASTE
LFG2R | 2023-09-25 | 4.81 | 0 | 0.5 | 20 | 79.4 | 0 | 0.04 | 0.1 | 1010 | 32.06 | 56.4 | 52.04 | 0.45 | 24.79 | 19.98
LFG3 | 2023-09-25 | 8.6 | 0 | 0.9 | 20.6 | 78.4 | 0 | 0.09 | 0.2 | 1010 | 33.265 | 56.595 | 48.445 | 0.45 | 23.78 | 15.18
LFG4 | 2023-09-25 | 4.9 | 0 | 3.2 | 18.3 | 78.6 | 0 | 0.01 | 0.1 | 1010 | -6.01 |  | -4.35 | 0.55 | 6.56 | 1.66
LFG5 | 2023-09-25 | 13.46 | 0 | 1.4 | 17.6 | 81 | 0 | 0.12 | 0.1 | 1010 | 31.66 | 61.93 | 48.87 | 0.4 | 30.67 | 17.21
LFG6 | 2023-09-25 | 4.13 | 0 | 0.9 | 19.3 | 79.7 | 0 | 0.01 | 0.3 | 1010 | 34.37 | 62.41 | 58.38 | 0.1 | 28.14 | 24.01
LFG7BG | 2023-09-25 | 5.76 | 0.2 | 2 | 16.8 | 80.9 | 0 | 0.14 | 0.2 | 1010 | 51.76 | 62.07 | 56.78 | 0.47 | 10.78 | 5.02
LFG8 | 2023-09-25 | 25.99 | 0 | 0.2 | 20.5 | 79.2 | 0 | 0.12 | 0.2 | 1010 | 31.69 | 62.32 | 36.83 | 0.5 | 31.13 | 5.14
LFG9 | 2023-09-25 | 15.73 | 0 | 0.1 | 21.3 | 78.6 | 0 | -0.04 | 0.4 | 1010 | 32.66 | 62.21 | 46.95 | 0.47 | 30.02 | 14.29
LFG10 | 2023-09-25 | 17.85 | 0 | 0.1 | 20.8 | 79 | 0 | 0.12 | 0.3 | 1010 | 32.55 | 62.39 | 44.99 | 0.45 | 30.29 | 12.44
LFG11 | 2023-09-25 | 13.14 | 0 | 0.5 | 20.1 | 79.4 | 0 | -0.02 | 0.2 | 1010 | 35.14 | 64.07 | 51.33 | 0.4 | 29.33 | 16.19
LFG11A | 2023-09-25 | 15.08 | 0 | 0.8 | 18.6 | 80.7 | 0 |  |  | 1010 | 33.72 | 63.14 | 48.56 | 0.5 | 29.92 | 14.84
LFG12BG | 2023-09-25 | 13.44 | 0 | 0.1 | 21 | 78.9 | 0 |  |  | 1010 | 33.94 | 64.61 | 51.62 | 0.45 | 31.12 | 17.68
LFG13 | 2023-09-25 | 16.84 | 0 | 0.2 | 20.5 | 79 | 0 |  |  | 1010 | 33.55 | 65.21 | 48.87 | 0.5 | 32.16 | 15.32
LFG17 | 2023-09-25 | 26.53 | 0.2 | 0.3 | 19.9 | 79.6 | 0 | 0.04 | 0.2 | 1010 | 28.07 | 67.44 | 41.32 | 0.41 | 39.78 | 13.25
LFG18R | 2023-09-25 | 25.22 | 0 | 0.1 | 21 | 78.8 | 0 | -1.46 | 0.2 | 1010 | 33.84 | 69.66 | 44.44 | 0 | 35.82 | 10.6
LFG19 |  |  | Flooded | [7 empty] | 29.62 | 69.7 | 70.02 | 0.32 | 40.4 | 40.4
LFG20 | 2023-09-25 | 26.37 | 0 | 0.8 | 17.8 | 81.4 | 0 |  |  | 1010 | 30.25 | 69.95 | 43.91 | 0.33 | 40.03 | 13.66
LFG21BG | 2023-09-18 | 4.85 | 0.1 | 0.1 | 22.1 | 77.7 | 0 |  |  | 997 | 31.89 | 75.46 | 71.21 | 0.6 | 44.17 | 39.32
LFG22 | 2023-09-25 | 25.25 | 0 | 0.1 | 21.4 | 78.4 | 0 | 0.02 | 0.3 | 1010 | 29.22 | 69.2 | 44.4 | 0.45 | 40.43 | 15.18
LFG23R |  |  | Not monitored
LFG24 | 2023-09-18 | 7.22 | 0 | 0.1 | 21.9 | 77.9 | 0 | - | - | 997 | 30.67 | 73.28 | 66.39 | 0.33 | 42.94 | 35.72
LFG24R-A | 2023-09-18 | 1.75 | 0.1 | 1.1 | 21 | 77.9 | 0 | 0.02 | 0.2 | 997 |  | 2.14
LFG24R-B | 2023-09-18 | 4.91 | 0.1 | 2.2 | 18.8 | 78.9 | 0 | -0.12 | 0.1 | 997
LFG25 | 2023-09-18 | 7.4 | 0 | 0.1 | 21.9 | 78 | 0 | - | - | 997 | 30.07 | 71.5 | 64.41 | 0.31 | 41.74 | 34.34
LFG25R-A | 2023-09-18 | 1.03 | 0 | 4.7 | 15.2 | 80.96 | 10 | -0.12 | 0.2 | 997
LFG25R-B | 2023-09-18 | 4.76 | 1 | 15.5 | 0.6 | 82.9 | 3 | 0.04 | 0.2 | 997
LFG26 | 2023-09-18 | 16.87 | 0.3 | 20.5 | 10.4 | 84.3 | 0 | 0.14 | 0.2 | 997 | 40.48 | 69.51 | 52.94 | 0.3 | 29.33 | 12.46
LFG26R-A | 2023-09-18 | 1.67 | 1.7 | 6 | 0.2 | 92 | 1 | 0.12 | 0.2 | 997 |  | 2.15
LFG26R-B | 2023-09-18 | 1.95 | 0.1 | 1.4 | 19.9 | 78.7 | 0 | 0.04 | 0.2 | 997
LFG27 |  |  | Not monitored
LFG27R-A | 2023-09-18 | 3.3 | 0 | 0.4 | 17.5 | 81.6 | 0 |  |  | 997 | 32.62 | 67.84 | 64.79 | 0.25 | 35.47 | 32.17
LFG27R-B | 2023-09-18 | 4.87 | 0 | 2.5 | 17.6 | 79.4 | 1 |  |  | 997 | 32.62 | 67.84 | 63.22 | 0.25 | 35.47 | 30.6
LFG35R | 2023-09-18 | 20.67 | 0 | 0.2 | 21.8 | 78 | 0 | -0.19 | 0.2 | 997 | 29.64 | 61.6 | 41.43 | 0.5 | 32.46 | 11.79
LFG39 | 2023-09-18 | 13.45 | 0.1 | 0 | 18.2 | 81.6 | 0 | 3.14 | 0.1 | 997 | 28.65 | 44.57 | 31.65 | 0.53 | 16.45 | 3
LFG40 | 2023-09-18 | 12.39 | 0.9 | 0 | 0.8 | 98.2 | 5 | 3.11 | 0.2 | 997 | 31.87 | 45.07 | 33.14 | 0.46 | 13.66 | 1.27
LFG41 | 2023-09-18 | 12.12 | 0 | 6.1 | 12 | 81.9 | 0 | 10.13 | 0.2 | 997 | 30.26 | 45.06 | 33.48 | 0.54 | 15.34 | 3.22
LFG42 | 2023-09-18 | 7.94 | 0.1 | 3.8 | 14.2 | 84.5 | 0 | 0.05 | 0.2 | 997 | 29.72 | 45.65 | 38.18 | 0.47 | 16.4 | 8.46
LFG43R | 2023-09-18 | 17.61 | 0 | 5.3 | 7.7 | 87.9 | 0 | 0.35 | 0.3 | 997 | 30.34 | 66.62 | 49.47 | 0.46 | 36.74 | 19.13
LFG44R | 2023-09-18 | 30.35 | 0 | 10.6 | 3.1 | 87.2 | 0 | 0.02 | 0.1 | 997 | 31.4 | 64.76 | 34.78 | 0.37 | 33.73 | 3.38
LFG45 | 2023-09-18 | 11.06 | 0.1 | 0 | 22 | 77.8 | 0 | 3.44 | 0.2 | 997 | 30.2 | 61.52 | 50.77 | 0.31 | 31.63 | 20.57
LFG46R | 2023-09-18 | 22.37 | 0 | 0.1 | 21.7 | 77.9 | 0 | -3.354 | 0.1 | 997 | 29.83 | 62.54 | 40.6 | 0.43 | 33.14 | 10.77
LFG47R | 2023-09-18 | 27.49 | 0 | 7.6 | 8.8 | 86.3 | 0 | -0.03 | 0.1 | 997 | 31.16 | 63.28 | 36.18 | 0.39 | 32.51 | 5.02
LFG48R | 2023-09-18 | 21.22 | 0 | 0 | 21.8 | 78.1 | 0 | -4.22 | 0.3 | 997 | 30.26 | 52.12 | 30.93 | 0.03 | 21.89 | 0.67
LFG49 | 2023-09-18 | 13.16 | 0 | 3.9 | 15.5 | 80.4 | 0 | -2.14 | 0.2 | 997 | 31.26 | 53.12 | 39.99 | 0.03 | 21.89 | 8.73
LFG50 | 2023-09-18 | 12.94 | 56.3 | 6.5 | 1.8 | 38.1 | 0 | -2.72 | 0.3 | 997 | 32.26 | 54.12 | 41.21 | 0.03 | 21.89 | 8.95
LFG51 | 2023-09-18 | 12.72 | 32.2 | 0.1 | 16.3 | 55.85 | 0 | 0.65 | 0.2 | 997 | 33.26 | 55.12 | 42.43 | 0.03 | 21.89 | 9.17
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
[5] The headworks to the leachate wells have been replaced during quarter 3. The datum levels will be updated following a survery of the new headworks.
Signed …Guy Titman |  |  |  |  | Date…26/10/2023
(Authorised to sign as representative of Operator)