## Groundwater - QTR 3
Permit Number: | TP3835LV
Operator: | SI Green UK Limited
Installation: | Cwmrhydyceirw Quarry
Schedule 4 - Emissions and monitoring
Tables S4.5 & S4.11 and Table 4a from the Updated Management Report updated on 25 May 2023
Reporting of emissions to groundwater for the period from
01 July - 30 September | Quarter 3 | 2023
Groundwater monitoring borehole |  |  | CWMGW03R | CWMGW04 | CWMGW08R | CWMGW09 | CWMGW10 | CWMGW11 | CWMGW12 | LFG2R | LFG6 | LFG9 | LFG12BG
Monthly |  | Units
Water level | July | mAOD | 9.43 | 25.12 | 20.02 | 27.26 | - | 39.83 | 34.72 | 11.27 | 10.27 | 28.17 | 14.73
Water level | August | mAOD | 9.61 | 24.53 | 22.29 | 26.69 | - | 35.15 | 34.93 | 5.35 | 4.82 | dry | 14.61
Water level | September | mAOD | 5.37 | 24.74 | 22.38 | 26.37 | - | 35.24 | 34.84 | 4.81 | 4.13 | dry | 13.44
Sample collection date |  |  | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05
Analyte | Emission limit value | Units
Quarterly |  |  | 2023-07-05 | 2023-07-05 |  | 2023-07-05 |  | 2023-07-05 | 2023-07-05 | 2023-07-05 | 2023-07-05
pH | >6 - <9 | pH units | 8.5 | 8 | No sample collected | 7.5 | No sample collected | 7.8 | 7.7 | 8.4 | 7.5 | No sample collected | No sample collected
Ammoniacal Nitrogen as N | 393 | mg/l | 0.023 | 0.023 | No sample collected | 0.023 | No sample collected | 0.008 | 0.039 | 0.023 | <0.008 | No sample collected | No sample collected
Chloride as Cl | 11900 | mg/l | 22.8 | 30.2 | No sample collected | 19.6 | No sample collected | 39.4 | 29.3 | 15.6 | 26.7 | No sample collected | No sample collected
Dissolved Oxygen, Fixed | not set | mg/l | 8.6 | 8.3 | No sample collected | 7.6 | No sample collected | 8.3 | 5.6 | 5.5 | 8.3 | No sample collected | No sample collected
Conductivity- Electrical 20C | not set | uS/cm | 647 | 531 | No sample collected | 509 | No sample collected | 731 | 508 | 424 | 369 | No sample collected | No sample collected
Nickel , Total as Ni | 2600 | ug/l | 1.7 | 4.7 | No sample collected | 2.1 | No sample collected | <1.5 | 2.3 | <1.5 | 2 | No sample collected | No sample collected
Cadmium , Total as Cd | 75 | ug/l | 0.13 | <0.11 | No sample collected | <0.11 | No sample collected | <0.11 | <0.11 | <0.11 | <0.11 | No sample collected | No sample collected
Copper , Total as Cu | not set | ug/l | 30.7 | 28.2 | No sample collected | 32.4 | No sample collected | 22.7 | 26.2 | 26.4 | 25.1 | No sample collected | No sample collected
Alkalinity as CaCO3 | not set | mg/l | 330 | 271 | No sample collected | 281 | No sample collected | 279 | 221 | 158 | 158 | No sample collected | No sample collected
Manganese , Total as Mn | not set | ug/l | 22.7 | 1806 | No sample collected | 44.1 | No sample collected | 5 | 233 | 7.2 | 166 | No sample collected | No sample collected
Iron, Total as Fe | not set | ug/l | 110 | 313 | No sample collected | 23.7 | No sample collected | 23.1 | 18.9 | 43.5 | 548 | No sample collected | No sample collected
Zinc , Total as Zn | not set | ug/l | 25 | 22.4 | No sample collected | 25 | No sample collected | 11.4 | 19.2 | 11.3 | 14.3 | No sample collected | No sample collected
Lead , Total as Pb | not set | ug/l | 4.3 | <4.1 | No sample collected | 8.9 | No sample collected | <4.1 | 5.1 | <4.1 | <4.1 | No sample collected | No sample collected
Chromium , Total as Cr | not set | ug/l | <1.0 | <1.0 | No sample collected | <1.0 | No sample collected | <1.0 | <1.0 | 1.5 | <1.0 | No sample collected | No sample collected
Six monthly
Sodium , Total as Na | not set | mg/l | 15.7 | 19.5 | No sample collected | 12.8 | No sample collected | 8.2 | 12.4 | 10.9 | 11.9 | No sample collected | No sample collected
Potassium , Total as K | not set | mg/l | 8.5 | 4.7 | No sample collected | 3.3 | No sample collected | <0.1 | 3 | 7 | 3 | No sample collected | No sample collected
TOC as C | not set | mg/l | 24.1 | 30.2 | No sample collected | 27.7 | No sample collected | 25.4 | 24.9 | 22.9 | 26.6 | No sample collected | No sample collected
Calcium , Total as Ca | not set | mg/l | 91.5 | 75.4 | No sample collected | 57.1 | No sample collected | 105 | 60.3 | 65.8 | 49 | No sample collected | No sample collected
Magnesium, Total as Mg | not set | mg/l | 23.2 | 15.3 | No sample collected | 25.6 | No sample collected | 25.8 | 20.1 | 7 | 9.2 | No sample collected | No sample collected
Sulphate as SO4 | not set | mg/l | 72.6 | 35.7 | No sample collected | 42.3 | No sample collected | 95.7 | 31.1 | 49.8 | 40.2 | No sample collected | No sample collected
Nitrogen, Total Oxidised as N | not set | mg/l | 1.41 | 1.13 | No sample collected | 0.08 | No sample collected | 0.1 | <0.07 | 3.31 | 0.4 | No sample collected | No sample collected
Mercury, Total as Hg | not set | ug/l | <0.05 | <0.05 | No sample collected | <0.05 | No sample collected | <0.05 | <0.05 | <0.05 | <0.05 | No sample collected | No sample collected
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
[5] Samples were not collected from boreholes CWMGW08R and LFG12BG due to issues with the waterra tubing. Investigations are ongoing.
[6] Samples were not collected from borehole CWMGW10 as the borehole has been covered by the housing developer. Remedial works will be carried out shortly.
[7] Samples were not collected from borehole LFG9 as there was insufficient water at the location to collect a sample.
Signed …Guy Titman………………………………..
Date…26/10/2023……………………..
(Authorised to sign as representative of Operator)