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	Consent no
	NRWWIA381

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166

CONSENT TO DISCHARGE
	
TO:	Dŵr Cymru Cyfyngedig 
	Linea 
	Fortran Road 	
	St Mellons 
	Cardiff 
	CF3 0LT  

	
The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:

De-chlorinated water 


	
FROM: TALYBONT WTW, CWT, COMPARTMENT 1, BRECON BEACONS, LD3 7YS

	

	
AT: NATIONAL GRID REFERENCE SO 10617 21065

	

	
TO: SMALL BROOK LEADING TO CAERFANELL RIVER

	

	
SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                      Schedule No. NRWWIA381

	

	

This consent is issued on the 5th day of February 2024
This consent takes effect on the 9th day of February 2024
This consent shall cease to have effect on the 14th day of March 2024

Signed: Emma Jones



	





CONDITIONS OF CONSENT TO DISCHARGE
DE-CHLORINATED WATER (“the Discharge”)


NATURE OF THE DISCHARGE

1.	The Discharge shall consist solely of de-chlorinated water 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Compartment 1, SRV, Talybont WTW

LOCATION OF DISCHARGE

3.	The location of the Discharge shall be at NGR SO 10617 21065, marked ‘Discharge’ on the site plan in Annex 1.

SAMPLE POINT

4.	A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 6,477 cubic metres.

6. The total daily volume of the Discharge shall not exceed 1,850 cubic metres.

7. The rate of the Discharge shall not exceed 21 litres per second.

COMPOSITION

8.	The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 
(a) 	mud and silt;
(b) 	solid, polluting, offensive or injurious substances; 
and
(c)	any substances prejudicial to fish or spawn, or to spawning beds or food of fish.





SCOURING

9.	The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 

FLOODING

10.	The discharge shall not cause or significantly contribute to flooding in the downstream catchment.

PERIOD OF DISCHARGE

11.	The Discharge shall only be made between 9th day of February 2024 and the 14th day of March 2024.


	CONSENT NO:
	NRWWIA381

	SCHEDULE NO:
	NRWWIA381

	DATE ISSUED:
	5th February 2024




Page 2 of 3

ANNEX 1- PLAN No. NRWWIA381
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