[image: image1.png]Environment
W Agency



creating a better place


	Mr J D Rees
Rogeston
Portfield Gate
Haverfordwest
SA62 3LH

	Our ref:     BN0210801/V001

Date:
      26/11/2011



Dear Sir or Madam
Notice of variation to change conditions of environmental permit for a groundwater activity

Permit reference: BN0210801/V001
Operator: Mr J D Rees
Facility: Rogeston
When the Environmental Permitting Regulations 2010 were enacted in April 2010, your existing discharge consent automatically became an environmental permit. 

The Regulations state that we must review all consents for discharges to groundwater in existence at the time the Regulations came in, to make sure we have the right conditions in place to protect the environment. 

I enclose a notice to show the changes we’ve made to your permit following our review. We refer to these changes as a variation. Please keep the notice in a safe place with your other permit records.

We haven’t changed the volume to be discharged, the discharge location and method of discharge. The only change you need to be aware of is a new requirement under the Environmental Permitting Regulations 2010 for you to manage and operate the activities according to a written management system. This is referred to under condition 1.1 of the permit; General management. A copy of a management system template can be found on our internet site at http://www.environment-agency.gov.uk/business/topics/pollution/113738.aspx
Your Environment Management System (EMS) must be proportionate to the size of your activities:

· If your permit covers just your household, then you should keep records of emergency contact numbers and records of maintenance including invoices for de-sludging and repairs. You must keep these records for 6 years and pass them on to the new owner if you move house. 

· If your permit covers multiple properties you should use the management system template, found via the link above, as the basis for the EMS. The EMS should be used  to demonstrate good practice in running the facility and include emergency contact numbers and maintenance. 

· For discharges of trade effluent or sewage effluent with a volume above 20 cubic metres per day the link above outlines what the EMS should include. 

If you have any questions about the above variation please email wqpermittingwales@environment-agency.gov.uk or phone 02920 466474.
The following options explain what you need to do if you need to make further changes to your permit.

Changing or giving up a permit

If you need to change your permit, pass it to someone else (transfer),  or give it up (surrender) please phone us for advice about what to do or look at our website:

http://www.environment-agency.gov.uk/business/topics/permitting/32318.aspx
If the permit has been passed to you to use but you’re not named on it you need to let us know.  

If you have any questions regarding transferring or surrendering your permit please email psc-waterquality@environment-agency.gov.uk or phone 01142 898 335.
Right of appeal 

If you’re not happy with any condition that we’ve included in this variation you may appeal to the Welsh Ministers. 
You must appeal within two months from the date of the notice. The Planning Inspectorate website has more information on how to appeal, or you can contact them at: 

The Planning Inspectorate, Crown Buildings, Cathays Park, Cardiff, CF10 3NQ. Phone 029 2082 3866 / 389, Fax: 029 2082 5150

Email: wales@pins.gsi.gov.uk
You must send written notice of the appeal and the documents listed below to the Welsh Ministers to the Planning Inspectorate address and a copy to us. 

The documents required for an appeal are:

· a statement of the grounds of appeal

· a copy of any relevant application

· a copy of any relevant environmental permit

· a copy of any relevant correspondence between you and us

· a copy of any decision notice which is the subject matter of the appeal

· a statement indicating whether you wish the appeal to be in the form of a hearing or dealt with by way of written representations.

Please send the copies for the Environment Agency to: 

Victoria Balmer, Appeals Coordinator, Environment Agency. National Permitting Service, Knutsford Road, Latchford, Warrington, WA4 1HG.

Phone: 01925 542456     Email: Victoria.balmer@environment-agency.gov.uk
You may withdraw an appeal by writing to the Welsh Ministers and sending a copy to us.

Yours faithfully

National Permitting Service

Notice of variation and consolidation with introductory note

Environmental Permitting (England & Wales) Regulations 2010

Mr J D Rees
Rogeston
Portfield Gate
Haverfordwest
Pembrokeshire
SA62 3LH
Variation application number

BN0210801/V001

Permit number

BN0210801
Rogeston
Permit number BN0210801
Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation of an environmental permit.

Following a review of the existing permit this variation notice changes the conditions to ensure compliance with the Environmental Permitting (England and Wales) Regulations 2010 (‘the Regulations’). There are no changes to the groundwater activity. 

Site plans attached to the permits when they were originally granted are to be deleted in this review exercise. Regulation 14(4) of the Regulations requires environmental permits to include a map, plan or other description of the site of the regulated facility showing its geographical extent. However, regulation 70(a) disapplies this requirement to discharge consents and authorisations (such as this) which became environmental permits on 6 April 2010, upon the introduction of the Regulations.  The original site plans do not show the boundary of the site. 
The schedules specify the changes made to the original permit. 

The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010
	Status log of the permit
	1
	1

	Description
	Date
	Comments

	Regulator initiated variation determined BN0210801/V001
	26/11/2011
	EPR and GWDD update


End of introductory note

_Notice of variation and consolidation_ 
Environmental Permitting (England and Wales) Regulations 2010

The Environment Agency in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2010 varies and consolidates
Permit number

BN0210801
issued to:
Mr J D Rees (“the operator”)

of
Rogeston
Portfield Gate
Haverfordwest
SA62 3LH
to operate a regulated facility at
Rogeston
Portfield Gate
Haverfordwest
Pembrokeshire
SA62 3LH
to the extent set out in the schedules.

The notice shall take effect from 26/11/2011
	Name
	Date

	Eleanor Smart
	26/11/2011


Authorised on behalf of the Environment Agency

Schedule 1 – conditions to be deleted
All conditions and site plans are deleted and replaced with new template conditions. 
Schedule 2 – conditions to be amended 

None.
Schedule 3 – conditions to be added

Please see attached new conditions.

Permit_________  
The Environmental Permitting (England and Wales) Regulations 2010

Permit number 

BN0210801
This is the consolidated permit referred to in the variation and consolidation notice for application BN0210801/V001 authorising, 

Mr J D Rees (“the operator”)

of
Rogeston
Portfield Gate
Haverfordwest
SA62 3LH
to operate a groundwater activity at

Rogeston
Portfield Gate
Haverfordwest
Pembrokeshire
SA62 3LH
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Eleanor Smart
	26/11/2011


Authorised on behalf of the Environment Agency
Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The discharge 
2.2.1
The discharge shall be made at the point listed in table S3.2 of this permit (discharge points).
3
Emissions and monitoring
3.1
Emissions to water, air or land

3.1.1
There shall be no point source emissions to water, air or land except from the sources and emission points listed in schedule 3 tables S3.1, S3.2 and S3.3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.2.2
The operator shall:

(a)
if notified by the Environment Agency that the activities are giving rise to pollution, submit to the Environment Agency for approval within the period specified, an emissions management plan;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by the Environment Agency.

3.2.3
Appropriate measures shall be taken to prevent the input of hazardous substances to groundwater by avoiding the entry of those substances into groundwater and by avoiding any significant increase in their concentration in groundwater. 

3.3
Monitoring 

3.3.1
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2 and S3.3 unless otherwise agreed in writing by the Environment Agency.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by the Environment Agency, for at least 6 years from the date when the records were made.

4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by the Environment Agency. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to the Environment Agency using the contact details supplied in writing by the Environment Agency.

4.3
Notifications
4.3.1
The Environment Agency shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 

(c) any significant adverse environmental effects.  

(d)
any emergency discharge that has occurred.

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where the Environment Agency has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform the Environment Agency when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to the Environment Agency at least 14 days before the date the monitoring is to be undertaken.

4.3.4
The Environment Agency shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:
(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:  
(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a) the Environment Agency shall be notified at least 14 days before making the change; and

(b) the notification shall contain a description of the proposed change in operation.

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 – Operations

	Table S1.1 Activities
	1

	Description of activity
	Limits of specified activity

	Groundwater activity: discharge into land of  sewage effluent from a Package Treatment Plant
	Via a soakaway system at NGR SM8860016600


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

 Schedule 3 – Emissions and monitoring

	Table S3.1 Point Source emissions to water (other than sewer) and land – emission limits and monitoring requirements
	a1

	Emission point ref. & location
	Parameter  
	 Limit (incl. unit)
	Reference 

Period
	Monitoring frequency
	Compliance statistic

	Outflow from a Package Treatment Plant prior to discharge into land
	Maximum daily flow
	19.42 m3/day
	Total daily volume
	N/A
	Maximum

	Outflow from a Package Treatment Plant prior to discharge into land
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	No significant trace

	Outflow from a Package Treatment Plant prior to discharge into land
	pH
	8.5 pH Units
	Instantaneous (spot sample)
	N/A
	Maximum Value

	Outflow from a Package Treatment Plant prior to discharge into land
	pH
	6.0 pH Units
	Instantaneous (spot sample)
	N/A
	Minimum Value

	Outflow from a Package Treatment Plant prior to discharge into land
	Temperature of Water
	21.0 Celsius
	Instantaneous (spot sample)
	N/A
	Maximum Value

	Outflow from a Package Treatment Plant prior to discharge into land
	BOD : 5 Day ATU
	20.0 Milligrams Per Litre
	Instantaneous (spot sample)
	N/A
	Maximum Value

	Outflow from a Package Treatment Plant prior to discharge into land
	Solids, Suspended at 105 C
	30.0 Milligrams Per Litre
	Instantaneous (spot sample)
	N/A
	Maximum Value


	Table S3.2 Discharge points
	 11

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving Environment



	sewage effluent 
	Outlet 1
	SM8860016600
	Groundwater 


	Table S3.3 Monitoring points
	11

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	sewage effluent via Outlet 1
	Effluent sample point 
	SM8860016600
	N/A


Schedule 4 - Reporting

There is no reporting under this schedule.

Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	A1

	Name of operator
	A1

	Location of Facility
	A1

	Time and date of the detection 
	A1


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution
	1

	To be notified within 24 hours of detection
	1

	Date and time of the event
	A1

	Reference or description of the location of the event 
	A1

	Description of where any release into the environment took place
	A1

	Substances(s) potentially released
	A1

	Best estimate of the quantity or rate of  release of substances
	A1

	Measures taken, or intended to be taken, to stop any emission
	A1

	Description of the failure or accident.
	A1


	(b) Notification requirements for the breach of a limit
	1

	To be notified within 24 hours of detection unless otherwise specified below
	1

	Emission point reference/ source
	A1

	Parameter(s)
	A1

	Limit
	A1

	Measured value and uncertainty
	A1

	Date and time of monitoring
	A1

	Measures taken, or intended to be taken, to stop the emission
	A1

	Time periods for notification following detection of a breach of a limit
	1

	Parameter
	Notification period

	1
	A1

	1
	A1

	1
	A1


	(c) Notification requirements for the detection of any significant adverse environmental effect
	1

	To be notified within 24 hours of detection
	1

	Description of where the effect on the environment was detected
	A1

	Substances(s) detected
	A1

	Concentrations of substances detected
	A1

	Date of monitoring/sampling
	A1


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	A1

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	A1

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	A1

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	A1


	Name*
	A1

	Post
	A1

	Signature
	A1

	Date
	A1


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.

“annually” means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“emissions to land” includes emissions to groundwater.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2010 No.675 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission limit.
“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“year” means calendar year ending 31 December.
END OF PERMIT
Permitting & Support Centre, Quadrant 2, 99 Parkway Avenue, Parkway Business Park, Sheffield, S9 4WF

Customer services line: 03708 506 506

Email: enquiries@environment-agency.gov.uk

www.environment-agency.gov.uk

i

