Schedule 6 - Notification

This page outlines the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission.  Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A

| PPC Permit | LP3630MR |
| --- | --- |
| Name of operator | CEMEX UK Materials Limited |
| Location of Installation | Whitehall Landfill, Old Port Road, Wenvoe, |
|  | Cardiff, Glamorgan CF5 6AW |
| Time and date of the detection | 22nd July 2019 |
| (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or fugitive emission which has caused, is causing or may cause significant pollution |  |
| To be notified within 24 hours of detection |  |
| Date and Time of the event |  |
| Reference or description of the location of the event |  |
| Description of where any release into the environment took place |  |
| Substances(s) potentially released |  |
| Best estimate of the quantity or rate of release of substances |  |
| Measures taken, or intended to be taken, to stop any emission |  |
| Description of the failure or accident. |  |
| (b) Notification requirements for the breach of a limit |  |
| To be notified within 24 hours of detection unless otherwise specified below |  |
| Emission point reference/ source | BH13 |
| Parameter(s) | Ammoniacal Nitrogen as N |
| Limit | 0.39 mg/l |
| Measured value and uncertainty | 0.47 mg/l (Retests 0.65 mgl 0.66 mgl ) |
| Date and time of monitoring | 09/07/2019 |
| Measures taken, or intended to be taken, to stop the emission | Continue with routine monthly monitoring. |

| Time periods for notification following detection of a breach of a limit |  |
| --- | --- |
| Parameter | Notification period |
| Carbon Dioxide or methane in external boreholes | 24 hours |
| Emissions to groundwater | 24 hours |

| (c) Notification requirements for the detection of any significant adverse environmental effect |  |
| --- | --- |
| To be notified within 24 hours of detection |  |
| Description of where the effect on the environment was detected |  |
| Substances(s) detected |  |
| Concentrations of substances detected |  |
| Date of monitoring/sampling |  |

Part B to be supplied as soon as practicable

| Any more accurate information on the matters for notification under Part A. |  |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | Re- sample |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission | Retest BH13 – Revisit to re sample arranged 01st August 2019. due to the lab stability time retest limitations. |

| The dates of any unauthorised emissions from the installation in the preceding 24 months. | 22nd July 2019 |
| --- | --- |
| Name* | Karen Magee |
| Post | Data Co-ordinator |
| Signature |  |
| Date | 22nd July 2019 |

* authorised to sign on behalf of CEMEX UK Materials Ltd