## Instructions
Fill out the form on sheet 2 call Data Request Form. All parts must be filled in. If any of the points below are not applicable to your installation, please state this within your submission.
Gas/methane utilized or flared must be filled in for the previous 2 years.

## Data Request Form
Landfill details |  |  | Landfill Gas |  |  | Year | METHANE % AND GAS FLOW |  | GAS UTILISATION |  |  |  | FLARE |  |  |  | ENGINE AND FLARE DETAILS
Site Name | Permit Reference | Postcode | Does the site have a landfill gas collection system? Yes or no | Is landfill gas collected measured, estimated or calculated? | Does the site have a gas management plan. Yes or no |  | Methane concentration of landfill gas %v/v (mean) | Landfill Gas Flow m3/hr (mean) | Gas utilization at the landfill (yes or no) | Gas utilized m3/yr | Methane utilized m3/yr | KWh generated | Flare present (Yes or No) | Landfill Gas flared m3/yr | Methane flared m3/yr | Hours of flare operating. Hrs total | Gas engine type. Comment on number and type/spec of engines. Engine capacity. Age. Hours run. | Flare type. Comment on type/spec of flare. Flare capacity. Flare Height. Age. Temperature of flare.
Gardden Claypit 1 Midlands | BP3494FC | LL14 6RF | Yes | Calculated | Yes | 2022 | 44.76 | 95.91 | Yes | 387450 | 173423 | 520290 | Yes | 1564065 | 627033 | 5053 | Scania SGI-12, 12L turbocharged. Run hours total 24000 (Newenco Equipment as of July 2022)----------------------------------------------------------------------------------------------------------- Jenbacher 208 (Infinis equipment up to September 2021) Note gas flaring occured in between gas contractor changeover (Sept 2021-July 2022) | Haase HTN5.0 Landfill Gas Flare Type HT ~ 1,000 to 1,200 °C Exhaust temperature Concealed, insulated high temperature combustion Defined flue gas retention time: 0.3 sec., acc. to „TA-Luft“ Flare stack: Galvanized steel
|  |  | Yes | Calculated | Yes | 2021 | 32.98 | 190.91 | Yes | 632599 | 208631 | 872200 | Yes | 163633 | 53966 | 1076