## Instructions
Fill out the form on sheet 2 call Data Request Form. All parts must be filled in. If any of the points below are not applicable to your installation, please state this within your submission.
Gas/methane utilized or flared must be filled in for the previous 2 years.

## Data Request Form
Landfill details |  |  | Landfill Gas |  |  | Year | METHANE % AND GAS FLOW |  | GAS UTILIASTION |  |  |  | FLARE |  |  |  | ENGINE AND FLARE DETAILS
Site Name | Permit Reference | Postcode | Does the site have a landfill gas collection system? Yes or no | Is landfill gas collected measured, estimated or calculated? | Does the site have a gas management plan. Yes or no |  | Methane concentration of landfill gas %v/v (mean) | Landfill Gas Flow m3/hr (mean) | Gas utilization at the landfill (yes or no) | Gas utilized m3/yr | Methane utilized m3/yr | KWh generated | Flare present (Yes or No) | Landfill Gas flared m3/yr | Methane flared m3/yr | Hours of flare operating. Hrs total | Gas engine type. Comment on number and type/spec of engines. Engine capacity. Age. Hours run. | Flare type. Comment on type/spec of flare. Flare capacity. Flare Height. Age. Temperature of flare.
Trecatti Landfill | RP3733PC | CF48 4AB | Yes | Measured | Yes | 2022 | 49.663 | 1682.1923 | Yes | 14736004.6154 | 731834197.2138 | 20961366.1866 | Yes | 713536.2213 | 354363.4936 | 30.69 | X4 Operational J320 Jenbachers. X 1 mothballed J320 Jenbacher. Capacity between 1006 and 1067 kW. | X3 Uniflare design. Capacity 2500,1500,500 m3/hr. Flare temp 100 degrees c with a retention time of 0.3 seconds.
|  |  | Yes | Measured | Yes | 2021 | 50.1 | 1678.9709 | Yes | 14707784.8544 | 736860021.2039 | 21138366.8759 | Yes | 493230.9912 | 247108.7266 | 304.48