| Permit Number: | PAN-007234 |
| --- | --- |
| Applicant name: | Mr Nigel Ellaway |
| Site Address: | Esgair House, Capel Isaac, Llandeilo, SA19 7TY |
| Discharge Point NGR: | SN 59608 25823 |
| Respond by date: | 15/10/2019 (10 working days) |
| Permitting Officer: | Jodie Pullen |

Brief Description of proposal:

We have received an application for a new discharge of 2m3 a day of secondary treated sewage effluent. The discharge will originate from a single domestic property with 7-8 bedrooms. The receiving environment is an unnamed watercourse which reaches the Afon Myddyfi after 1km.

Habitats Screening Report – Designations or protected species/habitats:

Please find the screening report on the DMS here.

The screening report picked up one SSSI, an Appendix 4 assessment will be completed and consulted on if necessary.

Risk Assessment Results (modelling or L1 Risk Assessment):

The discharge is under 5m3/day therefore no river quality modelling has been conducted.

Miscellaneous:

The nearest sewer is 1.6km away.

NRM Responses:

Environment Management comments:

Officers name:
Date:

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: