Schedule 5 - Notification 

This page outlines the information that the Operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	EPR/PR3733PC V010

	Name of Operator
	Biffa Waste Services Limited

	Location of Facility
	Trecatti Landfill Site

Fochriw Road

Merthyr Tydfil

Mid Glamorgan

CF48 4AB

	
	

	Time and date of the detection 
	20/05/19 @ 13.47

26/06/19 @ 15:47



	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and Time of the event
	N/A

	Reference or description of the location of the event 
	N/A

	Description of where any release into the environment took place
	N/A

	Substances(s) potentially released
	N/A

	Best estimate of the quantity or rate of release of substances
	N/A

	Measures taken, or intended to be taken, to stop any emission
	N/A

	Description of the failure or accident.
	N/A


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	Borehole 4 81701004

Borehole 22 81701022

	Parameter(s)
	Methane and Carbon Dioxide

	Limit
	Borehole 4 – 3% Methane 
Borehole 22 - 1% Methane 

	Measured value and uncertainty
	Borehole 4

Methane 8.9% (26/06/19)
Borehole 22

Methane 1.1% (20/05/19)


	Date and time of monitoring
	20/05/19 @ 08:43
26/06/19 @ 11:02

	Measures taken, or intended to be taken, to stop the emission
	A breach in the limit of methane has been recorded but no pollution to the environment has occurred.  Monitoring will continue in line with the schedule of the permit, and action plans where action limits have breached.


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	Perimeter Gas Quality
	24 Hours


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	N/A

	Substances(s) detected
	N/A

	Concentrations of substances detected
	N/A

	Date of monitoring/sampling
	N/A


Part B to be supplied as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	Our gas team have continued to carry out general maintenance across the site.  Improvements to the extraction system continue to be made; in addition gas infrastructure is installed progressively at the site in agreement with NRW.

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Continued monitoring of the boreholes as per the permit, scrutinizing the data to ensure that the levels are not increasing. 

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	No pollution to the environment occurred due to this reading.  

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	See previous Schedule 5s


	Name*
	Simon Milford

	Post
	Site Manager

	Signature
	S.Milford

	Date
	31/07/2019


* authorised to sign on behalf of the Operator.

