# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Mono Metals Limited operated by Mono Metals Limited.

The permit number is EPR/DB3192CY.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation and web publicising responses

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered |  | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| Consultation |  |  |  |  |
| Scope of consultation |  | The consultation requirements were identified and implemented. The decision was taken in accordance with our Public Participation Statement and our Working Together Agreements. |  |  |
| ### Responses to consultation and web publicising |  | The web publicising and consultation responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. |  |  |
| Operator |  |  |  |  |
| Control of the facility |  | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |  |
| European Directives |  |  |  |  |
| Applicable directives |  | All applicable European directives have been considered in the determination of the application. Hazardous waste treatment and storage, are activities under the Industrial Emissions Directive. Therefore, daily treatment and storage capacity limits have been set in Table S1.1 of the permit. |  |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources. |  |  |
| Environment Wales Act 2016 – Biodiversity and resilience of ecosystems duty |  |  |  |
| Consideration of Section 6 | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for an EPR permit. |  |  |
| The site |  |  |  |  |
| Extent of the site of the facility |  | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |  |
| Site condition report |  | The operator has provided a description of the condition of the site. We consider this description is satisfactory. The decision was taken in accordance with our guidance on site condition reports – guidance and templates (H5). |  |  |
| Biodiversity, Heritage, Landscape and Nature Conservation |  | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the sites has been carried out as part of the permitting process. We consider that the application will not affect the[features of the site. No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. |  |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk |  | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment [or similar methodology supplied by the operator and reviewed by ourselves], all emissions may be categorised as environmentally insignificant. |  |  |
| Operating techniques |  | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has provided an Operating Techniques Management Plan which follows the requirements of How to comply with your Environmental Permit. This includes Management and Control, Environmental Risk Assessment, Environmental Management System, Fire Prevention Management Plan, Waste acceptance, processing and storage. These have been incorporated into the conditions of the Permit. |  |  |
| The permit conditions |  |  |  |  |
| Waste types |  | We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility. We are satisfied that the operator can accept these wastes for the following reasons. We are satisfied that the waste types applied for are consistent with the type of waste operation and the environmental controls and site infrastructure . We made these decisions with respect to waste types in accordance with How to comply with your Environmentral Permit. |  |  |
| Pre-operational conditions |  | Based on the information in the application, we consider that we need to impose pre-operational conditions. This is to ensure that the site complies with the Fire Prevention and Mitigation Plan submitted with the application. |  |  |
| Incorporating the application |  | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. |  |  |
| Operator Competence |  |  |  |  |
| Environment management system |  | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |
| Technical competence |  | Technical competency is required for activities permitted. The operator is a member of an agreed scheme. The operator satisfies the criteria in RGN 5 on Operator Competence. |  |  |
| Relevant convictions |  | Our Enforcement Database has been checked to ensure that all relevant convictions have been declared. No relevant convictions were found. The operator satisfies the criteria in RGN 5 on Operator Competence. |  |  |

# Annex 2: Consultation and web publicising advertising responses

Summary of responses to consultation and web publication and the way in which we have taken these into account in the determination process.

Response received from

Public Health Wales

Brief summary of issues raised

- WAMITAB certification to be appropriately obtained and retained during the life-cycle of the operations. - Impact to public health from fire. - Suitable procedures for the secure storage of waste including vehuicle parts suspected to contain asbestos (brake pads). - Dust, noise and vibration in regard to complaint procedures. - Site condition report, unclear if one was available.

Summary of actions taken or show how this has been covered

- The applicant has agreed to the required grace period to acquire the relevant certification and is enrolled on a suitable course. - The applicant has produced a suitable Fire Prevention and Mitigation Plan. - The applicants management plans describe suitable procedures and storage methods. - Complaint procedures are within the applicants management plans and meet the standards of How to Comply with your environmental permit. - Site condition report was provided and satisfactory.