
Environmental Management System
Contents
1. Type of treatment plant

2. Monitoring and maintenance checklist 

3. Monitoring and maintenance record

4. Accident and incident records.
5. Complaints form for recording complaints about your site from members of the public.

6. Accident management plan, including;

Emergency contacts

Preventing accidents and what to do if they happen.

7. Further help
1. Type of treatment plant

This form is to be used to record information about the type of treatment you are using for your sewage.
	Type of treatment plant

For example package treatment works, septic tank

	

	Make

	

	Model

	

	Installation Date

	

	Who installed it?

	

	Capacity

	


2. Monitoring and maintenance checklist
You should understand whether the system is operating normally or not and what routine checks to make, for example is the power on, is the motor running?  You should know how to restart the system if there is a power or other failure.  Further checks should be made on the quality of the final effluent from the system; is the effluent clear, is there debris visible downstream?  The supplier of the system or maintenance contractor should be able to advise on checks specific to the plant in question.  These checks should normally be made and recorded on a weekly basis as a minimum.  You should record the findings of these checks even if nothing was wrong.
You should have a service and maintenance contract in place with a contractor that is trained and competent to maintain and service your particular treatment plant.  If you have a contract in place a copy of it must be kept with this document.  Service frequency should be in accordance with the manufacturer’s instructions.  Sewage treatment plants require periodic de-sludging and you should have a contract in place to undertake this when required. 

These are guidelines only. 

	Item
	How often

(tick the appropriate box)

	
	Day
	Week
	Month
	6 Months
	Year
	 5 
    Years

	If you have a manufacturer’s maintenance plan complete line 1 and add to the blank lines below any actions which you are required to carry out in that plan and specify how frequently you will carry them out.

	1) Ensure that a maintenance plan as required by the manufacturer’s instructions is followed and that any required works are carried out by an appropriately qualified person
	
	
	
	
	
	

	2) 


	
	
	
	
	
	

	If you do not have a manufacturer’s maintenance plan in place, the following is suggested as a minimum. You should add extra actions that you feel are appropriate for your site.

	1) Check the discharge point for any adverse visible effect* on the receiving water, the bed of the watercourse, or any plants or animals within the watercourse. If you observe any adverse visible effect you must contact an appropriately qualified contractor to investigate and correct the fault. 
	
	
	
	
	
	

	2) Check to see if the treatment plant appears to be operating effectively, for example no unusual noises, odours and so on. If it is not operating correctly you must contact an appropriately qualified contractor to investigate and remediate the cause.
	
	
	
	
	
	

	3) Ensure that the sample point is accessible at all times. If its not accessible ensure access is reinstated.
	
	
	
	
	
	

	4) De-sludging should take place at least every six months or as specified by the manufacturer
	
	
	
	
	
	

	5) Servicing of the plant should take place at least every six months or as specified by the manufacturer
	
	
	
	
	
	

	6)
	
	
	
	
	
	


* Adverse visible effect means dead or distressed fish, other animals or plants in the vicinity of the discharge point, noticeable deposit of solid material; growth of sewage fungus (a grey growth covering rocks or other objects in the receiving water body); or noticeable discolouration of the water flow by the discharge.
3. Monitoring and maintenance record

You need to keep a record of the checks you have completed that are set out in your checklist along with any additional checks you have made.  This could be recorded in a diary or alternatively you could adapt the form below to create a record sheet.  Make sure you have an adequate supply available to continue recording actions from your checklist.

If you have a maintenance contract with a contractor, keep a record of any work carried out on your treatment plant by them.  If invoices state the work carried out these will be sufficient. 

If you do the checks you should enter:
· The check or maintenance job done (for example Checked treatment plant);
· Who did it; 

· The result (for example when abnormal noise heard, called in specialist to investigate).  
	Action
	Date and Time
	Carried out by
	Result

	
	 
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


4.  Accident and incident record
You should record any accidents, other incidents or near misses relating to the operation of your treatment plant, for example untreated sewage being released into a river or stream.  The form could also be used to record health and safety incidents.

An example of an accident could be a contractor severing an electricity cable and cutting off the power supply or a spillage of bleach or other chemical that may stop the treatment plant working properly.

“Other incidents” covers impacts on the environment that are not accidents, such as failing to maintain the treatment plant adequately, leading to breakdown and untreated sewage being discharged into a river or stream, or vandals causing damage to the treatment plant.
If you are concerned that the final effluent is having a clearly noticeable, adverse impact on the environment you should also call your local Environment Agency office. 
	Date and time of the incident 
	

	What happened, what was it about?



	Was anyone else aware of this – other witnesses?  If so who?



	What caused it?



	What action did you take to fix the problem? 


	What have you done to make sure that it does not happen again? 



	Was there any significant pollution – for example: untreated sewage being discharged into a drain, river or stream? Yes / No

If yes, what pollution occurred?


	If there was significant pollution then you must notify the Environment Agency on 0800 807060 as soon as possible.  Have you done so?
	Yes/No/not applicable

At what time did you phone?
EA Incident reference no.

	You must also write or send an email to confirm this to the local office (see your accident management plan for the address). Have you done so?
	Yes/No/not applicable

	Please print your name, sign and date.



5. Complaints record
Occasionally you may receive complaints about the treatment plant.  They may or may not be justified but you should keep a record of any complaints received.  This can be used as evidence that you’ve taken appropriate action to rectify any issues if the Environment Agency receives complaints about your site.
	Who made the complaint?             Name:
	

	Address
	

	 Phone No
	

	Date and time they made the complaint
	

	What happened, what was it about?



	Was anyone else aware of this – other neighbours or your staff?  If so who?



	Assuming the complaint relates to your site, what was the problem, what went wrong? If you can’t find the source of the problem you should contact a suitably qualified person to do so and record who this was, and what the problem was.


	What action did you take to fix the problem?



	What have you done to make sure that it does not happen again? 



	Was there any significant pollution – for example: untreated sewage being discharged into a drain, river or stream? Yes / No

If yes, what pollution occurred?


	If there was significant pollution then you must notify the Environment Agency on 0800 807060 as soon as possible .  Have you done so?
	Yes/No/not applicable

At what time did you phone?
EA Incident reference no.

	You must also write or send an email to confirm this to the local office (see your accident management plan for the address). Have you done so?
	Yes/No/not applicable

	Please print your name, sign and date:



6. Accident management plan
Created by:_________________________________________Date:____________________
Key Site and Emergency Contacts
This table contains information and contacts you may need in an emergency

(adjust to suit your site).
	SITE DETAILS

	Address:

	Postcode:

	Site access grid reference:

	SITE CONTACTS
	Office Hours (specify)
	Out of hours

	Owner:
	
	

	EMERGENCY SERVICES
	Office Hours
	Out of hours

	Emergency
	999 or 112 (on mobiles)
	999 or 112 (on mobiles)

	Medical:
	
	

	Police:
	
	

	Fire:
	
	

	REGULATORS
	Office Hours
	Out of hours

	Health and Safety Executive (HSE):
	
	

	Local Authority:
	
	

	Environment Agency 
	General number:
	08708 506 506
	

	
	24 hour emergency hotline:
	0800 80 70 60
	0800 80 70 60

	UTILITY AND KEY SERVICES
	Office Hours
	Out of hours

	Treatment plant maintenance contractor:
	
	

	Sludge removal contractor:
	
	

	Electricity supplier:
	
	

	Electrician:
	
	

	Plumber:
	
	

	
	
	

	
	
	

	OTHER KEY CONTACTS
	Office Hours
	Out of hours

	Your company’s head office:
	
	

	Adjacent landowners:
	
	

	Neighbours:


	
	

	Specialist advisors:


	
	

	
	
	

	
	
	

	
	
	


Preventing accidents and what to do if they happen
The following table contains examples of things that could go wrong and harm the environment.  The list covers many of the things that could go wrong at a site like yours but you should check if you can identify anything else particular to your site that could cause a problem.  If you can then add it to the list.

The table describes what you should be doing to reduce the chances of each possible accident happening.  It also describes what should be done if the worst actually happens.

Please ensure that you are committed to the table’s contents as it forms part of your Environmental Management System which is a condition of your permit and therefore must be complied with.  If it refers to using equipment such as spill-kits, make sure you have these available.
Finally make sure that everyone on site knows about the plan, where to find it, and what it contains.  It’s important that they know how to prevent accidents and what to do if there is one.  Keep your spill and fire response procedures with this plan.  The links to the pollution prevention guidelines, which can be found in further information, give advice on how to produce spill response procedures.
You will need to review the plan and record this at least every 4 years, or as soon as practicable after an accident, whether changes to the plan should be made.
	Possible accident
	What would the harm to the environment be? 
	How do we reduce the chances of it happening?
	What to do if it happens

	Spillages

	Overloading of treatment plant. Due to inadequate sized plant being installed.
	Contamination of land, drains, groundwater and watercourses.
	If any changes are to take place to the property then ensure the treatment works is still large enough, before the works commence.
	Follow the spill response procedure.  

It describes what to do in the event of a spill and where the kit is kept.

If necessary call out a contractor to undertake repairs.

	Spillages during de-sludging of the treatment plant 
	
	Ensure pipe integrity has been tested prior to use and contractor/operator observes correct de-sludging process
	

	Slow seepage of liquids from the treatment plant.

Slow seepage can be less noticeable than ‘spills’.
	
	Integrity of the treatment plant will be tested. Treatment plant will be maintained in line with manufactures instructions
	

	
	
	
	

	Failure of Plant or Equipment

	Releases of untreated sewage; due to faulty pipe work, valves, over-pressure, blockages, pump failure, severe weather and so on.
	Contamination of land, drains, groundwater and watercourses.
	Visual inspection and completion of weekly inspection checklist record.

Preventative maintenance regime.

Any underground pipes and tanks will be tested for integrity.
	Spill response procedure 

It describes what to do in the event of a spill and where the kit is kept.

If necessary call out a contractor to undertake repairs.


	Possible accident
	What would the harm to the environment be?
	How do we reduce the chances of it happening?
	What to do if it happens?

	Harmful substances/objects entering the treatment plant, for example cleaning chemicals, garden pesticides, oils/fat/grease, nappies, sanitary products

	Damage to the treatment plant and/or death of micro-organisms with possible subsequent contamination of groundwater and watercourses.
	Read and understand the manufacturer’s guidance on what can be put down drains, sinks and toilets. Inform all residents and guests of the restrictions.

Have a list of chemicals which are safe to use with the treatment works in a designated spot and ensure everyone who used or purchases chemicals has access to and is aware of the list.


	Follow spill response procedure.

Arrange for a drainage contractor to come and fix the works.

Stop using the works, if possible or arrange for the sewage to be tankered away to an appropriately licensed site.



	
	
	
	

	Flood

	Due to ingress of watercourse floodwater, blocked drains, burst water main, use of fire water.
	Contamination of land, groundwater and watercourses with untreated sewage and flood water. 


	Ensure that no surface water/floodwaters can enter the treatment works.
	Flood procedure describing what to do in the event of a flood warning such as installation of barge boards, use of sand bags.

	
	
	
	

	Failure of Services

	Due to failure of supply; electricity, supply and of sewerage system.

Due to utility supply being struck and broken / cut.
	Death of micro-organisms with possible subsequent contamination of groundwater and watercourses.
	Provision of alarm on the treatment works to warn operators of power failure. 

Provision of back up generator should the works require constant electricity to ensure adequate treatment.


	Use emergency generator (if available). Call out utility company for urgent call out.

	Possible accident
	What would the harm to the environment be?
	How do we reduce the chances of it happening?
	What to do if it happens?

	Failure of Containment

	Failure of containment facilities due to land movement, impact, corrosion and so on.
	Contamination of land, drains, groundwater and watercourses.
	Provision of secondary containment for hazardous liquids.

Inspection of primary and secondary containment facilities.
	Spill response procedure as described above.



	
	
	
	

	Vandalism

	Unauthorised entry and tampering or malicious damage to property, plant and equipment.
	Possible contamination of land, drains, groundwater and watercourses.
	Ensure treatment plant is secure

	Immediately secure the plant, arrange any necessary repairs, follow the spill response procedure if a sill has occurred.

	
	
	
	


7. Further help
The below link is to the British Water website.  British Water is the trade association for the water industry supply chain.  Here you can find accredited service engineers to maintain and repair your treatment plant and in the publications section there is guidance on how to use and operate a small sewage treatment plant.

http://www.britishwater.co.uk/ 
MAGIC is a web based interactive map service to bring together environmental information from across government.  It will be useful in finding local sensitive sites.

http://www.magic.gov.uk/

