[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




· 1 -


	Mr. Chris Betts
Hydrogeo Ltd, 

Unit 4, 

Waddington House, 

Llanover Business Centre, 

Llanover,

Abergavenny


	Our ref: PAN-025115
Date:

28/03/2024



Dear Mr. Betts

We need more information about your application
Application reference: PAN-025115
Operator: The Trustees of the Morspan Pension Scheme or Morspan Holdings Ltd
Facility: Llanellen Court,  Abergavenny, Monmouthshire, NP7 9HT
Thank you for your application received on 12/03/2024. The following is to confirm our conversation of 28/03/2024.
We need to ask you for some more information before we can do any more work on it. 
Applicant/Operator

I would be grateful if you could confirm who will is the applicant. You have included Trustees of the Morspan pension scheme’ and ‘Morspan Holdings Ltd’. If it is the pension scheme trustees then I will require a list of trustees, their private addresses and signature as part of the written declaration. 
Sewer Connection

In the application you have stated that the nearest sewage connection is 400 meters from the nearest boundary. In addition to assess if it is reasonable to discharge your effluent to foul sewer system  you have provided a distance calculation of 640 meters. When drawing up sewerage proposals for any development, the first presumption must always be to provide a system of foul drainage discharging into a public sewer. This should be done in consultation with the Sewerage Undertaker of the area  to meet the principles set out in  planning policy wales edition 12  specifically Section 6.6.20-21. We will require a copy of formal correspondence between yourself and Dwr Cymru/Welsh Water (DCWW) with regards to the attempt to obtain  ‘Section 104’ or ‘Section 106’ agreement with DCWW.
If you are within the distance considered feasible to connect to a public sewer but are still considering a private sewage treatment plant, you must provide evidence of why it is not feasible to connect to the public sewer see Natural Resources Wales / Private sewage treatment in an area with a public sewer. One of the areas of evidence we require  will be a detailed itemised cost analysis for the option to connect to the sewer system and the option to discharge to groundwater.  
This should include, but not be limited to, details of: 

Foul sewer connection costs 
Sewer pipe; 

Pumping equipment, pump and sump pump, if necessary; 

Digging up of roadside verges, roads or land on the route to the sewer; 

Road closure costs, if necessary; 

Legal easements to cross land, if necessary; 

Initial connection and annual charges from the sewerage undertaker. 

Proposed treatment facility costs 
Purchase; 

Installation; 

Maintenance; 

Annual Environment Agency subsistence fees (subsistence fees do not apply to discharges of treated domestic sewage effluent of five cubic metres (5m3) or less a day). 

Your justification must also include details of any physical obstacles: for example, roads, railways, rivers or canals impeding your connection to a sewer. 

Discharge calculations 
I have attached my discharge calculation for the project and they seem slightly lower than yours. I would be grateful if you could let me know if you agree or not with my calculations.

Percolation Test

We require a copy of the geotechnical report for the percolation tests that were undertaken.
Please reply within 10 working days from the date of this letter. If we don’t hear from you we must return your application and fee (retaining 10 % in line with our fees and charges). In light of the information required and the potential timescales you can withdraw the application at this stage to resubmit at a later date but we will still retain 10% of the fees. 

Please let me know how you wish to proceed.  
Due to circumstances outside of our immediate control, the Water Quality Permitting Team continues to experience a high demand for our services. Unfortunately this means that your application is yet to be allocated to a Permitting Officer. Please be assured that when an officer becomes available, you will be contacted and we will endeavour to determine your application in an efficient manner.

If you email or write to us please quote the application reference PAN-025115. If you have any questions please phone me on 03000 653 646 or email steve.bickerton@naturalresourceswales.gov.uk.
Yours sincerely

Steve Bickerton

Permitting Officer, Water Quality

Ffôn/Tel

0300 065 3646
Ebost/Email
steve.bickerton@cyfoethnaturiolcymru.gov.uk 



steve.bickerton@naturalresourceswales.gov.uk

Canolfan Trwyddedu Cymru (Caerdydd), Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Centre (Cardiff), Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk

Correspondence welcomed in Welsh and English
PAGE  
2 IF  "" = "" "" "

Cont/d.."

Cont/d..

c:\documents and settings\enewett\local settings\temporary internet files\olkce\203_08_sd08 more info may 11 (2).doc

[image: image1.jpg]