Abbeycwmhir Operating Techniques Agreement (April 2024 v1)

Operating techniques agreement document reference AN0178601_OTA_V1

Abbeycwmhir WwTW, Abbeycwmhir

Asset Number: 30792

Permit number:  AN0178601

Purpose

This operating technique agreement applies to the descriptive Permit for Abbeycwmhir WwTW. The maintenance requirements below will be applied until the AMP8 scheme is delivered on the 31/3/28.

The maintenance requirements below will commence upon issue of this permit and will cease upon installation of the AMP 8 scheme on the 31/3/28.

Maintenance requirements:

- Weekly visits to site by operational staff.

- Visits to incorporate Population of site diary and Photographs of effluent (where possible)

- Desludge and tanker away from site every 8 weeks (where possible).