# Question 3a – Welsh Water response

Regarding the discharge permit for our new fish farm in Neath, we are unable to discharge the wastewater into the Welsh Water main sewer line. The reason for this is twofold and can be seen in the email chain below.

Upon consultation with Welsh Water, they have expressed concerns about the impact of saline water on their sewer system, exacerbating existing issues. As such, Welsh Water typically does not issue trade effluent consents for saltwater discharge into their network. This information has been confirmed by our structural engineer and Welsh Water directly. We are happy to provide contact details of the trade effluent officer if NRW need further clarification.