[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





Notice of variation and consolidation with introductory note
The Environmental Permitting (England & Wales) Regulations 2016
Dŵr Cymru Cyfyngedig
Abbeycwmhir Wastewater Treatment Works
Abbeycwmhir
Llandindod Wells
Powys
LD1 6PH
Variation application number

PAN-020546
Permit number
AN0178601
Abbeycwmhir Wastewater Treatment Works 

Permit number AN0178601
Introductory note

This introductory note does not form a part of the notice.
The following notice gives notice of the variation and consolidation of an environmental permit.
The variation is for an amendment of the permit from numeric to descriptive conditions. The National Grid Reference is to be amended to reflect the actual discharge point. In addition, the Dry Weather Flow is to be reduced to 5m3/day to reflect the actual volume being discharged. An improvement condition has also been added to upgrade the current system by 31/03/2028. 
The discharge from the works drains into a land drain that discharges to the Clywedog Brook. Most permits with discharge rates of a maximum of 5m3/day are regulated under descriptive conditions. The numeric limits set in 2011 were standard backstop limits that package treatment plants are expected to achieve when regulated under a descriptive permit. Therefore, we do not expect a decline in the quality of the effluent by relaxing the permit from numeric to descriptive.
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number. It is not backdated before 6 April 2010. 
	Status log of the permit

	Description
	Date
	Comments

	Application received
AN0178601/V001
	Duly made 23/05/2011
	Application to vary and update the permit to modern conditions. The receiving water was changed from ground to surface. 

	Variation determined 

AN0178601 
	05/10/2011
	Varied and consolidated permit issued in modern condition format.

	Application PAN-020546


	Duly made

20/01/2023
	Application to vary the permit from numeric back to descriptive conditions.

	Schedule 5 information received
	18/08/2023
	Response to Schedule 5 request re: reason for reverting the permit back to descriptive and improvements proposed. 

	Additional information received
	31/10/2023
	Proposed improvement plan and expected timeline for new treatment system.

	Variation determined AN0178601/V002
	09/04/2024
	Varied and consolidated descriptive permit with reduced volume  issued to Dŵr Cymru Cyfyngedig


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
Permit number

AN0178601
issued to:

Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is
Linea

Fortran Road

St Mellons

Cardiff

CF3 0LT

company registration number 02366777 
to operate a regulated facility at
Abbeycwmhir Wastewater Treatment Works
Abbeycwmhir
Llandrindod Wells
Powys
LD1 6PH
to the extent set out in the schedules.
The notice shall take effect from 09/04/2024
	Name
	Date

	Emma Jones
	09/04/2024


Authorised on behalf of Natural Resources Wales
Schedule 1 

The following conditions were varied as a result of the application made by the operator:

· Conditions: 2.1, 3.1, and 3.2

· Tables:  S1.1, S3.1, S3.2 and S3.3
· Schedule 7
The following conditions were varied as a result of a Natural Resources Wales initiated variation:

· Conditions 2.2.1, 2.3, 2.4 and 4.3
· Tables: 1.2 and 1.3
· Schedule 6
Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

AN0178691

This is the consolidated permit referred to in the variation and consolidation notice for application PAN-020546 authorising, 
Dŵr Cymru Cyfyngedig (“the operator”),

whose registered office is

Linea

Fortran Road

St Mellons

Cardiff

CF3 0LT

company registration number 02366777
to operate a water discharge activity at
Abbeycwmhir Wastewater Treatment Works

Abbeycwmhir

Llandrindod Wells
Powys
LD1 6PH
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Emma Jones 
	09/04/2024


Authorised on behalf of Natural Resources Wales
Conditions

1 Management

1.1 General management

1.1.1 The operator shall manage and operate the activity:
(a) in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.

2 Operations

2.1 Permitted activities

2.1.1 The only activity authorised by the permit is the activity specified in schedule 1 table S1.1.

2.2 The site 

2.2.1 The discharge activity shall take place at the discharge point marked on the site plan at schedule 7 to this permit, and as listed in table S3.2 and, the operating technique is the subject of conditions prefixed by 2.3 shall be applied at the location shown, or otherwise described, in schedule 7.
2.3 Operating techniques

2.3.1 For the activity referenced in schedule 1, table S1.1 the activity shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.

2.3.2 If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 which identifies and minimises the risks of pollution relevant to that plan , and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

2.4 Improvement programme

2.4.1 The operator shall complete the improvements specified in schedule 1 table S1.3 by the date specified in that table unless otherwise agreed in writing by Natural Resources Wales.

2.4.2 Except in the case of an improvement which consists only of a submission to Natural Resources Wales, the operator shall notify Natural Resources Wales within 14 days of completion of each improvement.

3 Emissions and monitoring

3.1 Emissions to water

3.1.1 The limits given in schedule 3 table S3.1 shall not be exceeded.

(a) For the emission limits in schedule 3 table S3.1 to which this condition applies, no inspection of the discharge or receiving water made at a time when unusual weather conditions are adversely affecting the operation of the waste water treatment works, shall be taken into account in deciding whether or not the emission limit has been complied with.

(b) On any occasion where unusual weather conditions adversely affect the operation of the waste water treatment works, the Operator shall use its best endeavours to mitigate that adverse effect.

(c) For any inspection of the discharge or receiving water to be considered for the purposes of (a) above, the Operator shall notify Natural Resources Wales in writing within 14 days of becoming aware that an emission limit has been exceeded. That notification shall include a full description of the unusual weather conditions and their impact on the operation of the works.

3.2 Monitoring 

3.2.1 An Accessible monitoring point shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring point specified in table S3.3 of schedule 3 and shown marked on the site plan in schedule 7

4 Information

4.1 Records

4.1.1 All records required to be made by schedule 3, 4 and 5 to this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made. 

4.1.2 The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 

4.2 Reporting

4.2.1 The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.3 Notifications

4.3.1 Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution; and

(b) any breach of a limit specified in schedule 3 table S3.1.

Any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.

4.3.2 The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

4.3.3 Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and

(b) any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(c) any change in the operator’s name or address; and

(d) any steps taken with a view to the dissolution of the operator.

4.3.4 Where the operator proposes to make a change in the nature of the activity by increasing the concentration of, or the addition of, or allowing the introduction of, a substance to the activity to an extent that the operator considers could have a significant adverse environmental effect on the receiving waters, and the change is not the subject of an application for approval under the EP Regulations or under the terms of this permit:

(a) Natural Resources Wales shall be notified in writing at least 14 days before the increase or addition or allowing the introduction; and

(b) the notification shall contain a description of the proposed change.

4.4 Interpretation

4.4.1 In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2 In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.

Schedule 1 – Operations 

	5 Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Discharge of secondary treated sewage effluent via Discharge Point
	The population equivalent of the agglomeration served by the wastewater treatment works shall not exceed 250. The discharge shall not contain any trade effluent.


	Table S1.2 Operating techniques

	Description of documentation
	Parts
	Date Received

	“PAN-020546 Abbeycwmhir Operating Techniques Agreement (April 2024 v1).”
	All
	05/04/2024


	Table S1.3 Improvement programme requirements

	Reference
	Requirement
	Date

	Discharge of secondary treated sewage effluent via Discharge Point
	6  The operator shall complete the treatment process improvement by 31/03/2028 as part of the AMP8 scheme under the PR24 Septic Tank Driver incorporating -
· Upland catchment rainscape: this will consist of an upstream sustainable drainage program to reduce the surface water reaching the works. This will include a mixture of solutions such as swales, grass channels and Geocellular storage.
· 1 x Horizontal Tertiary Reedbed (including recirculation pump, Power supply)

· New Final Efluent chamber and discharge pipework
If the solution approach differs from the current outline design to detailed design, then approval with NRW is required. 

	31/03/2028


Schedule 2 – Waste types, raw materials and fuels

Schedule 2 not in use.

Schedule 3 – Emissions and monitoring

	7  Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference  Period
	Monitoring method
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Secondary treated sewage effluent via Discharge Point
	Dry weather flow
	5 m3/day

8 
	Total daily volume
	N/A                                                                
	N/A                                                                
	N/A
	9   Maximum

	10 
	Visual appearance
	The discharge must so far as is reasonably practicable have no significant adverse visible effect on the receiving water, the bed of the watercourse or any plants or animals within the watercourse 
	Instantaneous (visual examination) 
	Visual examination
	N/A
	N/A
	Condition 3.1.2 applies

	11 
	Visible oil or grease
	No significant trace present so far as is reasonably practicable
	Instantaneous (visual examination)
	Visual examination
	N/A
	N/A
	No significant trace

(Condition 3.1.2 applies)


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water

	Secondary treated sewage effluent
	Discharge Point
	SO 05487 71034
	Drain Leading to Clywedog Brook


	12 Table S3.3 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Secondary treated sewage effluent via Discharge Point
	Effluent sampling
	13   SO 05487 71034 
	Discharge and Sample Point


Schedule 4 – Reporting

Schedule 4 not in use.

Schedule 5 – Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A

	Permit Number
	14  AN0178601

	Name of operator
	15  Dŵr Cymru Cyfyngedig

	Location of Facility
	16  Abbeycwmhir WwTW, Abbeycwmhir, nr Llandrindod Wells, LD1 6PH

	Time and date of the detection 
	17 


	18 (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques,  accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection unless otherwise agreed in writing by Natural Resources Wales

	Date and time of the event
	19 

	Reference or description of the location of the event 
	20 

	Description of where any release into the environment took place
	21 

	Substances(s) potentially released/type or nature of sewage released
	22 

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	23 

	Best estimate of the environmental impact of the discharge
	24 

	Measures taken, or intended to be taken, to stop any emission
	25 

	Description of the failure or accident.
	26 


	27 (b) Notification requirements for the detection of any significant adverse environmental effect

	28  To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	29 

	Substances(s) detected
	30 

	Concentrations of substances detected
	31 

	Date of monitoring/sampling
	32 


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales

	Any more accurate information on the matters for notification under Part A.
	33 

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	34 

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	35 


	36 Name*
	37 

	38 Post
	39 

	40 Signature
	41 

	42 Date
	43 


* authorised to sign on behalf of the operator

Schedule 6 – Interpretation 

“accident” means an accident that may result in pollution.

"annually" means once every year.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“Dry weather flow” (DWF), measured as m3/d, is defined as follows: DWF = PG + IDWF + E, where P = population in the catchment, G = per capita domestic sewage flow, IDWF = dry weather infiltration, and E = trade effluent flow.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“significant adverse visible effect” means dead or distressed fish, other animals or plants in the vicinity of the discharge, appreciable deposit of solid material; significant growth of sewage fungus; appreciable discolouration.

“significant pollution” means a high level impact incident as indicated by NRW incident classification system.
“unusual weather conditions” includes, but is not limited to:

· low ambient temperatures, or the freezing of mechanical equipment in the works;

· significant snow deposits;

· tidal or fluvial flooding;

· weather conditions causing unforeseen loss of power supply to the sewage treatment that could not be ameliorated by the reasonable provision and operation of standby generation facilities.
“year” means calendar year ending 31 December.

Schedule 7 – Site plan

[image: image1.png]Abbeycwmhir-STW

Discharge-&sample-
Point

—





© Crown Copyright and database right 2024. Ordnance Survey licence number 100019741.

END OF PERMIT

	Variation and consolidation application number  PAN-020546
	Page i
-  -
- i -
- i -i
	


1
	Variation and consolidation application number PAN-020546
	Page 3
-  -
- 3 -
- 3 -3
	



