

[image: image1.emf]
Protected sites advisor response to an internal consultation on the Habitats Regulations Assessment of a project 
OGN 200 Form 2
Document owner: Protected Sites Team, EPP
Version History:
	Document Version
	Date Published
	Summary of Changes

	1.0
	March 2016
	Document created

	1.1
	30 November 2017
	Minor changes only


Next review date:  April 2018
[image: image2.emf]
Protected sites advisor response to an internal consultation on the Habitats Regulations Assessment of a project 
TO: 

William Wallace, Senior Permitting Officer Installations and RSR
FROM: 
Kirsty Williams, Maria Majka protected sites officers
SUBJECT:
Habitats Regulation Assessment of PAN-023536 Bartley Power Limited. 

Bartley Power limited have applied for a permit under the environmental permitting regulations (EPR) for their power generator site at Ruabon which is made up of 10 x containerised Caterpillar gas engines which have a thermal input if 4.7 MWth giving a site total of 47 MWth. Each combustion unit has its own associated emission stack (10 meters in heigh).  The site also has a backup diesel generator which is below 1 MWth and is therefore not subject to MCPD.

The facility is classified as a specified generator that is made up of 1-5 MWth medium combustion plants under the Environmental Permitting Regulations 2016,  Medium Combustion Plant directive (MCPD) and Specified Generator regulations
The combustion units at the site were brough online on the 23rd of November 2018. As the units were commissioned before the 20th December 2018, they are classified as existing. 

As the site is a specified generator which is made up from existing units with a combined thermal input of more than 5 MWth the operator is required to have a permit and comply with the relevant emission limits of 190 mg/m3 by the 1st January 2025. 

This permit application is to bring the site into regulation by and for the site to meet the requirements of MCPD, EPR and the emission limits. 
Thank you for consulting Flintshire and Wrexham environmen tream on the above project and sending us a copy of the draft Form 1 HRA report dated 13/3/2024. Our comments are as follows:
Johnstown Newt Sites Special Area of Conservation (SAC) EU SAC Code UK0030173
River Dee and Bala Lake/Afon Dyfrdwy a Llyn Tegid SAC

Berwyn a Mynyddoedd De Clwyd / Berwyn and South Clwyd SAC

On the 11/4/2024, the environment team met with the air quality specialist Heather Galliford. Based on the contents of the HRA and the  advice sought from the meeting the environment team agrees with the conclusions of the HRA. 

Signed: 
Rhys Ellis 
Date:11/04/2024
Form








Page 1 of 2
www.naturalresources.wales

20
Page 2 of 2
www.naturalresources.wales


