[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





	Notice of request for more information

	Environmental Permitting (England and Wales) Regulations 2016






Notice requiring further information 
To: David Williams
1 Cornel Cottages
Llanwrthwl
Llandrindod Wells

Powys

LD1 6NN

Application number: PAN-024416
Natural Resources Wales, in exercise of its powers under paragraph 4 of Part 1 of Schedule 5 of the above Regulations, requires you to provide the information detailed in the attached schedule. The information is required in order to determine your application for a permit, dated 12/01/2024. The information requested should be sent to the following address by 06/05/2024.
Information should be sent to: 

[image: image1.jpg]
Natural Resources Wales                               
Welsh Government Offices 

Cathays Park 

King Edward VII Avenue

Cardiff

CF10 3NQ
Or emailed to:

waterquality.permitting@cyfoethnaturiolcymru.gov.uk
	Name
	Date

	Emma Jones

	22/04/2024


Authorised on behalf of Natural Resources Wales
Schedule

1. Labelled photographs showing the location of the existing drainage field; its proximity to the ditch in the marshy field to the rear of 1 Cornel Cottages, and proximity to the unnamed watercourse into which the proposed system will discharge; and a similarly labelled site plan showing the locations of where the photographs were taken. Alternatively, identified Geotagged photographs of the above locations can be provided. 
2. A second site plan labelled with a cross (X) showing the location of the solid foul blockage approximately 9 m downstream of the septic tank referenced in the Drainage Investigation Report Auger Ref:161404.1SIN. Also, the location and direction of view labelled on the site plan for photographs referenced Fig 1.3: Water flowing above ground in field to rear, and Fig 1.4: Location of stream to rear, contained in the Drainage Investigation Report Auger Ref: 161404.2.PRC  
3. Chemical analysis of the septic tank effluent discharge to include:

I. Biological Oxygen Demand (BOD) in mg/l

II. Total Suspended Solids in mg/l 

III. Ammoniacal Nitrogen in mg/l

IV. Total Phosphorus in mg/l

4. The make and model of package treatment plant to be installed, and manufacturers certificate demonstrating the treated effluent quality including:
I. Biological Oxygen Demand (BOD) in mg/l

II. Total Suspended Solids in mg/l 

III. Ammoniacal Nitrogen in mg/l

IV. Total Phosphorus in mg/l

5. Written confirmation you own the land across which the proposed effluent outfall pipe will pass. If you do not own the land, please provide evidence you have an agreement with the landowner allowing access for installation and ongoing/future maintenance of the proposed sewage system.
Cyfoeth Naturiol Cymru


Swyddfeydd Llywodraeth Cymru 


Parc Cathays �Rhodfa’r Brenin Edward VII 


Caerdydd�CF10 3NQ











Ffôn/Tel

0300 065 3478
Ebost/Email
Gareth.Foulkes@cyfoethnaturiolcymru.gov.uk 



waterquality.permitting@cyfoethnaturiolcymru.gov.uk

Cyfoeth Naturiol Cymru, Swyddfeydd Llywodraeth Cymru, Parc Cathays, Rhodfa’r Brenin Edward VII, Caerdydd, CF10 3NQ
Natural Resources Wales, Welsh Government Offices, Cathays Park, King Edward VII Avenue, Cardiff, CF10 3NQ
Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk 

Correspondence welcomed in Welsh and English

Page 2 of 3

Page 3 of 3

