	SCHEDULE 5 Notification

	Part A 

	Permit Number:
	EPR/BW2692IM

	Name of Operator:
	Tata Steel UK Ltd

	Location of Facility:
	Port Talbot Works

	Time & Date if the Detection
	30th April 2024


	(b) Notification requirements for breach of a permit condition

	

	Emission point/reference source
	Morfa Hazardous Landfill

	Parameter(s)
	Breach of permitted limits on BH12S, BH25S, BH28S, BH29S

	Limit
	As 50µg/l

	Measured value and uncertainty
	BH12S: As 61.2µg/l
BH25S: As 96.1µg/l
BH28S: As 73.8 µg/l
BH29S: As 119µg/l

	Date and time of monitoring
	2024 Q1 results. Potential beaches detected. Further investigation will be carried out and laboratory will be asked to re-sample existing samples if possible to check for error. 

	Measures taken, or intended to be taken.
	Measures Taken 

Requested laboratory to carry out resampling of existing samples if possible to check for error. 
Measures intended to be taken 

Investigation to be carried out. 
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