# Natural Resources Wales permitting decisions

# Variation

We have decided to review and where appropriate issue variations for Environmental Permitting Regulations water discharge activity permits from an agreed list of Dŵr Cymru Welsh Water Waste Water Treatment Works. These are the most significant permitted water quality discharges of phosphorus entering into the catchment area of a  Special Area of Conservation (SAC) river in Wales. These are bespoke permits for Water Quality discharges of 20m3/day or more operated by Dŵr Cymru Cyfyngedig. The SAC river catchments covered by this review are Cleddau, Eden, Gwyrfai, Teifi, Tywi, Glaslyn, Dee, Usk and Wye.  The variations at a site may include consolidating more than one discharge activity into a single permit where different discharges at a site are currently regulated by multiple permits.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Key issues

# Key issues of the decision

ALL Review of Permits (RoP)

In January 2021 NRW published a report in which we presented our compliance assessment for phosphorus in river Special Areas of Conservation (SAC) against revised targets.

We have a duty under Article 6(2) of the Habitats Directive and associated Regulations to take appropriate measures to avoid the deterioration of SACs.  One of the appropriate measures we have decided to take in relation to managing the phosphorus levels in our SAC rivers is to review the permits of discharges that contain phosphorus to ensure that the permit holders contribute their ‘fair share’ of the reduction in phosphorus levels required to avoid deterioration.

The permit review was undertaken in line with phosphorus catchment modelling undertaken by the operator and using the response from the operator to an Environmental Permitting Regulations 2016 Regulation 61(1) Notice.

RoP with new backstop 5 mg/l P limit

For those permits not requiring any improvement (and don’t already have a tighter P limit) a phosphorus backstop limit of 5mg/l will be added effective from the date of issue. We will apply an annual average for Total Phosphorus (TP) expressed as mg/l in these permits.

We have issued permits with effective dates in line with DCWW sampling plan and its conclusion within the completion date for the RoP. We have requested that DCWW inform us of the plan for sampling sites where no samples have yet been taken as changes to permits will need to be made within the review timescale.

RoP with tighter P limit limits

Permits for sites requiring a P limit of under 5 mg/l will be issued with a backstop limit of 5 mg/l effective as of date of issue. Additionally, they will have an improvement condition. This will specify the required P limit (<5 mg/l) and effective date of March 2030 (end of AMP8) unless a different date has been agreed.

RoP descriptive to numeric

Some permits in the review currently only have descriptive conditions or more relaxed than required to be considered appropriate treatment under UWWTR. They will need to be amended to a numeric permit to include a P limit. We will add BOD, Ammonia and Suspended Solids limits to these permits to bring them in line with a numeric permit and requiring the operator to undertake operator self-monitoring and reporting.

From NRW guidance to DCWW dated 2015 The following table represents ‘default’ effluent standards that will be imposed where there is no ‘tighter’ River Needs requirement.  They should be interpreted as the ‘least stringent’ – ‘back-stop’ (most relaxed) limits allowed where NRW has decided to issue numeric conditions (for descriptive consents - presumption is that treatment in place must be sufficient to meet these default values for descriptive conditions to considered).

i). Default effluent standards (Sanitary determinants)

| Origin of default value | BOD (95%ile) | SS (95%ile) | Ammonia (95%ile) |
| --- | --- | --- | --- |
| Urban Waste Water Treatment Regulations (UWWTD) secondary treatment (Freshwater) | 40 mg/l | 60 mg/l |  |
| Urban Waste Water Treatment Directive (UWWTD) Appropriate Treatment (Freshwater) | 40 mg/l | 60 mg/l |  |
| Habitats Regulations (Riverine SAC) | 40 mg/l | 60 mg/l | 20 mg/l |
| Fresh Water Fish Directive (FWFD) | 40 mg/l | 60 mg/l | 20 mg/l |

Include ref to new Ammonia (NH3)

Urban Waste Water Treatment Directive (UWWTR) sets out a minimum bar for sewage treatment.  For any discharge to controlled waters ‘appropriate treatment’ is defined as ‘secondary’ interpreted in UK as 40/60 (20 mg/l Ammonia comes from Fresh Water Fish Directive (FWFD) adopted into Water Framework Directive).  This has been addressed in past AMP Drivers to Directive time tables that have been and gone; and discussed at length with DCWW in the past.  Any discharge providing treatment to less than 40/60/20 is not providing appropriate secondary treatment – Directive deadline for which was 2010.

Mon 3/4 and permit consolidation

Where the permit variation and consolidation is to reflect asset improvements that have been agreed between Natural Resources Wales and Dŵr Cymru Cyfyngedig as part of the National Environment Programme including flow monitoring. This permit requires the operator to install overflow operation monitoring into storm storage, MCERTS flow monitoring to record flow passed forward and discharge operation monitoring on the settled storm discharge. Compliance assessment against flow passed forward and overflow operation into storm storage will be carried out for the first full calendar year after both outputs have been claimed and all subsequent calendar years.