Part A

| Permit Number | VP3935AT |
| --- | --- |
| Name of Operator | Enovert South Ltd |
| Location of Installation | Tir John Landfill, Wern Terrace, Off Fabian Way, Swansea, SA1 8PA |
| Time and date of the detection | May 2024 |
| (b) Notification requirements for the breach of a limit (within 24 hours unless otherwise agreed) |  |
| Emission point reference/ source | Phase 2 LEW Leachate Wells Leachate Head above Cell Base >1m See Table 1 Below |
| Parameter(s) |  |
| Limit |  |
| Measured value and uncertainty |  |
| Date and time of monitoring |  |
| Measures taken, or intended to be taken, to stop the emission | Leachate remains contained within the engineered containment system, so no emission from the site is occurring. |

Part B to be supplied as soon as practicable

| Any more accurate information on the matters for notification under Part A. | Leachate removal to sewer is ongoing. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | Landfill capping works are continuing to progress well, which will further reduce rainfall infiltration. |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission | The elevated levels in some wells are due to the pumps failing due to the well conditions and a solution has been under discussion within Enovert and with NRW. Dosing with bleach failed to break up the blockage, we are now looking into other options into helping to breakdown this unknown substance utilising alternative chemicals. The substance has been sampled for laboratory analysis. |
| The dates of any unauthorised emissions from the installation in the preceding 24 months. | See previous notifications. |
| Name* | Elizabeth Forrest |
| Post | Environmental Data Analyst |
| Date | 21/06/2024 |

* authorised to sign on behalf of Enovert South Ltd

| Sample Point | Date | Leachate Head (m) | Comment |
| --- | --- | --- | --- |
| LEW07 | 29/05/2024 | 7.07 |  |
| LEW09b | 29/05/2024 | 14.85 |  |
| LEW13a | 29/05/2024 | 1.36 |  |
| LEW15a | 29/05/2024 | 14.74 |  |
| LEW16 | 29/05/2024 | 6.46 |  |
| LEW20 | 29/05/2024 | 1.18 |  |
| LEW21 | 29/05/2024 | 3.73 |  |
| LEW23 | 29/05/2024 | 4.04 |  |
| LEW24 | 29/05/2024 | 4.02 |  |
| LEW25 | 29/05/2024 | 6.43 |  |
| LEW26 | 29/05/2024 | 2.17 |  |
| LEW28 | 29/05/2024 | 5.60 |  |
| LEW29 | 29/05/2024 | 7.30 |  |
| LEW31 | 29/05/2024 | 4.87 |  |
| LEW32 | 29/05/2024 | 3.20 |  |
| LEW33 | 29/05/2024 | 4.83 |  |

Table 1: Breach of Compliance Limit for Leachate Boreholes Phase 2 area May 2024