## Instructions
Fill out the form on sheet 2 call Data Request Form. All parts must be filled in. If any of the points below are not applicable to your installation, please state this within your submission.
Gas/methane utilized or flared must be filled in for the previous 2 years.

## Data Request Form
Landfill details |  |  | Year | METHANE % AND GAS FLOW |  | GAS UTILIASTION |  |  |  | FLARE |  |  |  | ENGINE AND FLARE DETAILS
Site Name | Permit Reference | Postcode |  | Methane concentration of landfill gas %v/v (mean) | Landfill Gas Flow m3/hr (mean) | Gas utilization at the landfill (yes or no) | Gas utilized m3/yr | Methane utilized m3/yr | KWh generated | Flare present (Yes or No) | Landfill Gas flared m3/yr | Methane flared m3/yr | Hours of flare operating. Hrs total | Gas engine type. Comment on number and type/spec of engines. Engine capacity. Age. Hours run. | Flare type. Comment on type/spec of flare. Flare capacity. Flare Height. Age. Temperature of flare.
Tythegston Landfill | FP3893VN / QP3995FE | CF32 0NE | 2023 | 49.6 | 18 | Yes | 147818 | Not reported | 277600 | Yes | 7022 | Not reported | 76 | Tythegston #1 engine was a J208 330kw. This was removed and a new Scania SGI-13 200kw microgen was installed in Aug 2023 | 1 x 750 m3/hr Flare