Schedule 5 - Notification 

This page outlines the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	BU7766IC

	Name of operator
	Sundorne Products (Llanidloes) Ltd

	Location of Installation
	Bryn Posteg Landfill, Tylwch Road, Llanidloes, SY18 6JJ

	
	

	Time and date of the detection 
	25/10/23 16:30


	(a) Notification requirements for any activity that gives rise to an incident or accident which significantly affect the environment

	To be notified immediately

	Date and Time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of permit condition

	To be notified immediately

	Emission point reference/ source
	Bryn Posteg Landfill

	Parameter(s)
	Surface Water

	Limit
	pH:6-9 SS:50mg/l BOD:20mg/l Ammonia: 0.25mg/l

	Measured value and uncertainty
	NA

	Date and time of monitoring
	26/10/2023 – 16:00

	Measures taken, or intended to be taken, to stop the emission
	None


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	


	(c) In the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment

	To be notified immediately

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B to be supplied as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	Complaint received from NRW – 

Anonymous caller reported grey smelly water coming from the Brook. 
Complaint did not specify which brook or where, so we are unable to determine the exact location of detection.

No Grey smelly water has been identified during checks.

Samples have been taken from both brooks and have been sent for analysis.

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	None

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	Continued monitoring of brooks. 

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	Similar complaint received on 13/09/2023


	Name*
	Jordan Rees

	Post
	Environmental Technician

	Signature
	[image: image1.png]




	Date
	27/10/2023


* authorised to sign on behalf of Sundorne Products (Llanidloes) Ltd

