Odour management Plan


[image: image1.png]



CONTENTS

1.0 INTRODUCTION

1.1 Structure of Odour Management Plan

1.2 Waste Transfer/Material Recovery Operations

2.0 FEEDSTOCK INVENTORY

3.0 PROCESS MANAGEMENT

3.1 Waste Reception

3.2 Sorting and Segregation

3.3 Contrary and Non-Conforming Waste

3.4 Sorted Wastes

3.5 Contingency Planning

3.6 Internal Odour Assessment and Monitoring

3.7 Passive Odour Management

4.0 CONTAINMENT AND ABATEMENT

5.0 DISPERSION

6.0 SENSITIVE RECEPTORS

6.1 Dispersal Control

6.2 Responsibilities 

6.3 Procedures when Odours Arise

6.4 External Complaints

6.5 Detection of Odour during Olfactory Surveys

6.6 Corrective Actions

6.7 Review of Control Mechanisms

7.0 INCIDENTS AND EMERGENCIES

7.1 Machinery Breakdown

7.2 Staff Absence

7.3 Flooding

7.4 Fire

7.5 Site at Full Capacity

7.6 Odour Incident Management 

1.0     INTRODUCTION

The Environmental Permit (EPR/X3893HN/T002) covering the activities which allows Browns Waste Management & Recycling Ltd the acceptance of 25,000 tonnes of mixed waste per annum. Such operations will inevitably lead to the generation of some odour due to the nature of material and the processes. Effective operation and management of such facilities is therefore required to minimise the odour emissions from routine operations and minimise the risk of abnormal operational conditions resulting in increased risk of odour generation at the site at levels that can cause nuisance to local receptors.
This Odour Management Plan (OMP) has been produced in accordance with Natural Resources Wales (NRW)/Environment Agency (EA) guidance on OMPs and EPR H4 Odour Management. This OMP is aimed at assisting the operator in effectively managing potential odour releases associated with the operations at the permitted facilities and minimisation of the risk of abnormal operational conditions, which could result in increased risk of odour generation at the site to a level that may cause an impact outside the site boundaries.  
1.1 Structure of Odour Management Plan
The OMP structure is in accordance with the NRW/EA guidance and considers:

· Feedstock Inventory;

· Process Management;

· Evaporation;

· Containment and abatement;

· Dispersion;

· Sensitive Receptors; and

· Incidents and Emergencies.

1.2 Waste Transfer Station/Material Recovery Operations
Browns Waste Management is able to receive and process up to 25,000 tonnes per annum of non-hazardous organic waste from mixed sources. The Waste Transfer Station processing facilities are formed of three areas which receive waste for: 
1. Storage and transfer 
2. Storage, sorting and treatment
3. Storage, sorting and baling    
Area 1 – This waste is mainly mixed municipal type waste which could cause odour.

Area 2 – This is mainly mixed construction type waste which is unlikely to cause odour.

Area 3 – This is mainly single stream recycling waste which is unlilkely to cause odour.

All three area’s are monitored for odour and all reasonably practicable steps are taken to ensure no odour    emitted from site. 

The likelihood and frequency of exposure to odour arising from the facility is determined by a combination of the magnitude of release, the prevailing meteorological conditions, and the distance and direction of receptors in relation to the facility. Each of these factors are discussed in the following sections.
2.0     FEEDSTOCK INVENTORY
The site will operate a waste recovery operation through the sorting and segregation of non-hazardous wastes which enters the site from our own waste collections and from third party. In order to understand the odour potential of the different waste streams that enter the site, a feedstock inventory has been provided for the various waste types. Table 1 below provides an assessment of each waste type by source of material, identifying the typical and abnormal compositions of those waste types and providing and overall odour potential of that feedstock based upon the likelihood of abnormal compositions being encountered at site.

  Table 1 - Assessment of Odour Potential from Feedstock Inventory
	Waste Type
	Waste Source
	Typical Composition
	Abnormal Composition
	Likelihood
	Odour Potential

	Non hazardous mixed waste
	Commercial and Demomition.

	Soils, gravel, bricks, breeze blocks (or similar) concrete blocks, rubble, tiles (internal and external) and other ceramics.
	Construction and demolition wastes may contain plastics and metals, packaging. Occasional organic wastes.
	Low.
	Low – inert wastes are unlikely to generate odours.

	
	Domestic
	Soils, gravel, bricks, breeze blocks (or similar) concrete blocks, rubble, tiles (internal and external) and other ceramics.
	Domestic construction wastes may contain plastics and metals, packaging. Occasional organic wastes.
	Low
	Low – inert wastes are unlikely to generate odours.

	Non hazardous mixed waste
	Commercial and Industrial
	Mixed black bag commercial waste 
	
Mixed commercial waste that could contain food
	Low/medium
	Low/medium – Odour would depend on level of food waste

	Metals
	Commercial and industrial.
	Ferrous and non- ferrous metals
	Contaminated with organic contraries.
	Low
	Low – metal wastes are unlikely to generate odours.

	
	Domestic
	Ferrous and non- ferrous metals
	Contaminated with organic contraries.
	Low
	Low – metal wastes are unlikely to generate odours.

	Plastics
	Commercial and industrial.
	PET, HDPE, PVC, LDPE, PP, PS,

other
	Contaminated with organic contraries.
	Low
	Low – plastic wastes are unlikely to generate odours.

	Wood Wastes
	Commercial and industrial.
	Wood, bark, sawdust, wooden packaging.
	Contaminated with decomposing materials and packaging materials.
	Low-Med
	Low/Med – wood wastes are unlikely to generate odours if stored for short periods.

	Paper & Card
	Commercial and industrial.
	Packaging, newspaper, magazines.
	Contaminated with decomposing materials and packaging materials.
	Low
	Low – paper/card wastes are unlikely to generate odours if transfer is rapid.

	
	Domestic
	Packaging, newspaper, magazines.
	Contaminated with decomposing materials and packaging materials.
	Low
	Low – paper/card wastes are unlikely to generate odours if transfer is rapid.

	Glass
	Commercial and industrial.
	Glass (panes, chips, shards) bottles, containers and jars.
	Contaminated with organic contraries.
	Low
	Low – glass wastes are unlikely to generate odours.

	
	Domestic
	Glass (panes, chips, shards) bottles, containers and jars.
	Contaminated with organic contraries.
	Low
	Low – glass wastes are unlikely to generate odours.

	Hardcore and Aggregates
	Commercial and

industrial
	Inert materials, aggregate gravels, sand, building rubble
	Contaminated with contraries.
	Low
	Low – hardcore and aggregate materials are unlikely to generate odours.

	
	Domestic
	Inert materials, aggregate gravels, sand, building rubble
	Contaminated with contraries.
	Low
	Low – hardcore and aggregate materials are unlikely to generate odours.

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


	
	
	

	

	
	


	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


3.0     PROCESS MANAGEMENT
The following section outlines the waste recovery processes operated by Browns Waste Management. The monitoring parameters, process controls and records at each stage within the recovery process for the minimisation of the production of odours are provided herein.

3.1 Waste Reception
The following assumes full pre-acceptance and acceptance procedures are followed. On arrival, vehicles are weighed on the site weighbridge and directed to the waste transfer facility reception area where they unload into the specified area or bay.

	WTS Process => Waste Reception

	Potential Odour Issue
	Critical Limits
	Process Controls
	Records

	Release of odours during delivery of waste materials.
	Presence of odorous materials. Potential odour issue outside the site boundaries
	Monitor weather conditions, specifically wind direction and wind speed. Ensure suitable staffing, sorting/storage area and equipment in place for dealing with waste input. Odorous waste offloaded in building, if possible.
	Non-conforming waste - Site Diary


3.2 Sorting and segregation
Following the waste acceptance and identification, active sorting and segregation begins including both mechanical and manual sorting (picking line). 

	WTS Process => Sorting and Segregation

	Potential Odour Issue
	Critical Limits
	Process Controls
	Records

	Release of odours during sorting and segregation of waste materials.
	Odour detected during sorting. Potential odour issue outside the site boundaries
	Likely odorous wastes are sorted and segregated for immediate disposal
	Non-conforming waste - Site Diary


3.3 Contrary and Non-conforming waste
Contrary, non-conforming wastes are immediately segregated to specific containment. Where odorous or wastes likely to become odorous are discovered they shall be segregated to sealed, leak-proof, labelled containers (skips, or similar).

	WTS Process => Contrary Materials

	Potential Odour Issue
	Critical Limits
	Process Controls
	Records

	Release from odorous materials.
	Odour detected during sorting.
Potential odour issue outside the site boundaries
	Offending materials is either removed off site as soon as practicably possible for disposal 0r moved to contained storage 
	Non-conforming waste – site diary


3.4 Sorted Wastes 
Stockpiled wastes, if stored in an appropriate manner and removed off site within a reasonable period of time should not present an odour source. Odorous wastes or wastes likely to cause odour because of biodegradation are to be immediately processed/segregated and if possible contained or where appropriate diverted off site to a licensed facility.

	WTS Process => Processed Waste Storage

	Potential Odour Issue
	Critical Limits
	Process Controls
	Records

	Release from odorous biodegradable materials.
	Odour detected following sorting.
Potential odour issue outside the site boundaries
	Materials are managed to prevent the generation of odour.  Materials are stored for acceptable period of time.  Removal from site to other suitably licensed facility 
	Non-conforming waste- site diary


3.5 Contingency Plans
Should the above process controls fail at any point within the processing of wastes through either of the operational processes and resulted in potential impact on the amenity of the local receptor due to the odorous release outside the site boundaries, acceptance of waste into the site will cease and the odorous material taken off site for disposal at a suitably Permitted waste management facility. Receipt of feedstock materials shall not recommence until a full review of this Odour Management Plan has been conducted and process controls amended as required.

3.6 Internal Odour Assessment and Monitoring
Browns Waste Management will carry out odour regular checks as part of the daily site monitoring that is conducted by the Site Foreman. All contrary findings are reported and if necessary actions are taken and recorded.
The odour assessor may not be subject to significant odour in the 30 minutes prior to the assessment. This is to ensure that the assessor is not suffering from odour fatigue and will be sensitive to any abnormal odours. Any odours found to be present onsite will be recorded and their source investigated and steps will be taken to mitigate the sources of odours using the strategies to control odour as outlined above. The internal monitoring procedure, including a survey of odour reports will be re-assessed annually as part of the Environmental Management System Review process.
3.7   Passive Odour Management
Site housekeeping and cleanliness, including end of working day litter picking and sweep of reception area, scraping up remaining areas to minimise, where reasonably practicable, any materials that are left on edges or corners of the site are undertaken daily. 
4.0     CONTAINMENT AND ABATEMENT
The site currently does not employ either containment or abatement systems for the control of odours at the WTS facility.

5.0     DISPERSION
Weather conditions (including wind speed and direction) shall be visually assessed and recorded at regular intervals as outlined in Section 3.6. All operational staff will be responsible for reporting any odour problems immediately to the Site Foreman (or designated responsible person).

6.0     SENSITIVE RECEPTORS
The site is located adjacent to one another site which is also holds a waste transfer permit. The Site is relatively remote from 

other businesses and residences apart from other waste treatment premises and therefore the number of sensitive receptors is minimal.
   6.1
Dispersal Control
Wastes are sorted within minimal timeframes of tipping so that any odorous materials are identified and removed at the earliest opportunity. This coupled with the remote location 
of the Site means it is therefore unlikely that there will ever be an odour issue that could be exacerbated by strong winds blowing in the direction of these populations. 

6.2
Responsibilities

The overall responsibility for the site shall remain with the director. Day to day operational responsibility for the WTS is maintained by the site’s Operations manager and competent persons or COTC holders (Certificate of Technical Competence holders).

6.3
Procedures when Odours Arise

In the event of an odour incident, all processing will cease to investigate the incident.  The route cause of the odour will be indentifed and isolated as soon as practicable.  The odour will be monitored until it has gone.  The incident will be recorded in the site diary.  The source of the waste will be investigated to ensure it does not happen again or is controlled before entering the site.
6.4
External Complaints

Any complaints relating to the odour of the site will be taken seriously and channeled through a senior member of staff. Staff taking note of the complaint will record all details and conduct an investigation. When undertaking an investigation into the complaint the External Odour Complaint Investigation Form should be completed. 
6.5
Detection of Odour during Olfactory Surveys

Detection of a “distinct odour” will initiate a more extensive olfactory survey to determine the extent of the odour plume. The Site Foreman or designated responsible person will be notified immediately and an olfactory survey will be undertaken utilizing in order to attempt to determine the scope and extent of the odour plume. 
6.6
Corrective Actions

If deemed necessary corrective actions will be agreed and implemented as soon as practicable. If appropriate Natural Resources Wales will be informed of the results of the investigations and of the actions that are to be taken in line with the requirements of our Environmental permit.

6.7
Review of Control Mechanisms

All instances of odour complaints are reviewed as part of our Environemental Management System. Where necessary this odour management plan will be reviewed for effectiveness and updated accordingly.
7.0     INCIDENTS AND EMERGENCIES
In accordance with the requirements of NRW/EA’s Technical Guidance Note H4, types of failure or abnormal events considered to have the potential to result in an odour impact have been considered. These have been identified as abnormal meteorological conditions and failure of aspects of the Atlantic’s site general activities during any of the stages previously described. Failure and abnormal event scenarios with response requirements are summarised below.

7.1 Machinery Breakdown
Breakdown of equipment, which may result in a delay in processing the material received. Magnitude of impacts will depend on the length of the breakdown, the type and volume of waste received and the prevailing meteorological conditions but could potentially result in elevated odour concentrations at receptor locations.

	A- Machinery Breakdown

	Mitigation Measure
	The potential failure would be minimised through routine maintenance of equipment, servicing in accordance with manufactures guidelines, provision of adequate spares, and a service level agreements to replace plant (or source hire plant) within 48 hours.


7.2 Staff Absence
Short-term staff shortages (such as a few days illness) will not affect the ability of the site to operate effectively as other staff members can be reassigned to critical operations. Magnitude of impacts will depend on the length of the absence, the number of staff absent at any one time, and the seniority of the staff member, but could potentially result in elevated odour concentrations at receptor locations should process controls not be managed effectively.

	B - Staff Absence

	Mitigation Measure
	In the event of prolonged absence of staff members, temporary staff will be recruited and appropriately trained to fulfil non-critical roles whilst other more experienced staff members are reassigned.

If widespread illness occurs amongst staff members (such as food poisoning), the delivery of waste to the site will be suspended until sufficient staff are present to operate the site.

If prolonged, widespread absence occurs, the operators would contact alternative operators, such as other WTS site operators / Sub contractor providers for emergency assistance.


7.3 Flooding
If the site becomes flooded, this will inhibit effective control over deliveries of the waste material. 
	C - Flooding

	Mitigation Measure
	In a flooding situation no further waste would be able to access the site and priority would be given to ensuring the on-going effective processing of waste.


7.4 Fire
Fire at the site is considered to be a potential given the varied materials accepted to the site. As with all fires the immediate response would be the responsibility of the Fire Brigade and odour would not be the primary concern.

	D - Fire

	Mitigation Measure
	Depending on the severity of the fire, site critical equipment may have been damaged and no further reception or processing of waste would be undertaken until agreed with NRW. If equipment will be inoperable for extended periods of time, consideration will be given to the removal of material from site until repairs are effectuated.


7.5 Site at Full Capacity
There is the potential that should new contracts be won for processing wastes that the site will be operating close to full capacity which could lead to stretching of the sites resources during busy periods. The site could generate odours during this period if material is not processed as soon as is required within the process controls.

	E - Site at Full Capacity

	Mitigation Measure
	The site will not accept more waste that it can process effectively at any one time and not above the permitted tonnage per annum.

In the event that the site reaches its maximum capacity, the Compliance Manager will, if feasible, divert any further incoming waste from the sites to neighbouring facilities that are able to process the same types of waste until such a time when the site can resume operations within its normal operating capacity.


7.6 Odour Incident Management 
Procedures are in place as identified in Table 2 below for the management of odour incidents. The identified incidents, potential for occurrence and anticipated consequences have been discussed. A set of actions to be taken in order of priority is presented to be carried out by the site operatives and management.

Table 2 - Odour Incident Management Plan
	Accident Type
	Potential Occurrence
	Consequences
	Actions

	Plant or Equipment failure
	Seldom.

Stringent preventative maintenance procedures in place to ensure all machinery remains functioning
	If waste is not processed for a long period compaction reduces the available oxygen which will lead to odours once the machinery is fixed.
	· Inform management

· Establish time frame for repairs to be undertaken

· Maintain supply of spare parts

· Hire or source an alternative piece of equipment.

· If no replacements are available divert waste to another site.

· If diversion is not available cease accepting waste

· Inform NRW if necessary

· Record and review the incident

	Fire / Flood - contaminated water and polluting smoke
	Extremely rarely.
	· Potentially polluting liquids flowing onto hard standing and leachate collection area where they will have the potential to generate odours.

· Polluting smoke.

· Exploding of fuel containers.

· Wind dispersal of pollutants.
	· Raise alarm on-site

· Ensure personnel evacuated and accounted for from danger area.

· Ensure all staff are alerted.

· Call fire service and other emergency services as required.

· Inform site management.

·  inform NRW.

· Post member of staff at entrance to site to direct emergency services.

· Liaise and follow instructions of emergency team making them aware of any hazards on-site.

· Consult site register for COSHH if appropriate.

· Prevent fire waters causing pollution on-site.

· Excess water should be removed from site to prevent odours

· Record and review incident.



	

	
	


	


	
	

	
	

	

	

	
	

	
	

	
	

	
	

	
· 

	

	· 

	

	· 
	

	· 
	

	· 

	

	

	

	

	

	
	

	

	

	


	

	


	

	
	









	
	
	
	

	
	
	
	
	
	

	


	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	

	
	
	
	
	

	

	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	

	
	
	
	
	





	





	








Odour Complaint Investigation Record

Odour Monitoring Record
� HYPERLINK "http://brownswasteservices.co.uk/" ���


Browns Waste Management & Recycling Limited, Taybrite Yard, Heol Y Bwlch, Bynea, Llanelli SA14 9SU


Tel. 01554 770729	


Email. �HYPERLINK "mailto:info@brownswasteservices.co.uk"��info@brownswasteservices.co.uk�


Website.  www.brownswasteservices.co.uk











North








�Really? There are certainly adjacent sites to both Neals and Atlantic.  Neals is not an issue from odour point of view, but Atlantic may be.  Ther is a site to the south of Atnatic and the caping site to its north east


�How would you like to word this?


�Not really






