- Application type

New full abstraction licence			☐	Give existing licence serial number and/

New temporary abstraction licence		☐	pre-application reference number

WA/055/0001/003/V001 (Impoundment Licence)

WA/055/0001/003/V001 (Impoundment Licence)

New licence to transfer water			☐

Renewal of a time-limited abstraction licence	☐

Technical variation to an abstraction licence	☒

### For hydropower abstractions, specify the capacity (in kilowatts) of your scheme.

### 25kW or less	☐		>25 to 50kW	☐		>50 to 100kW ☐		>100kW ☒

- Linked licences

2.1 Does your proposal involve water rights trading?

No	☒	Yes	☐ 	If yes, provide licence serial 
			number(s)

Linked to the impoundment licence granted - WA/055/0001/0007/V001

2.2 Is the licence (to be) aggregated with any other licences?
No	☐	Yes	☐ 	If yes, provide licence serial 
				number(s)

- Abstraction details

## Provide details of all points of abstraction. Details of abstraction location(s) should correspond with any maps submitted.
If necessary, continue on a separate sheet and tick here to show that you have done this ☐

| Abstraction location name / reference | Type (single point / reach) | National Grid Reference (12 digit) | If a reach, downstream National Grid Reference (12 digit) |
| --- | --- | --- | --- |
| Afon Claerwen Hydro Intake | Single point | SN 88370 62774 |  |

- Means of abstraction
Detail the structure and equipment involved in the abstraction process.  If this information is detailed in a supporting document, provide the document reference. For groundwater abstractions, include borehole depth and diameter and provide details of screening and lining.
If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

Intake weir consisting of a coanda screen, weir is split in two with an island (natural and existing) in the middle. Two rocky-ramp (fish pass/easement) will be constructed as part of the structure (see attached drawings).

- Abstraction quantities

Provide details of the abstraction quantities and periods proposed, including any deregulated abstractions (< 20 cubic metres per day) you currently have. Details of abstraction locations should correspond with any maps submitted.

| Abstraction location name / reference | Purpose which water will be used for | Abstraction period (state ‘all year’ or give months) | Maximum annual abstraction volume (cubic metres) | Maximum daily abstraction volume (cubic metres) | Maximum hourly abstraction volume (cubic metres) | Number of hours of abstraction per day | Peak abstraction rate (litres per second) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Afon Clearwen Intake | Electricity Generation | All Year | 116,683,200 | 319,680 | 13320 | 24 | 3700 |
|  |  | Total | 116,683,200 | 319,680 | 13,320 |  |  |

- Calculations and supporting information

Please provide further details of your intended use of water, including calculations in support of the quantities you have requested, your operational regime and any management agreements. See Guidance Note WRX for details of what is required. If your proposal involves the provision of a residual flow via a notch or orifice, provide information on how this has been calculated.

If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

The water will run through a Francis turbine which is directly coupled to a generator. The generated electricity is exported to the national grid.

- Industry-specific requirements

Complete the relevant table in line with the purpose of your proposal to demonstrate a justification of need for the quantities proposed. For uses not covered here or to provide further details, please use a separate sheet and tick here to show that you have done this ☐

7.1 For agricultural use:

| Crop type | Soil type (for multiple soil types, indicate approximate split) | Maximum area of crop to be irrigated annually (hectares) | Maximum annual depth of irrigation to be applied (millimetres) |
| --- | --- | --- | --- |
| e.g. Carrots | Silty clay | 10 | 90 |

| Livestock type | Number of animals | Maximum daily quantity of water used (cubic metres) | Comments |
| --- | --- | --- | --- |
| e.g. Sheep | 200 | 0.005 per animal | Drinking water |
| Provide details of any additional requirements (washing / cleaning) |  |  |  |

### 7.2 For golf course irrigation:

| Feature | Maximum area to be irrigated daily (hectares) | Maximum depth of water to be applied daily (millimetres) |
| --- | --- | --- |
| e.g. Greens | 0.9 | 220 |
| Tees |  |  |
| Greens |  |  |
| Fairways |  |  |
| Others |  |  |

### 7.3 For industrial use:

| Industry sector or process type | Water use per unit produced (state units) | Maximum units produced per year |
| --- | --- | --- |
| e.g. Ice cream | 1.9 cubic metres per tonne of ice cream | 10,000 tonnes |

7.4 For hydropower:

If you have submitted this information as part of your pre-application enquiry and no changes have been made to your proposal in the meantime, you are not required to provide these details again.

| % abstraction and zone applied for (see HGN2) | Average gradient of depleted reach (%) | Catchment size above abstraction point (kilometres square d) | Net head between abstraction and discharge points (metres) |
| --- | --- | --- | --- |
| Turbine efficiency (%) | System efficiency (%) | Maximum power output (kilowatts) | Annual capacity (kilowatt hours) |
| 90 | 70 | 1100 | 4300,000 |

1850

1850

State the length of depleted reach (in metres)

| Provide the flow data (in cubic metres per second) & ratios specified below: |  |
| --- | --- |
| Q95 | 0.279m3/s |
| Q10 | 7.986 m3/s |
| Qmean | 3.26 m3/s |
| What is the ratio of Q95:Qmean? | 2.450 |
| What is the ratio of Q10:Qmean? | 0.086 |

Please send us a copy of the full flow duration curve for the site and confirm the method used to derive this. If you have used modelling software such as LowFlows, please provide us with a copy of the output (graph, data and catchment map) including the Long Term Average rainfall.

Hands off Flow - 0.040m3/s, max abstraction rate is 3.7m3/s

Hands off Flow - 0.040m3/s, max abstraction rate is 3.7m3/s

What low flow protection* do you propose to maintain in the depleted reach when the hydropower scheme is operating (in m3/s)?
 * Low flow protection is the flow rate above

which abstraction can begin and is separate

to the abstraction % take, see HGN2 for details.

- Means of measurement

State how you intend to measure abstracted quantities at each abstraction point.

Meter		☐		Power Generated		☒		Other		☐

### If other, please specify

- Water efficiency

Describe all steps you have taken or intend to introduce to ensure efficient use of water, such as water storage, re-use or conservation provision. If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

- Fish and eel considerations (surface water abstractions only)

## 10.1 Confirm the fish species present at your site. If you are submitting a survey or report with your application, please tick here to show that you have done this. ☐

## Small amount of Brown Trust, fish easement at intake allowing route for upstream migration and downstream

## 10.2 Does your proposal include measures to safeguard fish and eels? Only provide details of outfall screening if abstracted water is to be discharged back into a watercourse.

|  | Intake | Outfall |
| --- | --- | --- |
| Type of fish screen | Coanda | Non rounded bar screen |
| Screen aperture size (mm) | 2mm (no larger 3mm on current licence) | 10mm |

- Discharge details

11.1 If you intend to return any of the abstracted water to the environment, provide details below. Details of discharge location(s) should correspond with any maps submitted.

| Discharge location name / reference | National Grid Reference of discharge point (12 digit) | Total volume to be discharged (cubic metres) | Environmental Permit for Water Discharge Activity number (if applicable) |
| --- | --- | --- | --- |
| Tailrace | SN 89602 61828 | 3.7 cubic metres per second |  |

11.2 Provide a description of the structure and equipment involved in discharge.

### Adjacent to the powerhouse is a concrete outfall channel (Tailrace) with screen

- Other abstractors / water users

## Provide details of nearby abstractors or users of water who could be affected by your proposal. This should include deregulated users (exempt activities or abstractions < 20 cubic metres per day), anglers and canoeists.

The weir will only abstract the flow rate being released by Claerwen dam, so that the Clearwen flows are always maintained in the river downstream of the abstraction point.

The weir will only abstract the flow rate being released by Claerwen dam, so that the Clearwen flows are always maintained in the river downstream of the abstraction point.

Planning Permission has been granted P/2018/0234

Planning Permission has been granted P/2018/0234

Planning application

Have you sought advice on your planning application?

No	☐		Yes	☐

If yes, submit a copy of the Planning Authority’s response.

Please note – this is an application to vary the abstraction licence, items to update are:

Intake exact location, intake screen spacing (now 2mm not 3mm), new intake design drawing, and 3 year licence self-destruct clause to be brought to 2 years from now to give time for construction which is due to start shortly.

Please note – this is an application to vary the abstraction licence, items to update are:

Intake exact location, intake screen spacing (now 2mm not 3mm), new intake design drawing, and 3 year licence self-destruct clause to be brought to 2 years from now to give time for construction which is due to start shortly.

- Declaration

### Please see Guidance Note WRX for details of who can sign this section and note the information in that document relating to the Data Protection Act 1998.

### By signing below, you are declaring that as far as you know and believe the information given in this form, on any map and in any supporting or additional information, is true.

### Signed

Adam Cropper

### Print name

Agent

### Position

17.10.2019

### Date

Application Checklist

Please tick the following checklist items to indicate that you have included the required information. If any sections of the form are left blank and no supporting information submitted, where we have insufficient information to make a decision on your application, we will return your application to you.

Essential:

Form WRA completed										☒

Map showing applicant’s land boundary with all abstraction and discharge point(s) clearly marked												☒

Evidence of negotiations of expected access rights, if applicable				☐

State number of continuation sheets (enter 0 if none included)

Where relevant:

Letter of authorisation from the applicant, allowing the agent to act as signatory		☒

Form WRE completed, if your proposal also requires an impoundment licence		☐

Further information requested in our pre-application response letter to you			☐

For hydropower applications, full flow duration curve for the site, confirmation of the method used to derive this and a copy of the output (graph, data and catchment map) including the Long Term Average rainfall, where available							☐

Planning Authority response, where available							☐

Additional supporting information	- please list below:

Intake Drawing