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	Our ref: NRWWIA404  
Facility: St Lythans SRV
Date:       27 August 2024


FAO: Greg Cullling
WATER INDUSTRY ACT 1991 SECTION 165/166

CONSENT TO DISCHARGE: De-chlorinated water 
CONSENT REFERENCES: NRWWIA404
I enclose our formal consent to discharge de-chlorinated from St Lythans SRV, to an unnamed tributary of Wrinstone Brooke in relation to your application dated 21/08/2024.
You are required to give at least 24/48 hours notice to Natural Resources Wales prior to commencing the discharge. In order to do this, please contact the Cardiff and Vale Environment Team at CardiffVale@cyfoethnaturiolcymru.gov.uk 
The discharge point will have to be frequently monitored to check the stream banks and bed for any signs of scouring and potential silt mobilisation. If there are signs of scour then the discharge rate should be throttled back. Please ensure the the mitigation at the discharge remains in place and is also checked frequently and changed at least every 24 hours.
If you have any queries regarding the consent, please contact me on the phone number or e-mail address below.

Any work undertaken should take account of biosecurity risks, and mitigation measures should be put in place. The most important measure is to ensure that all equipment (plant, tools, footwear etc) that come to site, arrive clean, and are cleaned again before leaving site. This applies to all sites, not just those where an invasive non-native species (INNS), pest or disease has been previously identified. Information on how to assess biosecurity risks; simple steps to reduce risks; and specific measures for higher risk activities can be found on the GBNNSS website for INNS, or for tree health on our website. If you need any further help, please feel free to contact our INNS and Biosecurity team or our Tree Health team.

Brexit:

Following the UKs departure from the EU on 31 January 2020 and the end of the transition period on 31 December 2020, the legal obligations relating to compliance with environmental permits and legislation will continue to apply. NRW will continue to issue and regulate all permits and licences in line with our current practice.  If you have any questions about your permits or licences and/or site management, please contact our Customer Care Centre on 03000 653 000.
Yours sincerely,

Asta Smith
Permitting Officer – Water Quality Team
Ffôn/Tel
0300 065 4479
Ebost/Email
Asta.Smith@cyfoethnaturiolcymru.gov.uk  



Asta.Smith@naturalresourceswales.gov.uk 
Canolfan Trwyddedu Cymru (Caerdydd), Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Centre (Cardiff), Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP
Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 
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Correspondence welcomed in Welsh and English

UNCLASSIFIED


[image: image1.jpg]