| #### CRoW Appendix 4 (140_10_SD02) # CRoW Act 2000: Natural Resources Wales application for permission - Formal Notice |  |  |
| --- | --- | --- |
| Natural Resources Wales Formal Notice. Requirements of Section 28I of the Wildlife & Countryside Act 1981 as amended by the Countryside and Rights of Way Act (CRoW) 2000. Duty in relation to granting any consent, licence or permit for activities likely to damage Sites of Special Scientific Interest (SSSI). |  |  |
| Guide to filling in this form for Natural Resources Wales staff: To be completed by Permitting Officers for any applications for a permission which the Natural Resources Wales has considered under S28G duties to protect and enhance SSSIs. This applies to all proposed permissions within a SSSI, and to operations outside the SSSI boundary which are likely to damage its special features. Refer to OI 140_10 ‘Applying the Countryside and Rights of Way (CRoW) Act 2000 to applications for permits with potential for impact on Sites of Special Scientific Interest (SSSI)’, including the flowchart in Appendix 2. |  |  |
| Pink italic text – drafting notes, to be deleted before completion/consultation. Blue text – examples, to be replaced with permission-specific information. Ensure you have completed all sections. |  |  |
| Natural Resources Wales area/region/NPS hub: | South East |  |
| Name of SSSI: | Severn Estuary River Usk (lower Usk) Gwent Levels (Nash and Goldcliff |  |
| Type of permission: | Environmental Permit |  |
| Date for Natural Resources Wales permit determination: | 08/12/2019 |  |
| Predicted 28 day date for response from NRW conservation/ecology (under S28 I(4)): |  |  |
| Natural Resources Wales reference no: | PAN-005392 |  |
| National grid reference: | ST 33076 85700 |  |
| Description of proposal: | The application is for a complex bespoke Medium Combustion Plant (MCP) and Specified Generator (SG) permit for a natural gas fired electricity generating plant. The plant consists of 10 x 4.9 MWth gas fuelled generators with emissions less than 500mg/Nm3. Each generator is within an acoustically insulated container with an exhaust stack of 8m. They are expected to operate more than 50 hours per year under a capacity market or balancing services agreement signed after 31st October 2017 which remains in place after December 2018. It is therefore considered that the Site is comprised of “Tranche A generator which becomes a Tranche B generator” SGs with a permitting and compliance ELV date of 1st January 2019. For the reasons set out above, the Site will require an MCP permit by 1st January 2024 and an SG permit by 1st January 2019, since extended to 30th June 2019 by Natural Resources Wales’s regulatory decision. As such, this application is for an environmental permit that will satisfy the requirements of both Schedule 25A and 25B on the relevant dates. |  |
| Is the proposed activity within (wholly or partially) the SSSI boundary? | No |  |
| Has there been any pre-application discussion or correspondence with NRW conservation/ecology | No |  |
| What aspect(s) of the proposed permission may damage the features which are of special interest for the SSSI? - Air Quality – Oxides of Nitrogen The Tranche B Screening Tool (Appendix G of the application) indicated that a detailed Air Quality Assessment would be required for the permit application, provided in Appendix C of the application along with the model files. The assessment makes reference to any human or ecological receptors, as identified in Appendix D of the application, with existing air quality in the area, national air quality legislation, policy and guidance. The potential impact of the gas-fired plant on local air quality has been assessed using AERMOD, an advanced dispersion model developed for regulatory purposes, and used meteorological data measured between 2016 and 2018 at the Rhoose (Cardiff) weather station. Buildings/structures to account for downwash effects have been included in the air dispersion model. Concentrations of the key air pollutants (NO2, NOx and CO) have been predicted at existing sensitive human receptors (such as residences) and ecological receptors and hypothetical gridded receptors at a regular spacing of 50m covering the modelled domain of size 4km x 4km and 250m covering 20km x 20km approximately centred over the electricity generating plant. Background concentrations were used in combination with the predicted PC from the operation of the plant in order to determine the total PEC for each pollutant and relevant averaging period. It is understood that the plant is operated in accordance with the emissions parameters specified in Section 5.1.2 of the air quality report. The results have been compared to screening criteria from the Defra and EA guidance, with some exceedances of this criteria predicted; however the guidance notes this criteria should be used to determine whether detailed dispersion modelling is required (which has already been undertaken) and goes on to recommend the PEC results are compared to relevant environmental standards. The highest predicted impacts at any of the modelled off-site discrete receptor locations representative of relevant exposure in any of the three modelled meteorological years have been reported and compared to the relevant AQSs or EALs (i.e. annual and hourly mean NO2 concentrations, annual and 24-hourly mean NOx concentrations and 8-hourly mean CO concentrations) under two scenarios. For scenario 1, considering the development alone, there were no predicted exceedances of the annual and hourly mean NO2 or 8-hourly CO AQSs at any of the relevant modelled discrete human receptor locations in any of the modelled meteorological years. Receptor E13 (Severn Estuary) was predicted to exceed the annual mean NOx AQS, however the background concentration demonstrates that this location already exceeds the AQS, and the PC is insignificant at 0.19%. Receptors E06-E09 and relevant locations within the grid were predicted to exceed the 24-hourly mean NOx AQS. However, it should be noted that the modelling undertaken has assumed that the plant would be operating continuously throughout the year. In reality, the plant will run for a significantly lower proportion of the year (up to 1,500 hours), and the predicted daily average NOx concentrations are considered to be an overestimation. No significant impact on nitrogen or acid deposition on ecosystems in the surrounding area is expected. For scenario 2, considering the cumulative impact scenario of the operation of the development and the adjacent UKPR Solutia site, there were no predicted exceedances of the annual and hourly mean NO2 or 8-hourly CO AQSs at any of the relevant modelled discrete receptor locations in any of the modelled meteorological years. Again, receptor E13 was predicted to exceed the annual mean NOx AQS, however again this was due to the existing background concentration, and the cumulative PC is still insignificant at 0.31% of the AQS. Receptors E06-E10 and relevant locations within the grid were predicted to exceed the 24-hourly mean NOx AQS. However, as explained above, the predicted daily average NOx concentration is likely to be an overestimation. No significant impact on nitrogen or acid deposition on ecosystems in the surrounding area is expected. With consideration of the highly conservative approach to the assessment for short-term standards, and noting that the 24-hourly mean NOx AQS is only a target value, it is determined that the operational phase impacts on local air quality are not significant. Additional mitigation measures have not been recommended and the residual impacts are considered likely to be acceptable. |  |  |
| Decision - The proposed permission is not likely to damage any of the flora, fauna or geological of physiological features which are of special interest. |  |  |
| Natural Resources Wales is minded to: Issue the permission |  |  |
| Name and job title of Natural Resources Wales officer: | Jack Stevens Permitting Consultant |  |
| Date form sent to NRW conservation/ecology | 11/09/2019 |  |
| For Natural Resources Wales use only, once NRW conservation/ecology response received |  |  |
| NRW conservation/ecology comment on assessment: | Please delete as appropriate: i) NRW conservation/ecology advise the operation can go ahead ii) NRW conservation/ecology advise the operation can go ahead with conditions iii) NRW conservation/ecology advise against permitting the operation Please ensure that the NRW conservation/ecology response is attached to this Formal Notice. |  |
| Name and job title of NRW conservation/ecology officer: |  |  |
| Date of receipt of NRW conservation/ecology response: |  |  |