# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Pen Y Glol Caravan Park operated by Pen y Glol Limited.

The application number is PAN-020219

The permit number is EPR/DB3297CT

The discharge is for is for the first time regulation of an existing discharge serving the Pen Y Glol Caravan Park. The discharge is of secondary treated sewage effluent that is discharged to ground via an infiltration system. The discharge is a maximum of 15 cubic meters per day. The discharge is within the Ffynnon Asaph spring Source Protection Zone

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise, we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to consultation and web publicising | The consultation responses (Annex 2) were taken into account in the decision. There were no responses to web publicising. The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| WFD | The discharge activity screens out from needing further assessment under WFD as it is not in a water body at high status or high status for morphology, and it is listed in Annex D as a low risk activity plus there is no in combination impact. The application has been assessed via bespoke Ground Water Risk Assessment assessing the risk to the Source Protection Zone and has been reviewed and the findings agreed with by NRW Geoscience team. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is not within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site There is no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. Risk screening report for: Discharges greater than 2m3/d to ground did not identify any protected sites within screening distance. Report can be found on the DMS. https://cyfoethnaturiolcymru.sharepoint.com/teams/Regulatory/Permitting/North%20EPR%20Water%20Discharge%20Consents%20PR/PAN-020219/PAN-020219%20Risk_Screening_Report.pdf | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The measures proposed by the operator confirm to those set out in TGN How to comply with your permit. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. | ü |
| The permit conditions |  |  |  |
| Emission limits | We have decided that emission limits should be set for the parameters listed in the permit. It is considered that the numeric limits described below will prevent significant deterioration of receiving waters. We have imposed numeric limits because either a relevant environmental quality or operational standard requires this. The following limits have been set to be protective of the receiving groundwater Ffynnon Asaph spring Source Protection Zone (SPZ). These limits have been assessed within the operator supplied Groundwater Risk Assessment and assessed by NRW internal Geoscience team and are considered to be sufficient to safeguard the SPZ. Ammoniacal nitrogen (as N) 6 mg/l ATU-BOD as O2 11 mg/l | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a groundwater discharge activity permit under EPR2016. | ü |

# Annex 2: Consultation

Summary of responses to consultation, and the way in which we have taken these into account in the determination process.  (Newspaper advertising is only carried out for certain application types, in line with our guidance.)

Response received from

DCWW

Brief summary of issues raised

- management plan will be followed during the lifetime of the installation. - to ensure compliance with current regulations and best practice guidelines with respect to installation and maintenance of this sewage treatment facility - all particulars from the permit will be followed during the lifetime of the installation.

Summary of actions taken or show how this has been covered

Points raised will be covered via continued compliance and regulation of the issued permit.