Permit Number: 	DB3295CU					Operator: 		Circular Waste Solutions Limited

Facility:		Liquid Waste Treatment Facility		Form Number: 	 Air1 / 16/08/24

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | ### Hydrogen chloride (HCl) | 5 mg/m3 | Once every six months |  | EN 1911 |  |  |
| A1 | ### TVOC | 20 mg/m3 | Once every six months |  | EN 12619 |  |  |
| A1 | ### NH3 | No limit set | Once every six months |  |  |  |  |
| A4 | ### Hydrogen chloride (HCl) | 5 mg/m3 | Once every six months |  | EN 1911 |  |  |
| A4 | ### TVOC | 20 mg/m3 | Once every six months |  | EN 12619 |  |  |
| A4 | ### NH3 | No limit set | Once every six months |  |  |  |  |
| A5 | ### Hydrogen chloride (HCl) | 5 mg/m3 | Once every six months |  | EN 1911 |  |  |
| A5 | ### TVOC | 20 mg/m3 | Once every six months |  | EN 12619 |  |  |
| A5 | ### NH3 | No limit set | Once every six months |  |  |  |  |
| A6 | ### Hydrogen chloride (HCl) | 5 mg/m3 | Once every six months |  | EN 1911 |  |  |
| A6 | ### TVOC | 20 mg/m3 | Once every six months |  | EN 12619 |  |  |
| A6 | ### NH3 | No limit set | Once every six months |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	DB3295CU					Operator: 		Circular Waste Solutions Limited

Facility:		Liquid Waste Treatment Facility		Form Number: 	Sewer1 / 16/08/24

# Reporting of emissions to sewer for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | ### Adsorbable organically bound halogens (AOX). | 1 mg/l | Once every day |  | EN ISO 9562 |  |  |
| S1 | ### Benzene, toluene, ethylbenzene, xylene (BTEX). | None set | Once every month |  | EN ISO 15680 |  |  |
| S1 | ### Free cyanide (CN-). | 0.1 mg/l | Once every day |  | Various EN standards available (i.e. EN ISO 14403-1 and -2) |  |  |
| S1 | ### Hydrocarbon oil index (HOI). | 10 mg/l | Once every day |  | EN ISO 9377-2 |  |  |
| S1 | ### Arsenic (As). | 0.1 mg/l | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Cadmium (Cd). | 0.1 mg/l | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Copper (Cu). | 0.5 mg/l | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Nickel (Ni). | 1 mg/l | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Lead (Pb). | 0.3 mg/l | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Zinc (Zn). | 2 mg/l | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Manganese (Mn). | None set | Once every day |  | Various EN standards available (e.g. EN ISO 11885, EN ISO 17294-2, EN ISO 15586) |  |  |
| S1 | ### Hexavalent chromium (Cr(VI)). | None set | Once every day |  | Various EN standards available (i.e. EN ISO 10304-3, EN ISO 23913) |  |  |
| S1 | ### Mercury (Hg). | 10 μg/l | Once every day |  | Various EN standards available (i.e. EN ISO 17852, EN ISO 12846) |  |  |
| S1 | ### PFOA. | None set | Once every six months |  | No EN standard available |  |  |
| S1 | ### PFOS. | None set | Once every six months |  | No EN standard available |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	DB3295CU					Operator: 		Circular Waste Solutions Limited

Facility:		Liquid Waste Treatment Facility		Form Number: 	WaterUsage1 / 16/08/24

# Reporting of Water Usage for the year 20XX

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	DB3295CU				Operator: 		Circular Waste Solutions Limited

Facility:		Liquid Waste Treatment Facility	Form Number: 	Energy1 / 16/08/24

# Reporting of Energy Usage for the year 20XX

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	DB3295CU					Operator: 		Circular Waste Solutions Limited

Facility:		Liquid Waste Treatment Facility		Form Number: 	Performance1 / 16/08/24

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |
| Generation of residues |  | tonnes |  |
| Generation of waste water |  | M3 |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)