Environmental Permitting (England and Wales) Regulations 2016

Regulation 61(1)

NOTICE REQUIRING INFORMATION

To:	Company Secretary and/or Director

Blaenau Gwent County Borough Council

The General Offices

Steelworks Road

Ebbw Vale

Blaenau Gwent

NP23 6DN

This notice relates to the activities you operate that are authorised by the permit number specified below:

Permit reference: EPR/MP3835SV

Regulated facility: Silent Valley Landfill Site

Climate change adaptation survey

Natural Resources Wales in exercise of its powers under Regulation 61(1) of the Environmental Permitting (England and Wales) Regulations 2016, requires you to provide the information specified in Schedule 1 in respect of the permit referred to above by 8 November 2024.

The information must be provided via this link:

https://ymgynghori.cyfoethnaturiol.cymru/permitting-caniatau/7bfd3e12

Date: 23 September 2024    		 Signed:

Wayne Grimstead

South East Industry Regulation Team Leader

Please see over for notes.
Environmental Permitting (England and Wales) Regulations 2016

Regulation 61(1)

Notes:

General

- For the purposes of discharging its functions under the Environmental Permitting (England and Wales) Regulations 2016, Natural Resources Wales may (by virtue of Regulation 61(1) of those Regulations), require any person to provide information.

- Failure to comply with this notice without reasonable excuse is an offence under Regulation 38(4)(a) of the Environmental Permitting (England and Wales) Regulations 2016, and may lead to legal action being taken against you.

- Making any statement in response to this notice that you know to be false or misleading in a material particular, or recklessly making any statement which is false or misleading in a material particular is an offence under Regulation 38(4)(b) of the Environmental Permitting (England and Wales) Regulations 2016, and may lead to legal action being taken against you.

- There is no right to appeal against this notice.

- You may wish to seek independent legal advice.

Legislation note

In this document “Natural Resources Wales” means the Natural Resources Body for Wales established by Article 3 of the Natural Resources Body for Wales (Establishment) Order 2012.  On 01 April 2013 the Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

Environmental Permitting (England and Wales) Regulations 2016

Regulation 61(1)

| SCHEDULE I INFORMATION REQUIRED |  |  |
| --- | --- | --- |
| Description of information required | Form the information must take | Date required |
| Climate change adaptation survey | Smart survey | 8 November 2024 |

Climate change adaptation survey

Natural Resources Wales is seeking information on the standards and guidance you use or plan to use when implementing climate change adaptation.

We will use this information as intelligence to inform and shape our future regulatory approach to climate change adaptation, whilst providing an opportunity for us to engage with regulated facilities and review progress in future years.

The survey is mandatory, will take approximately 45 minutes to complete and should be based on your current position. Failure to complete the survey may result in formal enforcement action being taken against your company which could affect your EPR subsistence fees in the next financial year.

The impacts of climate change are site specific and geographically unique therefore, if you have more than one site in Wales, you will need to complete the survey for each.

The survey includes questions about the standards and guidance you use or plan to use, how you are progressing with your plans and risk assessments and your company’s level of commitment to climate change adaptation. There are optional open questions to capture any natural events and consequences that we may have missed and an opportunity to provide feedback on the survey at the end. You can save and return to the survey at any time before submitting.

# About you

- Operator Name (M)

- Site location (M)

If you operate more than one site, please complete a separate survey for each one.

- Your email address (M)

Implementing climate change adaptation

- How is implementing climate change adaptation on your site progressing? Select one answer. (M)

Insert an X in the box to the right of your answer.

| Not Begun |  |
| --- | --- |
| Very early stages |  |
| Early stages |  |
| Getting going |  |
| Well on the way |  |
| Completed |  |

- What standards have you used or plan to use for implementing climate change adaptation? Select all that apply. (M)

Insert an X in the box to the right of your answers.

| ISO 14090 |  |
| --- | --- |
| ISO 14091 |  |
| BS8631 |  |
| Not sure yet |  |
| Other standards (please state below) |  |

Other standards (O)

- What guidance have you used or plan to use for implementing climate change adaptation? Select one answer. (M)

Insert an X in the box to the right of your answer.

| EA EPR EMS guidance – Environment Agency Environment Permitting Regulation Environment Management systems Guidance |  |
| --- | --- |
| CIA CCA Guidance – Chemical Industries Association: Safeguarding Chemical Businesses in a changing Climate – How to prepare a climate change adaption plan. |  |
| JRC Technical Report: NaTech Risk Management – Joint Research Centre Technical Report: NaTech (Natural Hazards Triggered Technological accident) Risk Management |  |
| OECD: The impact of Natural Hazards on Hazardous Installations – Organisation for Economic Co-operation and Development: The impact of natural Hazards on Hazardous Installations |  |
| CCPS: Assessment of and planning for natural hazards – Center for Chemical Process Safety: Assessment of and planning for natural hazards |  |
| MAHB: Seveso series - Common inspection criteria 'Natech risk management' – Major Accidents Hazards Bureau: Seveso series - Common inspection criteria 'Natech (Natural Hazards Triggered Technological accident) risk management' |  |
| IEMA Climate Change Adaptation Practitioner Guide – Institute of Environmental Management and Assessment: Climate Change Adaptation Practitioner Guide |  |
| CDOIF Guideline - Adapting to Climate Change v1.0 |  |
| Energy UK with their Joint Environment Program (JEP) have produced climate change adaptation guidance that is only available to EUK & JEP members |  |
| Not sure yet |  |
| Other guidance (please state below) |  |

Other guidance (O)

# Climate change adaptation risk assessments

- Where are you with your climate change adaptation risk assessment? Select one answer (M)

Insert an X in the box to the right of your answer.

| Not started |  |
| --- | --- |
| Plans to assess |  |
| Assessment of your current risks (does not include future scenarios) |  |
| Assessment of your current risks and up to 10 years into the future |  |
| Assessment of all your current risks and up to 10 years in the future |  |

- Where are you with the prioritisation of your risks? Select one answer (M)

Insert an X in the box to the right of your answer.

| No prioritisation, no plans |  |
| --- | --- |
| No prioritisation, but plans to do so |  |
| Prioritisation in some areas |  |
| Prioritisation in all areas |  |

- What data sources have you used in your risk assessments for future climate projections? Select all that apply (M)

Insert an X in the box to the right of your answers.

| UK climate projections (UKCP) 18 data |  |
| --- | --- |
| Other data sources |  |

If other sources of climate change data have been used for your risk assessments, please state below.

- This question is about the on-site effects of natural events and the risk they pose to your compliance with your EPR permit.

You must provide an answer for each natural event using the picklist provided:

- This natural event has not been included or assessed in our current risk assessment.

- This natural event has been included and assessed in our current risk assessment but does not pose a risk to environmental permit compliance (EPR)

- This natural event has been included and assessed in our current risk assessment and poses a risk to environmental permit compliance (EPR)

| Natural event | Picklist |
| --- | --- |
| High rain |  |
| Heavy snow fall |  |
| Ice prolonged cold |  |
| High winds |  |
| Increased lightning strikes |  |
| High temperatures |  |
| Increased sunlight radiation |  |

- Have you identified any other natural events other than those listed above that pose a risk to your compliance with your EPR permit. (O)

| Natural event | Picklist |
| --- | --- |

- This question is about the external threat of natural events and the risk they pose to your compliance with your EPR permit (M)

You must provide an answer for each natural event using the picklist provided:

- This natural event has not been included or assessed in our current risk assessment.

- This natural event has been included and assessed in our current risk assessment but does not pose a risk to environmental permit compliance (EPR)

- This natural event has been included and assessed in our current risk assessment and poses a risk to environmental permit compliance (EPR)

| Natural event | Picklist |
| --- | --- |
| Floods due to rivers |  |
| Floods due to sea level rise |  |
| Floods due to coastal surges |  |
| Floods due to ground water |  |
| Floods due to reservoirs |  |
| Increased sunlight radiation |  |
| Drought |  |
| Erosion |  |
| Subsidence/heave |  |
| Saltwater intrusion |  |
| Wildfires |  |
| Landslip |  |

- Have you identified any other external threats of natural events other than those listed above that pose a risk to your compliance with your EPR permit? (O)

| Natural event | Picklist |
| --- | --- |

- This question is about the external impact and consequences of climate change to your site and its operation. (M)

You must provide an answer for each external impact or consequence using the picklist provided:

- This impact or consequence has not been included or assessed in our current risk assessment.

- This impact or consequence has been included and assessed in our current risk assessment but does not pose a risk to environmental permit compliance (EPR)

- This impact or consequence has been included and assessed in our current risk assessment and poses a risk to environmental permit compliance (EPR)

| Impact or consequence | Picklist |
| --- | --- |
| Loss of incoming power |  |
| Supply chain problems |  |
| Loss of dilution (ie less river flow) due to climate change adaption |  |
| Lack of dispersion due to still weather |  |
| Loss of communications |  |
| Increased impact due to the reduced capacity of the receiving environment to withstand threats as a result of climate change |  |

- Have you identified any external impacts or consequences of climate change to your site and its operations other than those listed above? (O)

| Impact or consequence | Picklist |
| --- | --- |

The next questions apply to COMAH establishments only.

- Is your site a COMAH establishment?

Insert an X in the box to the right of your answer.

| Yes |  |
| --- | --- |
| No |  |

- This question is about the on-site effects of natural events and the risk they pose to your COMAH establishment.

You must provide an answer for each natural event using the picklist provided.

- This natural event has not been included or assessed in our current risk assessment.

- This natural event has been included and assessed in our current risk assessment but does not pose a risk to the major accident safety of the establishment (COMAH)

- This natural event has been included and assessed in our current risk assessment and poses a risk to the Major accident safety of the establishment (COMAH)

| Natural event | Picklist |
| --- | --- |
| High rain |  |
| Heavy Snow fall |  |
| Ice prolonged cold |  |
| High winds |  |
| Increased lightning strikes |  |
| High temperatures |  |
| Increased sunlight radiation |  |

- Have you identified any other natural events other than those listed above that pose a risk to your COMAH establishment? (O)

| Natural event | Picklist |
| --- | --- |

- This question is about the external threat of natural events and the risk they pose to your COMAH establishment. (M)

You must provide an answer for each natural event using the picklist provided.

- This natural event has not been included or assessed in our current risk assessment.

- This natural event has been included and assessed in our current risk assessment but does not pose a risk to the major accident safety of the establishment (COMAH)

- This natural event has been included and assessed in our current risk assessment and poses a risk to the Major accident safety of the establishment (COMAH)

| Natural event | Picklist |
| --- | --- |
| Floods due to rivers |  |
| Floods due to sea level rise |  |
| Floods due to coastal surges |  |
| Floods due to ground water |  |
| Floods due to reservoirs |  |
| Increased sunlight radiation |  |
| Drought |  |
| Erosion |  |
| Subsidence/heave |  |
| Saltwater intrusion |  |
| Wildfires |  |
| Landslip |  |

- Have you identified any other external threats of natural events other than those listed above that pose a risk to your COMAH establishment? (O)

| Natural event | Picklist |
| --- | --- |

- This question is about the external impact and consequences of climate change to your COMAH establishment. (M)

You must provide an answer for each external impact or consequence using the picklist provided:

- This impact or consequence has not been included or assessed in our current risk assessment.

- This impact or consequence has been included and assessed in our current risk assessment but does not pose a risk to the Major accident safety of the establishment (COMAH)

- This impact or consequence has been included and assessed in our current risk assessment and poses a risk to the Major accident safety of the establishment (COMAH)

| Impact or consequence | Picklist |
| --- | --- |
| Loss of incoming power |  |
| Supply chain problems |  |
| Loss of dilution (ie less river flow) due to climate change adaption |  |
| Lack of dispersion due to still weather |  |
| Loss of communications |  |
| Increased impact due to the reduced capacity of the receiving environment to withstand threats as a result of climate change |  |

- Have you identified any external impacts or consequences of climate change to your COMAH establishment other than those listed above? (O)

| Impact or consequence | Picklist |
| --- | --- |

Your commitment to climate change adaptation

- Has your company made a commitment to embed climate change adaptation (also known as climate or weather resilience) into its management systems? (M)

Insert an X in the box to the right of your answer.

| Yes |  |
| --- | --- |
| No |  |

- At what level of your company has this commitment been made? (M)

Insert an X in the box to the right of your answer.

| Top level - board of directors, chief executive or managing director (aka. executive management, top management, upper management, higher management) |  |
| --- | --- |
| Middle level - departmental managers constitute middle level |  |
| Supervisory/Operational level - supervisors, foreman, section officers, superintendent etc |  |

- Have you carried out a specific test/exercise of your emergency plans using a relevant climate change and/or NaTech scenario? (M)

NaTech covers technological accidents caused by natural events such as hurricanes, floods, earthquakes and tsunamis. The consequences can be explosions, dispersion of hazardous materials, or fires.

Insert an X in the box to the right of your answer.

| Yes |  |
| --- | --- |
| No |  |

Additional comments and feedback

- Do you have any additional comments to add or feedback on the survey? (O)

End of survey