- Application type

New full abstraction licence			X☐	Give existing licence serial number and/

New temporary abstraction licence		☐	pre-application reference number

New licence to transfer water			☐

Renewal of a time-limited abstraction licence	☐

Technical variation to an abstraction licence	☐

### For hydropower abstractions, specify the capacity (in kilowatts) of your scheme.

### 25kW or less	X☐	>25 to 50kW	☐		>50 to 100kW ☐		>100kW ☐

- Linked licences

2.1 Does your proposal involve water rights trading?

No	X☐	Yes	☐ 	If yes, provide licence serial 
			number(s)

2.2 Is the licence (to be) aggregated with any other licences?
No	X☐	Yes	☐ 	If yes, provide licence serial 
				number(s)

- Abstraction details

## Provide details of all points of abstraction. Details of abstraction location(s) should correspond with any maps submitted.
If necessary, continue on a separate sheet and tick here to show that you have done this ☐

| Abstraction location name / reference | Type (single point / reach) | National Grid Reference (12 digit) | If a reach, downstream National Grid Reference (12 digit) |
| --- | --- | --- | --- |
| Intake | Single Point | SN 76243 08656 |  |

- Means of abstraction
Detail the structure and equipment involved in the abstraction process.  If this information is detailed in a supporting document, provide the document reference. For groundwater abstractions, include borehole depth and diameter and provide details of screening and lining.
If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

Proposal for a small intake consisting of a reinforced low height concrete weir wall and a stainless steel intake box looking to abstract water from a small unnamed tributary of Afon Tawe. The abstraction will be used for the purpose of generating hydroelectric power. The intake is proposed to have a 3mm drilled hole screen and operate at 70% of flows (above HOF) upto Qmean and in full accordance with a granted abstraction and impoundment licence from NRW. The abstraction will be controlled by the hydraulic nature/friction of the pipe and spear valve (which is part of the Turgo turbine). The spear valve has a maximum capacity of 15 ls-1 at the driving dynamic head. The spear valve can be restricted via the use of a locking ring. By measuring the flow of water discharging out of the discharge pipe the spear valve will be locked to provide a maximum flow of 10.6 ls-1. The spear valve controller has its own safety mechanism and back up battery. If there is any failure of anything then the default for the spear valve controller is to close off the spear valve. Efficiency and power of the system will be determined through measuring the flows from the drainpipe at different flow status. It will then be possible to relate power to flow. Peak, weekly, monthly and annual abstraction volumes will then be monitored via electric generation records.

- Abstraction quantities

Provide details of the abstraction quantities and periods proposed, including any deregulated abstractions (< 20 cubic metres per day) you currently have. Details of abstraction locations should correspond with any maps submitted.

| Abstraction location name / reference | Purpose which water will be used for | Abstraction period (state ‘all year’ or give months) | Maximum annual abstraction volume (cubic metres) | Maximum daily abstraction volume (cubic metres) | Maximum hourly abstraction volume (cubic metres) | Number of hours of abstraction per day | Peak abstraction rate (litres per second) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SN 76243 08656 | Hydropower | All year | 334,281.6 | 915.84 | 38.16 | 24 | 10.6 |
|  |  | Total | 334,281.6 | 915.84 | 38.16 |  |  |

- Calculations and supporting information

Please provide further details of your intended use of water, including calculations in support of the quantities you have requested, your operational regime and any management agreements. See Guidance Note WRX for details of what is required. If your proposal involves the provision of a residual flow via a notch or orifice, provide information on how this has been calculated.

If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

Peak instantaneous flow: Abstraction will be all flow up to the value of 70% of flow, above Q95 (HOF), upto Qmean. The peak instantaneous abstraction for the catchment at the point of abstraction is 10.6ls, which is Qmean. (All figures derived from WHS Lowflows) .The value of Q95 (HOF) at the point of abstraction is 1.5ls. Hours per day: When water is available above Q95 the hydro scheme will operate for 24 hours/day. Maximum Hourly m3: Maximum hourly rate assumes peak consumption of Qmean above Q95, in accordance with the NRW Guidance, for the full 1 hour period. Maximum hourly abstraction would therefore be: Peak instantaneous abstraction (ls-1) x 60 (seconds) x 60 (minutes) /1000 = Volume in m3. When peak flow is 10.6ls the calculation is (10.5 x 60 x 60)/ 1000 = 38.16m3 Maximum Daily m3: Maximum daily rate assumes peak abstraction for the entire 24 hours period (in accordance with the NRW Guidance) which equals: Intake Maximum Daily abstraction: 37.8 m3 x 24(hrs) = 915.84 m3 Maximum Yearly m3: During particularly wet years the averages may be exceeded and therefore it is theoretically possible, for the purposes of this NRW abstraction application, that the maximum yearly abstraction could be based on peak instantaneous abstraction for 24 hours a day for 365 days per year (in line with the NRW Guidelines). In which case the theoretical maximum abstraction would be: 915.84 m3 (per 24 hrs) x 365 (days) = 334,281.6 m3 per annum

- Industry-specific requirements

Complete the relevant table in line with the purpose of your proposal to demonstrate a justification of need for the quantities proposed. For uses not covered here or to provide further details, please use a separate sheet and tick here to show that you have done this ☐

7.1 For agricultural use:

| Crop type | Soil type (for multiple soil types, indicate approximate split) | Maximum area of crop to be irrigated annually (hectares) | Maximum annual depth of irrigation to be applied (millimetres) |
| --- | --- | --- | --- |
| e.g. Carrots | Silty clay | 10 | 90 |

| Livestock type | Number of animals | Maximum daily quantity of water used (cubic metres) | Comments |
| --- | --- | --- | --- |
| e.g. Sheep | 200 | 0.005 per animal | Drinking water |
| Provide details of any additional requirements (washing / cleaning) |  |  |  |

### 7.2 For golf course irrigation:

| Feature | Maximum area to be irrigated daily (hectares) | Maximum depth of water to be applied daily (millimetres) |
| --- | --- | --- |
| e.g. Greens | 0.9 | 220 |
| Tees |  |  |
| Greens |  |  |
| Fairways |  |  |
| Others |  |  |

### 7.3 For industrial use:

| Industry sector or process type | Water use per unit produced (state units) | Maximum units produced per year |
| --- | --- | --- |
| e.g. Ice cream | 1.9 cubic metres per tonne of ice cream | 10,000 tonnes |

7.4 For hydropower:

If you have submitted this information as part of your pre-application enquiry and no changes have been made to your proposal in the meantime, you are not required to provide these details again.

| % abstraction and zone applied for (see HGN2) | Average gradient of depleted reach (%) | Catchment size above abstraction point (kilometres square d) | Net head between abstraction and discharge points (metres) |
| --- | --- | --- | --- |
| 70% - Zone 3 | 25% | 0.251 | 20.0m |
| Turbine efficiency (%) | System efficiency (%) | Maximum power output (kilowatts) | Annual capacity (kilowatt hours) |
| ~95% | ~75% | 1.5 kW | 5,000 kWh |

80m

State the length of depleted reach (in metres)

| Provide the flow data (in cubic metres per second) & ratios specified below: |  |
| --- | --- |
| Q95 | 0.0015 |
| Q10 | 0.0250 |
| Qmean | 0.0106 |
| What is the ratio of Q95:Qmean? | 0.14 |
| What is the ratio of Q10:Qmean? | 2.38 |

Please send us a copy of the full flow duration curve for the site and confirm the method used to derive this. If you have used modelling software such as LowFlows, please provide us with a copy of the output (graph, data and catchment map) including the Long Term Average rainfall.

0.0015

What low flow protection* do you propose to maintain in the depleted reach when the hydropower scheme is operating (in m3/s)?
 * Low flow protection is the flow rate above

which abstraction can begin and is separate

to the abstraction % take, see HGN2 for details.

- Means of measurement

State how you intend to measure abstracted quantities at each abstraction point.

Meter		☐		Power Generated		X☐		Other		☐

### If other, please specify

- Water efficiency

Describe all steps you have taken or intend to introduce to ensure efficient use of water, such as water storage, re-use or conservation provision. If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

No excess water above that of the abstraction licence can be abstracted due to hard engineering. Pipe is buried to reduce likelihood of any leakage but annual checks would uncover any leaks.

- Fish and eel considerations (surface water abstractions only)

## 10.1 Confirm the fish species present at your site. If you are submitting a survey or report with your application, please tick here to show that you have done this. X☐

The depleted reach has significant sections of impassibility, notably in the form of solid rock waterfalls with no plunge pool (please see supplementary information – several examples in geomorphology report), and periods of dry weather result in little to no water retained. Downstream of the proposed scheme is a long culverted section showing there is no wider ecosystem connectivity.

## 10.2 Does your proposal include measures to safeguard fish and eels? Only provide details of outfall screening if abstracted water is to be discharged back into a watercourse.

|  | Intake | Outfall |
| --- | --- | --- |
| Type of fish screen | Drilled hole | Wire mesh |
| Screen aperture size (mm) | 3mm | 10mm |

- Discharge details

11.1 If you intend to return any of the abstracted water to the environment, provide details below. Details of discharge location(s) should correspond with any maps submitted.

| Discharge location name / reference | National Grid Reference of discharge point (12 digit) | Total volume to be discharged (cubic metres) | Environmental Permit for Water Discharge Activity number (if applicable) |
| --- | --- | --- | --- |
| Discharge | SN 76329 08639 | 334,281.6 |  |

11.2 Provide a description of the structure and equipment involved in discharge.

Buried 300mm external diameter twinwall pipe as a tailrace, discharging onto a fixed stone. Angle of the tailrace is low (<5%) and discharge onto fixed stone slab results in an exit velocity of <2ms. End of discharge pipe is covered with 10mm square mesh to stop any aquatic fauna from entering the pipe.

- Other abstractors / water users

## Provide details of nearby abstractors or users of water who could be affected by your proposal. This should include deregulated users (exempt activities or abstractions < 20 cubic metres per day), anglers and canoeists.

We have walked the entire depleted reach and for a small section below the culvert immediately downstream of the discharge and have found no evidence of any existing abstractors. The nature of the stream would lead us to believe that there are no opportunities for anglers or canoeists.

- Planning application

Have you sought advice on your planning application?

No	X☐		Yes	☐

If yes, submit a copy of the Planning Authority’s response.

- Declaration

### Please see Guidance Note WRX for details of who can sign this section and note the information in that document relating to the Data Protection Act 1998.

### By signing below, you are declaring that as far as you know and believe the information given in this form, on any map and in any supporting or additional information, is true.

### Signed

Brendan Coles

### Print name

Landowner

### Position

30th October 2018

### Date

Application Checklist

Please tick the following checklist items to indicate that you have included the required information. If any sections of the form are left blank and no supporting information submitted, where we have insufficient information to make a decision on your application, we will return your application to you.

Essential:

Form WRA completed										X☐

Map showing applicant’s land boundary with all abstraction and discharge point(s) clearly marked												X☐

Evidence of negotiations of expected access rights, if applicable				☐

0

State number of continuation sheets (enter 0 if none included)

Where relevant:

Letter of authorisation from the applicant, allowing the agent to act as signatory		X☐

Form WRE completed, if your proposal also requires an impoundment licence		X☐

Further information requested in our pre-application response letter to you			☐

For hydropower applications, full flow duration curve for the site, confirmation of the method used to derive this and a copy of the output (graph, data and catchment map) including the Long Term Average rainfall, where available							X☐

Planning Authority response, where available							☐

Additional supporting information	- please list below: