# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Glwydcaenewydd Farm operated by Keri Davies.

The application number is PAN-026177

The permit number is EPR-DB3298ZH

A new application to discharge 2.6m3/day of secondary treated sewage effluent via a package treatment plant to a British Standards infiltration system. The effluent is domestic in nature and arises from a new Eco Centre which provides conference facilities as well as a gym and café.

Initially the applicant had applied to discharge the effluent through a package treatment plant fitted with a nutrient filter chamber which is part of experimental work conducted by the University of South Wales. The effluent would then discharge to a series of reedbeds and onto land. On the drawings provided, a separate infiltration system had also been included which may be considered for future use.  During a phonecall with the applicant, the applicant decided to change the discharge from the reedbed system onto land and changed the system to the package treatment plant and nutrient chamber which discharges to the infiltration system.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to web publicising | The web publicising responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| WFD | The discharge activity screens out from needing further assessment under WFD as it is not in a water body at high status or high status for morphology, and it is listed in Annex D as a low risk activity plus there is no in combination impact. As per the WFD guidance, the activity was screened out as low risk based on the results of the Phosphate L1 and L1 risk assessments. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | We have not formally consulted on the application. The decision was taken in accordance with our guidance. The screening distance of 250m did not screen in any designated sites. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | FORM 1 completed: The discharge is within the failing phosphate catchment of the River Usk. A Form 1 has been completed up to section 2.3. HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. Initially the applicant had applied to discharge the effluent through a package plant fitted with a nutrient filter chamber which is part of experimental work conducted by the University of South Wales. The effluent would then discharge to a series of reedbeds and onto land. On the drawings provided, a separate infiltration system had also been included which may be considered for future use. During a phonecall with the applicant discussions were had around the discharge onto land within a failing phosphate catchment. The applicant then decided to change the discharge point and treatment system from the package treatment plant and reedbeds to instead discharge from the package treatment plant to the infiltration system. Further information including the percolation results was submitted. The operator considers this risk assessment is satisfactory. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. | ü |
| The permit conditions |  |  |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. The cost benefit analysis submitted by the applicant shows that the installation of a package treatment plant to infiltration system is more cost effective than pumping the effluent up gradient to reach the mains sewer. The practicality of connecting to foul sewer was also considered whereby pumping the small volume to the main sewer may result in septicity. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a groundwater permit under EPR2016. | ü |