| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-026688 |
| Permit Reference Number: | EPR/GP3792SK |
| Permit Holder: | Cefn Naw Clawdd Farm, Dolgellau, Gwynedd, LL40 2SG |
| Site Address: | PAN-026688 |
| Grid Reference: | Farm location: SH 76270 14880 Fields: 1 1416 SH 76140 15160 2 9846 SH 76010 15480 3 0865 SH 76080 15640 4 9216 SH 70920 18170 5 1113 SH 71100 18130 6 0264 SH 66020 05630 7 2585 SH 66260 05850 Storage: 1 SH 76220 14910 2 SH 70970 18060 |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: IndustryRegulation&Waste.NW@cyfoethnaturiolcymru.gov.uk Environment team: TimAmgylcheddDwyforacMeirionnydd@cyfoethnaturiolcymru.gov.uk NLO: Don.Rother@environment-agency.gov.uk |
| Date due: | 03/09/2024 |
| Are fields on Anglesey? If yes, then send application. | No: N/A |
| Permit compliance rating and multiplier | Rating A- 100% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y |  |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and deployment fee- Charging Scheme |
| Fee on MyNRW | Y | Amount:£1929 Date cleared on MyNRW:02/08/24 Transaction number: 2134908 |
| Location map | Y |  |
| Benefit statement | Y |  |
| Waste Analysis | Y |  |
| Soil Analysis | Y |  |
| EIA Agri Regulations evidence | Y |  |
| Site Specific Risk Assessment | Y | High risk location only |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| - About the Permit |  |  |
| ## Has there been any pre-application discussions? | Y | Previous application PAN-026506 was refused as it was to far in advance of the proposed spreading |
| ## Has the permit number been provided? | Y | EPR/GP3792SK |
| ## Has the permit holder name been provided? | Y |  |
| ## What permit is being deployed under? | SR2010 No4 |  |
| - Contact details |  |  |
| ## Has contact information been provided? | Y |  |
| ## Has the technically competent manager details been provided? | Y |  |
| ## Has the nominated competent person details been provided? | Y | Jolyon Pridding |
| - About the land you want to treat |  |  |
| ## Has the address and grid reference of the main farm address been given? | Y | Cefn Naw Clawdd Farm, Dolgellau, Gwynedd. LL40 2SG. SH 76270 14880 |
| ## Does the farm address match the grid reference? | Y |  |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? Geospatial Map Viewer | Y | See comments section below |
| ## Has all of parcels of land table been completed? | Y | 7 Fields |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y | 21.3ha stated in App form which differs considerably to the landowner consent forms which also differ to our records RFI. |
| Is the land to be treated within a 10 miles radius of the main address? | Y |  |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | N |  |
| ## Have details of the land owner or occupier been provided? | Y | See comment on accuracy of individual and total spreading areas above |
| ## Has written consent of all owners(s) or occupiers(s) been given? | Y | Consent for Cefn Naw Clawdd Farm states total grassland area as 50Ha however the table total is 5.4Ha. Also indicates storage as ‘above ground store’. But application refers to a lagoon RFI |
| - Previous land treatment |  |  |
| Has all of the previous land treatment table been completed? | Y | PAN-022961 Expired 05/10/24 |
| - Which risk band does the activity fall within? - SR2010No4 List A wastes (Lower risk) - Location risk - Low risk deployment - Medium risk (1) deployment - Medium risk (2) deployment - High risk deployment |  |  |
| ## Which risk band does the activity fall within? | High |  |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) or High risk deployment has a SSRA been provided? | Y |  |
| - Additional information on sensitive receptors |  |  |
| ## What type of risk assessment has been submitted? | site‐specific risk assessment benefit statement |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | N |  |
| If yes has the screening opinion provided by Welsh Government been provided? | n/a |  |
| If no have details of the assessment evidence to support this conclusion been provided? | Y |  |
| - About the waste |  |  |
| Have all parts of the waste-types table been completed? - List of waste code (6 digit) - Description of waste (this must be an accurate description specific to this waste that refers to the List of Waste written description) - Physical form of waste/Is it stackable or non-stackable - Is the waste high in readily available nitrogen? - Producer of waste & permit number (if applicable) - Total amount being spread/used (tonnes) | Y |  |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y |  |
| - About the storage |  |  |
| Has all of waste storage table been completed? | Y |  |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y |  |
| 18. Supporting documents |  |  |
| Has checklist been completed? | Y |  |
| 20. Confidentiality and national security |  |  |
| Has confidentially been claimed? | n/a |  |
| Has national security been claimed? | n/a |  |
| 21. Declaration |  |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | Y |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has the operator confirmed they will comply with the NRW pre-notification requirements. | Y |  |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | Y |  |
| If there is storage; do the grid references match the site plan? | Y | See comments re type |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | Y |  |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a | None in range |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | Y |  |
| location of all storage sites for the waste to be spread | Y |  |
| any spring (or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | Y |  |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | Y |  |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | Y |  |
| location of any public rights of way (shown on map) | Y |  |
| any buildings or houses within 250m (shown on map) | Y |  |
| Within Groundwater Safeguard Zone | n/a | None in range |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Habitats - Section 7 species - Scheduled Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Hedges - Ditches | Y | See comments |
| Flood risk | Y | See comments RFI |
| What is the slope of the fields? | See comments |  |

| Waste Storage | Y N n/a | Comments |
| --- | --- | --- |
| Is waste storage occurring at the place where waste is being deployed? | Y | No comments on construction type re lagoon or above ground storage RFI |
| Is only waste as specified in this deployment being stored in the proposed storage locations? i.e. slurry in lagoons Note: There may be multiple deployments using one storage location | Y | Not stated if only waste for this deployment is being stored Check if lagoon or above ground storage RFI? |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in the same place one constructed within the last two years? or in different location? | n/a | Non stackable |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in a field: - liable to flooding or becoming waterlogged, or - within 50 metres of a borehole, spring or well or - within 10 metres of surface water or a land drain - within 30 meters of a watercourse on steeply sloping land | n/a | Non stackable |
| If the waste is non-stackable is the waste stored within either a vessel, a covered building, or on an impermeable surface | Y | See above re lagoon or above ground storage |
| If the waste is high RAN and it is being stored within 200 metres of a European Site (SAC/SPA), Ramsar Site or a Site of Special Scientific Interest (SSSI) is the waste being covered to prevent loss of ammonia? (condition 3.2.4 of the permit) | n/a | Not high RAN |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | n/a |  |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | n/a |  |
| - If yes; have they been tested for? | n/a |  |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a | Not High RAN |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | n/a |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y |  |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y |  |
| - Is the material suitable for its intended use? | Y |  |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y |  |
| - Timing of application | Y |  |
| - Amount of waste to be applied and application rate | Y |  |
| - Soil chemical properties (e.g. liming and pH) | n/a |  |
| - Soil physical properties (e.g. organic matter and soil structure) | Y |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| Timing of application- if any of the wastes are high RAN, are they being spread OUTSIDE of the closed periods | n/a | Not high RAN |
| Groundwater Safeguard Zone for nitrate- if any of the wastes are high RAN, are the application rates less than 50 m3/ha, with a minimum 3 week gap between applications | n/a | Not high RAN |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | n/a |  |
| - Included the nutrient level in their environmental risk assessment | n/a |  |
| - Stated the source of information that they used to set the nutrient level. | n/a |  |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | Y |  |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need, as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If the cropping is any of the following, is the maximum nitrogen limit in line with that given in The Water Resources (Control of Agricultural Pollution) (Wales) Regulations 2021: - 0 kg/ha- Field beans, Peas - 120 kg/ha- Sugar beet - 150 kg/ha- Asparagus, Carrots, Forage maize. Radish, Spring barley, Swedes - 180 kg/ha- Spring-sown wheat, Winter barley - 220 kg/ha- Autumn or early winter sown wheat | n/a | Grass only |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | n/a |  |
| - Is it only for operational purposes? | n/a |  |
| - Have individual application rates for each waste been given? | n/a |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | n/a |  |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | Y |  |
| - Is the timing of application appropriate? | Y |  |
| - Have they stated when the waste will be spread? | Y |  |
| - Have they stated how often the waste will be spread? | Y |  |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients given by the applicant match NRW calculations? | Y |  |
| Has total nutrients supplied been given in oxide format? | Y |  |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y |  |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | Y | PAN-022961 refers |
| - The nutrients supplied by the material? | Y | PAN-022961 refers |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | Y |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | Y |  |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | Y |  |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | Y |  |
| - Measures that will minimise or mitigate the impact will be put in place | Y |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y |  |
| Has a likely significant effect been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as information only | N |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 500 meters of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | Y |
| No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site. SAC Cadair Idris is North of field 0865 but is only just within the 500metre range SAC Meirionnydd Oakwoods and Bat Sites SE of 1113 but is only just within range SAC Lleyn Peninsula and the Sarnau N of 9216 and 1113 but are beyond a major road |  |

Comments

Consultation responses: Comments noted

MyMap/location and slope assessments: MyMap/location assessment Distance from Main Farm Address 8.60miles approximately Detailed river network within 10m Multiple within and adjacent to fields 0865, 9846 and 1416. All shown on application map with buffers in place. Watercourse S of 1113 shown on application map with buffer in place. Pond adjacent SE of 1113 not shown on application application map but buffer is in place for the adjacent watercourse which nearer than the pond. None at 9216. Watercourses SW, NW and NE of 0264, shown on application map with buffer in place. None at 2585. Groundwater protection zones None at any feild Any well, spring (or issue) or borehole used / not used for the supply of water for human consumption including from a private water supply or supplies within 50m. None at 0865, 9846 or 1416 or storage Issue N of 1113 shown on application map although buffer is in place it is insufficient RFI None at 9216 or storage None at 0264, 2585 Any well, spring (or issue) or borehole used / not used for the supply of water for human consumption including from a private water supply or supplies within 250m. None at 0865, 9846 or 1416 or storage NALD Licenced Abstraction and Water Resources Permit Point Mawddach Hatchery near Dolgellau E of 1113 but is expired. None at 9216 or storage Groundwater Safeguard Zones None in range European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m SSSI and SAC Cadair Idris N and W of 0865, 9846 and 1416. Shown on application map and mitigated in Benefit Statement and SSRA. The designated SAC in only just within range. SSSI Llwyn-iarth S of 9216 and 1113, SSSI Bryn y Gwin Isaf SE of 1113, SSSI Aber Mawddach N of 9216 and 1113. SAC Meirionnydd Oakwoods and Bat Sites SE of 1113. SAC Lleyn Peninsula and the Sarnau N of 9216 and 1113. All shown on application maps and mitigated in benefit statement and SSRA. None at 0264 or 2585 Other protected sites within 500m: - Protected Species, section 7- Several identified within range of 0865, 9846 and 1416 but mainly transient species and none recorded within the last ten years. Low risk. Multiple recorded within range of 9216 and 1113, predominantly Bat species. No records for the last ten years. Low risk. Multiple within range of 0264 and 2585 including Bat species. Most recent record 2022 for Eurasian Otter. Low risk Protected Habitats- See MyMap Location Screening Report - Scheduled Ancient Monument- none - Local Nature Reserve- none - National Nature Reserve- none - Ancient Woodlands- Ancient Semi Natural Woodland N of 0865, not shown on application map. Low risk. None at 9486 or 416 other than shown. Plantation on Ancient Woodland Site W of 9126 and SE of 1113. Restored Ancient Woodland Sites S NW and SE of 9126 and 1113. Ancient Semi Natural Woodland N, W, S and SE of 9126 and 1113. Some but not all shown on application maps due to scale. Low risk. Ancient Semi Natural Woodland and Plantation on Ancient Woodland Site N of 0264 and 02585. Shown on application map. Low risk. - Local Wildlife Sites (SINC)-none - National Park-whole area - Nitrate Vulnerable Zone (NVZ)- all Wales - Groundwater Safeguard Zone- none Flood Risk SSRA does not address flood risk RFI Flood risk within E of 0865 recorded as low to high, buffer in place on application map for watercourse. Flood risk within 9846 and 1416 recorded as low to high, buffer in place for watercourse to the E but not identified in application. RFI Flood risk within 9216 recorded as high, not identified in application. RFI None at 1113 Flood risk NW of 0264 recorded as medium to high in 2022 buffer in place on application map, NE of 0264 recorded as low in 2022. Flood risk within 2585 recorded as high in 2022. Not identified in application RFI Public rights of way PRW within 0865, shown on application map None at other feilds Buildings or houses within 250m Shown on application maps Slope Map 0865 0-7, 7-12 and some 12+. Steep slopes only partially accounted for in application maps RFI 9846 and 1416, 0-7with very minor 7-12 and 12+ which are at boundaries and buffers are in place. 9216, 0-7 7-12 and 12+. Partially buffered but insufficient RFI 1113, minor 0-7 predominanlty 7-12 and 12+, Partially buffered but insufficient RFI Slope assessment Field number:0865 Slope of the land:0-7, 7-12 and some 12+ Soil type:medium Wastes types applied (solid, liquid, sludge etc.): sludge Cropping type: grass Method of application: dribble bar Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: steep slopes not all accounted for RFI Conclusions (is run off risk high?): no if suitable no spread buffers are in place Field number: 9846 Slope of the land:0-7 very minor 7-12 and 12+ Soil type:medium Wastes types applied (solid, liquid, sludge etc.):sludge Cropping type:grass Method of application:dribble bar Weather conditions before during and after spreading:IAW COGAP Other risk factors not mentioned above:slopes are at boundary with buffers in place Conclusions (is run off risk high?):no Field number: 1416 Slope of the land:0-7 very minor 7-12 and 12+ Soil type:medium Wastes types applied (solid, liquid, sludge etc.):sludge Cropping type:grass Method of application:dribble bar Weather conditions before during and after spreading:IAW COGAP Other risk factors not mentioned above:slopes are at boundary with buffers in place Conclusions (is run off risk high?):no Field number:9216 Slope of the land: 0-7, 7-12 and 12+. Soil type:medium Wastes types applied (solid, liquid, sludge etc.):sludge Cropping type:grass Method of application:dribble bar Weather conditions before during and after spreading:IAW COGAP Other risk factors not mentioned above: Partially buffered but insufficient RFI Conclusions (is run off risk high?):no if suitable no spread buffers are in place Field number:1113 Slope of the land: minor 0-7 predominantly 7-12 and 12+ Soil type:medium Wastes types applied (solid, liquid, sludge etc.):sludge Cropping type:grass Method of application:dribble bar Weather conditions before during and after spreading:IAW COGAP Other risk factors not mentioned above: Partially buffered but insufficient RFI Conclusions (is run off risk high?):no if suitable buffers are in place Field number: 0264 Slope of the land: predominantly 0-7, some 12+ Soil type:medium Wastes types applied (solid, liquid, sludge etc.):sludge Cropping type:grass Method of application:dribble bar Weather conditions before during and after spreading:IAW COGAP Other risk factors not mentioned above: steeply sloping ground is buffered on application maps Conclusions (is run off risk high?):no Field number:2585 Slope of the land: predominantly 0-7, some 12+ Soil type:medium Wastes types applied (solid, liquid, sludge etc.):sludge Cropping type:grass Method of application:dribble bar Weather conditions before during and after spreading:IAW COGAP Other risk factors not mentioned above: steeply sloping ground is buffered on application maps Conclusions (is run off risk high?):no

CPH details: CPH provided in Landowner consents are 53/233/0010 H Price at Cefn Naw Clawdd Farm, Dolgellau, Gwynedd. LL40 2SG for fields 1416, 9846, 0865. All correct. 53/233/0187 R Price at Glyn Farm, Dolgellau, Gwynedd. LL40 1YA for fields 9216, 1113. All correct. 53/255/0002 H D Pugh at Tan Y Coed, Uchaf, Bryncrug, Tywyn. LL36 9UP for fields 0264, 2585. All correct

Protection of habitats and ecosystems Photographic evidence provided

Agricultural benefit calculations: Bala pH6.7 – field range 8-8.3 Phosphate – minor addition of 11.66 to all fields, below crop offtake Potash – zero addition to all fields Cilfor pH6.4 – field range 8-8.3 Phosphate – moderate addition of 31.12 to all fields, less than half crop offtake Potash – zero addition to all feilds Dolbenmaen pH7.3 – field range 8-8.3 Phosphate – moderate addition of 21.65 to all fields, less than half crop offtake Potash – zero addition to all fields Eithin pH6.4 – field range 8-8.3 Phosphate – moderate addition of 47.25 to all fields, below crop offtake Potash – zero addition to all feilds Garreglwyd pH6.3 – field range 8-8.3 Phosphate – nominal addition of 5.98 to all fields Potash – zero addition to all feilds Gwastagoed pH 4.5, field pH range 8-8.3 Phosphate – moderate addition of 20.73 to all fields, less than half crop offtake Potash – zero addition to all feilds Llyn pH6.3 – field range 8-8.3 Phosphate – moderate addition of 24.19 to all fields, less than half crop offtake Potash – zero addition to all feilds Pen Y Bont pH6.6 – field range 8-8.3 Phosphate –addition of 53.61 to all fields, slightly below crop offtake Potash – zero addition to all feilds Pen Y Cefn pH6.6 – field range 8-8.3 Phosphate –addition of 52.72 to all fields, slightly below crop offtake Potash – zero addition to all feilds Rhiw pH5.1 – field range 8-8.3 Phosphate – addition of 106.69 to all fields, greater than crop offtake which is 64.60 fields all have P index of 1 Potash – zero addition to all feilds

Request for information: BB 11/10/24. RFI drafted total field area inconsistencies, storage confirmation, storage statements and construction, no spread buffer relating to issue, SSRA relating to flood, flood risk and sloping gound not fully accounted for including no spread buffers. RFI sent 14/10/24 due 28/10/24. BB 15/10/24 RFI response received. Corrections to SSRA and maps relating to flood risk and slopes addressed, no spread buffer to issue addressed. Storage questions not fully satisfied and will require further clarification. BB 17/10/24 RFI 2 sent 17/10/24 relating to inconsistencies about storage. Response received, question remains about point c) complying with storage meeting the requirements of SR2010No4, TGN8.01 and the Water Resources (Control of Agricultural Pollution) (Wales) Regulations 2021. RFI 3 required. BB 23/10/24 RFI 3 sent 23/10/24 due 28/10/24. Response received 23/10/24. ACTION c) satisfied.

Other information to note: None

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Issue date | 28/10/24 |
| ## Effective date | 28/10/24 |
| ## Permitting Officer Date | Lousie Bailey on behalf of Bryan Burn 28/10/24 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Huw Davies 28/10/2024 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 900 |
| Total | 960 |