# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for The Old Pump House operated by Pembrey Leisure Limited.

The application number is PAN-019160

The permit number is EPR/DB3391FS

The discharge is for a new holiday complex consisting of the conversion and extension of the Old Pump House to provide 16 no. holiday let units along with the change of use of land to provide 22 tourism lodges with associated works. The maximum daily discharge rate is 26 cubic metres per day via a secondary treatment package treatment plant discharging to the Swan Pool Drain.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to web publicising | There were no responses to web publicising responses. The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| WFD | WFD stage 2 scoping has been completed and the activity/project is considered as having no risk of causing deterioration or preventing any water body or WFD Protected Area from reaching its objectives and taking account of the advice from technical officers - is considered compliant with the WFD Regulations 2017. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the sites/species/habitat has been carried out as part of the permitting process. We consider that the application will not affect the features of the site/species/habitat. We have not formally consulted on the application. The decision was taken in accordance with our guidance. Consultation with internal NRW Marine Area Advice and Management Team for the Marine SSSI sites has been conducted under Section 28I of the Wildlife and Countryside Act, as inline with OGN 231. The consultation response disagreed with permitting’s position of no likely significant effect upon the marine based SSSI features and objected to issuing the permit based on revised discharge limits to be imposed on the applicant. Initial resolution was sort by the determining officer with consultee and team leader, with no agreement had. The final decision for progressing was passed to senior service level management. With mutual agreement, the decision was made to progress with determination and issue of the permit, as although the SNC advice remains the same the current permitting processes lead to a clear and positive determination and it’s accepted that the application will progress with this determination without addressing the concerns raised about a potential significant effect or adverse effect on site integrity. The decision to progress is based on NRW’s current guidance/process and approaches using established assessment and tools (e.g. RQP modelling/WFD compliance) to concluded no likely significant effect maintaining existing water quality status in the receiving water course at point of discharge (approx. 4.5km upstream of the designated site boundary) and in the main freshwater body of the Gwendriath River. The permit will have bespoke limits on the discharge restricting levels of ammonia, Biological Oxygen Demand and Suspended Solids. All permitting decisions are made in compliance with existing NRW policy/guidance and positions. As and when amendments are formally agreed via appropriate governance, permitting determinations will be made in line with the revised policy/guidance and/or positions. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | Appropriate assessment: In light of the conclusions of an appropriate assessment, and taking account of the advice received from protected sites advisors, it has been established that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, taking into account any conditions or restrictions as applicable, either alone or in-combination with other plans and projects. (As documented in section 4 of OGN 200 form 1, and section 5 if applicable) The consultation response from Marine Area Advice and Management Team disagreed with permitting’s position of no adverse effect upon the marine based SAC features and objected to issuing the permit based on revised discharge limits imposed. Initial resolution was sort by the determining officer with consultee and team leader, with no agreement had. The final decision for progressing was passed to senior service level management. With mutual agreement, the decision was made to progress with determination and issue of the permit, as although the SNC advice remains the same the current permitting processes lead to a clear and positive determination and it’s accepted that the application will progress with this determination without addressing the concerns raised about a potential significant effect or adverse effect on site integrity. The decision to progress is based on NRW’s current guidance/process and approaches using established assessment and tools (e.g. RQP modelling/WFD compliance) to concluded no likely significant effect maintaining existing water quality status in the receiving water course at point of discharge (approx. 4.5km upstream of the designated site boundary) and in the main freshwater body of the Gwendriath River. The permit will have bespoke limits on the discharge restricting levels of ammonia, Biological Oxygen Demand and Suspended Solids. For clarity, all permitting decisions are made in compliance with existing NRW policy/guidance and positions at time of determination. Should/when amendments be formally agreed via appropriate governance, future permitting determinations will be made in line with the revised policy/guidance and/or positions at that time. | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment all emissions may be categorised as environmentally insignificant with the exception of ammonia and BOD within the discharge. These will be controlled via maximum emissions limits set within the permit, as described emissions limit section of this document. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The key measure proposed by the applicant conform to those as set out in guidance document: TGN How to comply with your permit. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. | ü |
| The permit conditions |  |  |  |
| Emission limits | We have decided that emission limits should be set for the parameters listed in the permit. It is considered that the numeric limits described below will prevent significant deterioration of receiving waters. We have imposed numeric limits because either a relevant environmental quality or operational standard requires this. - ATU-BOD as O2 – 10mg/l - Suspended solids (measured after drying at 105o C) – 30mg/l - Ammoniacal nitrogen – 5mg/l. The emission limits have been imposed to ensure no meaningful deterioration of the receiving water course -Swan Pool Drain. The limits have been set inline with WFD requirements maintaining the current WFD class. | ü |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. A cost benefit analysis has been completed in line with current operational guidance note. It is considered not to be viable to connect to the existing foul sewer network due to the operational working of the existing sewer (being a rising main) and practical restrictions of existing infrastructure along with cost associated. This decision has considered all aspects as detailed in the operational instruction 538_06. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a stand alone water discharge activity permit under EPR2016. | ü |