## IED PM1 A1 U10
RELEASES TO AIR
RETURN OF DISCONTINUOUS MONITORING RESULTS
Operator: Severn Power Ltd
Location: Severn Power Station |  | Form: |  | IED PM1
Permit/Variation Number: | EPR/HP3737UE | Version: |  | V.3.1 31 Dec 2015
Year: 2023 | LCP A1 - Unit 10
Six months to - Dec 2023
Measurement approach | NOx | SO2 | CO | Hg | Dust
Time
Date
Measurement 1 (mg/m3)(b)
Measurement 2 (mg/m3)(b)
Measurement 3 (mg/m3)(b)
Alternative approach(c)
Method(d) |  | FS |  |  | DF
Calculation (mg/m3) |  | 0.24 |  |  | 0
Operational data(a)
Load (%MCR) | 100%
Fuel 1 name (%) | Gas (100%) |  | Gas (100%)
Fuel 2 name (%) | Gas (100%) |  | Gas (100%)
Fuel 3 name (%) | Gas (100%) |  | Gas (100%)
Daily Emission Limit Value
(mg/m3) | 50 (daily mean) | 0.24 | 110 (daily mean) | none | 0
NOTES:
(a) Operational data for the test period (measurement approach) or the six month period to date (Alternative approach)
(b) Reference conditions for mg/m3 are 15% O2 CCGT, 6% O2 solid fuels, 3% O2 for oil and gas, dry, 0°C, 101.325 kPa
(c) Alternative approach to discontinuous monitoring by agreement with the Competent Authority
(d) Use abbreviation: NF for agreed NOx factor, FS for fuel sulphur content, CS for agreed CO factor, DF for agreed dust factor
Signed on behalf of the Operator by:
Date of return: |  |  | 2024-01-29

## IED PM1 A2 U20
RELEASES TO AIR
RETURN OF DISCONTINUOUS MONITORING RESULTS
Operator: Severn Power Ltd
Location: Severn Power Station |  | Form: |  | IED PM1
Permit/Variation Number: | EPR/HP3737UE | Version: |  | V.3.1 31 Dec 2015
Year: 2023 | LCP A2 - Unit 20
Six months to - Dec 2023
Measurement approach | NOx | SO2 | CO | Hg | Dust
Time
Date
Measurement 1 (mg/m3)(b)
Measurement 2 (mg/m3)(b)
Measurement 3 (mg/m3)(b)
Alternative approach(c)
Method(d) |  | FS |  |  | DF
Calculation (mg/m3) |  | 0.24 |  |  | 0
Operational data(a)
Load (%MCR) | 100%
Fuel 1 name (%) | Gas (100%) |  | Gas (100%)
Fuel 2 name (%) | Gas (100%) |  | Gas (100%)
Fuel 3 name (%) | Gas (100%) |  | Gas (100%)
Daily Emission Limit Value
(mg/m3) | 50 (daily mean) | 0.24 | 110 (daily mean) | none | 0
NOTES:
(a) Operational data for the test period (measurement approach) or the six month period to date (Alternative approach)
(b) Reference conditions for mg/m3 are 15% O2 CCGT, 6% O2 solid fuels, 3% O2 for oil and gas, dry, 0°C, 101.325 kPa
(c) Alternative approach to discontinuous monitoring by agreement with the Competent Authority
(d) Use abbreviation: NF for agreed NOx factor, FS for fuel sulphur content, CS for agreed CO factor, DF for agreed dust factor
Signed on behalf of the Operator by:
Date of return: |  |  | 2024-01-29