Notice of request for more information

Environmental Permitting (England and Wales) Regulations 2016

Notice requiring further information

To: Dwr Cymru Cyfyngedig

Linea

Fortran Road

St Mellons

Cardiff

CF3 0LT

Application number: PAN-020201 and PAN-020202

Natural Resources Wales, in exercise of its powers under paragraph 4 of Part 1 of Schedule 5 of the above Regulations, requires you to provide the information detailed in the attached schedule. The information is required in order to determine your application for a permit, dated 09/06/2023.  The information requested should be sent to the following address by 24th January 2025.

Information should be sent to:

terry.gulliford@cyfoethnaturiolcymru.gov.uk (by email) or post to

Permitting Centre

Welsh Government Offices

Cathays Park 2

King Edward VII Avenue

Cardiff

CF10 3NQ

| Name | Date |
| --- | --- |
| Emma Jones | 3/1/2025 |

Authorised on behalf of Natural Resources Wales

#### Schedule

- A revised operating technique specifying the design and flow monitoring in place to show compliance with the requirements of environmental improvement scheme to meet U_Mon4 flow monitoring AMP driver for permits AN0308501 and AN0308601 and operation under the Cardiff Control Strategy.

- Provide location of event duration monitors in place to record storm discharges with a requirement to record whether the discharge is via the long sea outfall or short sea outfall.

- Provide a revised site plan showing labelled monitoring points and discharge points