| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-027648 |
| Permit Reference Number: | EPR-GP3792SK |
| Permit Holder: | Byproduct Recovery Limited |
| Site Address: | Plas Bach, Cerrigceinwen, Bodorgan, LL62 5NS |
| Grid Reference: | Farm location: SH 40350 72400 Fields: 1 SJC1 SH 40195 72209 2 SJC2 SH 40401 72446 3 SJC3 SH 40558 72232 4 SJC4 SH 40807 71974 5 SJC5 SH 40812 72206 6 SJC6 SH 40211 72075 8 Bodnolwyn A SH 35449 82903 9 Bodnolwyn B SH 35585 82700 Storage: SH 40306 72381 SH 40454 72336 SH 40334 72149 SH 40291 72071 SH 40865 71998 SH 40330 72320 |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: IndustryRegulation&Waste.NW@cyfoethnaturiolcymru.gov.uk Environment team: TimAmgylcheddMonacArfon@cyfoethnaturiolcymru.gov.uk NLO: Don.Rother@environment-agency.gov.uk |
| Date due: | 24/12/2024 |
| Are fields on Anglesey? If yes, then send application. | Yes: ajxht@anglesey.gov.uk pem@anglesey.gov.uk |
| Permit compliance rating and multiplier | Rating A- 100% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y |  |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and deployment fee- Charging Scheme |
| Fee on MyNRW | Y | Amount:£1929 Date cleared on MyNRW:13/12/24 Transaction number: 2139724 |
| Location map | Y |  |
| Benefit statement | Y |  |
| Waste Analysis | Y |  |
| Soil Analysis | Y |  |
| EIA Agri Regulations evidence | Y |  |
| Site Specific Risk Assessment | Y | High risk location only |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| - About the Permit |  |  |
| ## Has there been any pre-application discussions? | N |  |
| ## Has the permit number been provided? | Y | GP3792SK |
| ## Has the permit holder name been provided | Y | Byproduct Recovery Limited |
| ## What permit is being deployed under? | SR2010 No4 |  |
| - Contact details |  |  |
| ## Has contact information been provided? | Y |  |
| ## Has the technically competent manager details been provided? | Y |  |
| ## Has the nominated competent person details been provided? | Y |  |
| - About the land you want to treat |  |  |
| ## Has the address and grid reference of the main farm address been given? | Y |  |
| ## Does the farm address match the grid reference? | Y |  |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? | Y | See comments RFI |
| ## Has all of parcels of land table been completed? | Y |  |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y | 44.3 |
| Is the land to be treated within a 10 miles radius of the main address? | Y |  |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | N |  |
| ## Have details of the land owner or occupier been provided? | Y | See comments re CPH and Farmer consents RFI |
| ## Has written consent of all owners(s) or occupiers(s) been given? | Y | Duplicate consents for fields 4 and 5 with differing information RFI |
| - Previous land treatment |  |  |
| Has all of the previous land treatment table been completed? | Y | PAN-024177 for fields 1, 3, 4, 6, is Active until 26/02/25 RFI FYM for fields 2, 5. None noted for Bodnolwyn A or B RFI |
| - Which risk band does the activity fall within? - SR2010No4 List A wastes (Lower risk) - Location risk - Low risk deployment - Medium risk (1) deployment - Medium risk (2) deployment - High risk deployment |  |  |
| ## Which risk band does the activity fall within? | High |  |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) or High risk deployment has a SSRA been provided? | Y |  |
| - Additional information on sensitive receptors |  |  |
| ## What type of risk assessment has been submitted? | site‐specific risk assessment benefit statement |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | N |  |
| If yes has the screening opinion provided by Welsh Government been provided? | n/a |  |
| If no have details of the assessment evidence to support this conclusion been provided? | Y |  |
| - About the waste |  |  |
| Have all parts of the waste-types table been completed? - List of waste code (6 digit) - Description of waste (this must be an accurate description specific to this waste that refers to the List of Waste written description) - Physical form of waste/Is it stackable or non-stackable - Is the waste high in readily available nitrogen? - Producer of waste & permit number (if applicable) - Total amount being spread/used (tonnes) | Y | Not high RAN |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y |  |
| - About the storage |  |  |
| Has all of waste storage table been completed? | Y |  |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y |  |
| 18. Supporting documents |  |  |
| Has checklist been completed? | Y |  |
| 20. Confidentiality and national security |  |  |
| Has confidentially been claimed? | N |  |
| Has national security been claimed? | N |  |
| 21. Declaration |  |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | Y |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has the operator confirmed they will comply with the NRW pre-notification requirements. | Y |  |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | Y |  |
| If there is storage; do the grid references match the site plan? | Y |  |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | Y |  |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a | None in range |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | Y |  |
| location of all storage sites for the waste to be spread | Y | See comments re Lagoon RFI |
| any spring (or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | Y |  |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | Y |  |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | Y |  |
| location of any public rights of way (shown on map) | Y | Not all, see comments RFI |
| any buildings or houses within 250m (shown on map) | Y |  |
| Within Groundwater Safeguard Zone | n/a | None in range |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Habitats - Section 7 species - Scheduled Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Hedges - Ditches | Y |  |
| Flood risk | Y |  |
| What is the slope of the fields? | See comments |  |

| Waste Storage | Y N n/a | Comments |
| --- | --- | --- |
| Is waste storage occurring at the place where waste is being deployed? | Y | Non stackable wastes are not being spread on Bodnolwyn A/B due to pH being <6 yet there are two stockpiles identified in Bodnolwyn A approx. 7.3 miles from where the waste is to be spread RFI |
| Is only waste as specified in this deployment being stored in the proposed storage locations? i.e. slurry in lagoons Note: There may be multiple deployments using one storage location | Y |  |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in the same place one constructed within the last two years? or in different location? | Same | All stockpiles same as previously deployment PAN-024177 RFI |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in a field: - liable to flooding or becoming waterlogged, or - within 50 metres of a borehole, spring or well or - within 10 metres of surface water or a land drain - within 30 meters of a watercourse on steeply sloping land | N | Locations need to be changed as above |
| If the waste is non-stackable is the waste stored within either a vessel, a covered building, or on an impermeable surface | Y | Confirm construction, capacity and compliance of lagoon which shows on MyMap as a pond RFI Farmer consent for Bondolwyn A and B states the location and capacity of a tank, this is not mentioned elsewhere in the application RFI |
| If the waste is high RAN and it is being stored within 200 metres of a European Site (SAC/SPA), Ramsar Site or a Site of Special Scientific Interest (SSSI) is the waste being covered to prevent loss of ammonia? (condition 3.2.4 of the permit) | n/a | Not high RAN, |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | n/a |  |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | n/a |  |
| - If yes; have they been tested for? | n/a |  |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a |  |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | n/a |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y |  |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y |  |
| - Is the material suitable for its intended use? | Y |  |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y |  |
| - Timing of application | Y |  |
| - Amount of waste to be applied and application rate | Y |  |
| - Soil chemical properties (e.g. liming and pH) | Y |  |
| - Soil physical properties (e.g. organic matter and soil structure) | Y |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| Timing of application- if any of the wastes are high RAN, are they being spread OUTSIDE of the closed periods | n/a | Not high RAN |
| Groundwater Safeguard Zone for nitrate- if any of the wastes are high RAN, are the application rates less than 50 m3/ha, with a minimum 3 week gap between applications | n/a | Not high RAN |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | n/a |  |
| - Included the nutrient level in their environmental risk assessment | n/a |  |
| - Stated the source of information that they used to set the nutrient level. | n/a |  |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | Y |  |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need, as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If the cropping is any of the following, check if that the available Nitrogen applied is less than the below amount: - Field beans, Peas- 0 kg/ha - Sugar beet- 120 kg/ha - Asparagus, Carrots, Forage maize. Radish, Spring barley, Swedes- 150 kg/ha - Spring-sown wheat, Winter barley- 180 kg/ha - Autumn or early winter sown wheat- 220 kg/ha *Regulation 10 The Water Resources (Control of Agricultural Pollution) (Wales) Regulations 2021 | Y | Spring Barley to two fields, possibly three depending on RFI response. Others are grass |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | n/a |  |
| - Is it only for operational purposes? | n/a |  |
| - Have individual application rates for each waste been given? | n/a |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | n/a |  |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | Y |  |
| - Is the timing of application appropriate? | Y |  |
| - Have they stated when the waste will be spread? | Y |  |
| - Have they stated how often the waste will be spread? | Y |  |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients given by the applicant match NRW calculations? | Y |  |
| Has total nutrients supplied been given in oxide format? | Y |  |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y | PAN-024177 and FYM |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | Y |  |
| - The nutrients supplied by the material? | Y |  |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | Y |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | n/a |  |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | Y |  |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | Y |  |
| - Measures that will minimise or mitigate the impact will be put in place | Y |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y | Only field Bodnolwyn B |
| Has a likely significant effect been identified? - If yes, consult with the relevant Environment team. - If no, save the Appendix 4 to the DMS as information only | N |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site (project) within 500 meters of a European Site (SPA, pSPA, SAC or cSAC) or a Ramsar site? | No - there is no conceivable impact pathway between the project and any European site features, due to the location of the project. |

Comments

Consultation responses: Comments noted

MyMap/location and slope assessments: MyMap/location assessment Detailed river network 10m Watercourse within SJC1 shown on applicaition map with buffer. Pond within SJC1 is marked as a lagoon storage on application maps but is shown as a pond on MyMap, likely to be a slurry pit. Request details on specifics relating to the exact type/construction/freeboard etc RFI 2 ponds on the boundary of SJC2, buffers in place on application map. Watercourse between SJC3 and SJC5 is buffered to both boundaries. Pond within SJC5 is shown with buffer. Pond and drain with in SJC4 shown with buffer. Watercourse to the E is shown with buffer at boundary. Watercourse S of and also within SJC6 shown with buffer. Watercourse NE of Bodnolwyn A shown with buffer. Watercourse N, E and within Bodnolwyn B shown with buffer, Pond within is also shown with buffer. Drain within is also shon with buffer. Groundwater source protection zones None Any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies within 50m. Well within SJC1, shown with buffer on application map Well E of SJC5, shown with buffer on application map. Issue S of SJC4, shown with buffer on application map. Well within SJC6, shown with buffer on application map. Issue within Bodnolwyn B, shown with buffer on application map None at other feilds Any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies within 250m. Well W of SJC6, shown on application map Issue and Well W of Bodnolwyn A, shown on application map None at other fields Within Groundwater Safeguard Zone None in range European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m none at SJC feilds SSSI Llyn Llywenan SW of Bodnolwyn B, shown on application map and described in SSRA Other protected sites within 500m: - Scheduled Ancient Monument- Din Dryfol Chambered TombW of SJC6, not shown on application map. No risk - Local Nature Reserve- none - National Nature Reserve- none - Ancient Woodlands- Plantation on Ancient Woodland Site S of Bodnolwyn B, not shown on application map. No risk None at other feilds - Local Wildlife Sites (SINC)- none - National Park- none - Nitrate Vulnerable Zone (NVZ)- ALL Wales - Groundwater Safeguard Zone- none Flood risk No spread buffers in place for watercourses and areas of flood risk, wastes will be spread IAW COGAP also see comments regarding slopes Public rights of way Footpath between SJC4 and SJC6 not identified on application map although is buffered to both boundaries due to watercourse at the same location. Footpath E of SJC4 shown on application map with buffer. PRoW NW of Bodnolwyn A outside boundary. PRoW S of Bodnolwyn A is beyond boundary although where it continues between Bodnolwyn A and B is not shown on application map RFI Any buildings or houses within 250m Shown on application map Distance from Main Farm Address Furthest field Bodnolwyn A is approx. 7.3 miles. SJC fields are adjacent. Slope assessment SJC4 0-7 Bodnolwyn B 0-7 Field number: SJC1 Slope of the land: predominantly 0-7 with some 7-12 and 12+. Soil type: Medium Wastes types applied (solid, liquid, sludge etc.): Sludge cake / sludge Cropping type: grass Method of application: rear discharge spreaders / low-trajectory splash plate. Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: Buffers in place for all 7-12 and 12+. Conclusions (is run off risk high?): no Field number: SJC2 Slope of the land: predominantly 0-7 with some 7-12 and 12+. Soil type: Medium Wastes types applied (solid, liquid, sludge etc.): sludge Cropping type: grass Method of application: low-trajectory splash plate. Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: Buffers in place for all 7-12 and 12+. Conclusions (is run off risk high?): no Field number: SJC3 Slope of the land: predominantly 0-7 with some 7-12 and 12+. Soil type: Medium Wastes types applied (solid, liquid, sludge etc.): Sludge cake / sludge Cropping type: grass Method of application: rear discharge spreaders / low-trajectory splash plate. Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: Buffers in place for all 7-12 and 12+. Conclusions (is run off risk high?): no Field number: SJC4 Slope of the land: predominantly 0-7 with some 7-12 and 12+. Soil type: Medium Wastes types applied (solid, liquid, sludge etc.): Sludge cake / sludge Cropping type: grass Method of application: rear discharge spreaders / low-trajectory splash plate. Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: Buffers in place for all 7-12 and 12+. Conclusions (is run off risk high?): no Field number: SJC5 Slope of the land: predominantly 0-7 with some 7-12 and 12+. Soil type: Medium Wastes types applied (solid, liquid, sludge etc.): Sludge cake / sludge Cropping type: grass/spring barley – refer to RFI Method of application: rear discharge spreaders / low-trajectory splash plate. Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: Buffers in place for all 7-12 and 12+. Conclusions (is run off risk high?): no Field number: Bodonlwyn A Slope of the land: predominantly 0-7 with some 7-12 and 12+. Soil type: Medium Wastes types applied (solid, liquid, sludge etc.): Sludge cake / sludge Cropping type: grass Method of application: rear discharge spreaders / low-trajectory splash plate. Weather conditions before during and after spreading: IAW COGAP Other risk factors not mentioned above: Buffers in place for all 7-12 and 12+. Conclusions (is run off risk high?): no

CPH details: CPH provided in application form 53/137/0146 System shows as Simon Jones 53/137/0146 Plas Bach, Bodorgan, Sir Ynys Mon, LL62 5NS. For SJC1, 2, 3, 6 CPH details provided for fields 4 and 5 do not match records RFI CPH on system for fields is 53/118/0015 Owen and Pritchard, Hen Cerrig Y Gwyddal, Bodorgan, Sir Ynys Mon. LL625NS. This potentially matches the farmer consent signed by John Pritchard but does not match the consent signed by Simon Jones RFI No CPH provided for Bodnolwyn A or B CPH on system is 53/111/0034 Owen Owen, BWLCH GWYN, GAERWEN YNYS MÔN. LL60 6AA. Address different to farmer consent RFI

Protection of habitats and ecosystems Photographic evidence provided

Agricultural benefit calculations: Field SJC 5 – refer to RFI to clarify crop type Alaw Phosphate – nominally above crop offtake for SJC1 - .64 no spread on SJC2 addition less than 50% below crop offtake for SJC3 addition of 51.8 above crop offtake for SJC4 – P index 1 no spread on SJC5 addition less than 50% below crop offtake for SJC6 no spread on Bondolwyn A and B Potash – Zero addition on fields being spread Bryn Cowld Phosphate – Nominal addition to all fields – 6.78 Potash – Zero addition to all fields Cefni Phosphate - Nominally above crop offtake for SJC1 - .27 No spread on SJC2 Addition less than 50% of crop offtake for SJC3 Addition of 29.96 above crop offtake for SJC4 – P index 1 No spread on SJC5 Addition less than 50% of crop offtake for SJC6 No spread on Bodnolwyn A and B Potash – Zero addition on fields being spread Cilfor Phosphate - Nominally above crop offtake for SJC1 - .06 No spread on SJC2 Addition less than 50% of crop offtake for SJC3 Addition of 61.02 above crop offtake for SJC4 – P index 1 No spread on SJC5 Addition less than 50% of crop offtake fro SJC6 No spread on Bodnolwyn A and B Potash – Zero addition on fields being spread Cwellyn Phosphate – Nominally above crop offtake for SJC1 - .62 No spread on SJC2 Addition less than 50% of crop offtake for SJC3 Addition of 46.42 above crop offtake for SJC4 – P index 1 No spread on SJC5 Addition less than 50% of crop offtake fro SJC6 No spread on Bodnolwyn A and B Potash Nominal addition to fields being spread Dolbenmaen Phosphate – Addition of 32.22 above crop offtake for SJC1 – P index 2 No spread on SJC2 Nominally above crop offtake for SJC3 - .85 - P index 3 Addition of 50.07 above crop offtake for SJC4 – P index 1 No spread on SJC5 Nominally above crop offtake crop offtake for SJC6 - .50 No spread on Bodnolwyn A and B Potash – Nominal addition to fields being spread Garreglwyd Phosphate – Addition slightly below crop offtake for SJC1 and 2 – 2.99 Moderately below crop offtake for SJC3 Slight increase for SJC4 – 14.86. P index1 Slightly below crop offtake for SJC5 – 2.99 Less than 50% addition of crop offtake for SJC6 Slightly below crop offtake for Bodnolwyn A and B – 2.99 Potash – Nominal addition to all fields Llyn Conwy Phosphate – Moderate addition to all fields, below crop offtake – 13.77 Potash – Nominal addition to all feilds Mynydd Phosphate – Nominally above crop offtake for SJC1 - .61 No spread on SJC2 Addition less than 50% of crop offtake for SJC3 Addition of 23.51 above crop offtake for SJC4 – P index 1 No spread on SJC 5 Addition less than 50% of crop offtake fro SJC6 No spread on Bodnolwyn A and B Potash – Nominal addition to all fields being spread Rhiwgoch Phosphate – Moderate addition to SJC1, 2, 3 and Bonalwyn A and B all below crop offtake Nominal addition to SJC6 Nominal addition above crop offtake for SJC4 – 8.06. P index 1 Nominal addition above crop offtake for SJC 5 – 5.66. P index 0 Potash – Nominal addition to all feilds

Request for information: BB. RFI sent 21/01/25. Refers to previous spreading, storage locations and type, CPH details, farmer declarations, spreading maps and active deployment. Response due 04/02/25. BB. RFI response received 24/01/25. All points satisfied.

Other information to note: None

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Issue date | 27/01/2025 |
| ## Effective date | 27/01/2025 |
| ## Permitting Officer Date | Bryan Burn 27/01/2025 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Anna Gale (ToP) 27/01/2025 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 670 |
| Total | 730 |