# Natural Resources Wales permitting decisions

# Variation

We have decided to issue the variation for Knolton Farmhouse Cheese Limited operated by Knolton Farmhouse Cheese Limited.

The application number is PAN-024725

The permit number is CG0408201

The discharge is for Knolton Farmhouse Cheese Limited. This operator led application variation has amended the effluent sampling point in accordance with Table S1.3: Improvement programme requirements: Requirement 1 and increased the maximum permitted rate of discharge from 800 cubic meters per day to 1500 cubic meters per day at the request of the operator.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation responses

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to consultation and web publicising | The consultation responses (Annex 2) were taken into account in the decision. There where no responses to web publication. The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| WFD | In light of the conclusions of a detailed compliance assessment (Stage 3), and taking account of the advice received from technical specialist advisors, it has been established that the activity/project has no potential to cause deterioration of any water body or prevent a water body or WFD Protected Area from meeting its objectives, taking into account any legally binding avoidance measures or restrictions as applicable, either alone or in-combination with other activities. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the sites/species/habitat has been carried out as part of the permitting process. We consider that the application will affect the features of the site/species/habitat. Operational emission limits have been placed on the permit to mitigate against these effects. The discharge has control measures limiting the concentration of substances that have potential to impact which are associated with the nature of the activity. These are detailed in the Emissions Limits section of this document. We have not formally consulted on the application. The decision was taken in accordance with our guidance. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | Appropriate assessment: In light of the conclusions of an appropriate assessment, and taking account of the advice received from protected sites advisors, it has been established that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, taking into account any conditions or restrictions as applicable, either alone or in-combination with other plans and projects. (As documented in section 4 of OGN 200 form 1, and section 5 if applicable) | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant with the emissions limits applied as detailed in Emissions limits section of this document. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The activity meets the criteria set out in TGN EPR 7.01 The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. | ü |
| The permit conditions |  |  |  |
| Updating permit conditions during consolidation. | We have updated previous permit conditions to those in the new generic permit template as part of permit consolidation. The new conditions have the same meaning as those in the previous permit(s). The operator has agreed that the new conditions are acceptable. | ü |
| Improvement conditions | Based on the information on the application, we consider that we need to impose improvement conditions. We have imposed improvement conditions to ensure that: Not all improvement conditions have been meet, therefore improvement conditions have been retained to ensure compliance is obtained to meet requirements as set out in the permit issued on 15/07/2025 under application PAN-008144. | ü |
| Incorporating the application | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These are specified in the Operating Techniques table in the permit. | ü |
| Emission limits | We have decided that emission limits should be set for the parameters listed in the permit. It is considered that the numeric limits described below will prevent significant deterioration of receiving waters. We have imposed numeric limits because either a relevant environmental quality or operational standard requires this. - Maximum daily discharge volume 1500 m3/day - ATU-BOD as O2 50 mg/l - as a maximum - Suspended solids (measured after drying at 105o C) 60 mg/l- as a Maximum - Total phosphorus as P 2 mg/l – as a mean - Visible oil or grease No significant trace present - pH 6 to 9 - Total Aluminium (Al) 1000 µg/l- as a maximum - Temperature 25°C- as a maximum The above (existing) permitted limits have been assessed against the increase in daily maximum volume from 800m3/d to 1500m3/d. Assessment has been completed against current WFD requirements for no deterioration, Habitats Regulations and Wildlife and Countryside Act. It is considered the limits stated above will prevent deterioration of the receiving water course. | ü |
| Monitoring | We have decided that monitoring should be carried out for the parameters listed in the permit, using the methods and to the frequencies specified. These monitoring requirements have been imposed in order to comply with section 2.4.3.2 in TGN 7.01. We made these decisions in accordance with TGN 7.01. Based on the information in the application we are not fully satisfied that the operator’s techniques, personnel and equipment have either MCERTS certification or MCERTS accreditation as appropriate. The improvement condition issued as part of the permit variation application PAN-008144 is retained to ensure compliance is achieved for MVERTS accreditation. | ü |
| Reporting | We have specified reporting in the permit. Reports of total daily volume are to be provided to NRW upon request. We made these decisions in accordance with TGN 7.01. | ü |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a stand alone water discharge activity permit under EPR2016. | ü |

# Annex 2: Consultation

Summary of responses to consultation, and the way in which we have taken these into account in the determination process.  (Newspaper advertising is only carried out for certain application types, in line with our guidance.)

Response received from

DCWW

Brief summary of issues raised

We request that the site takes steps to ensure that the dosing of aluminium as part of the treatment of the waste water does not breach the conditions of the permit. The impact of the chemical dosing of the aluminium with the proposed increase in daily discharge volume to 1,500m3/per day should also be within the environmental quality standard (EQS) into the River Dee and not exceed any thresholds issued by NWR. We would like to reiterate to the applicant that this discharge is within a Drinking Water Catchment and that all particulars from the permit will be followed during the lifetime of the installation.

Summary of actions taken or show how this has been covered

Impact of aluminium on the water course and EQS has been assessed and concluded 1mg/l is sufficient to meet the EQS in the water course. This is remaining as concentred maximum limit within the varied permit. NRW will continue to perform compliance checks on the discharge in direct relation to the issued permit limits/conditions.